## Sheet1
File is created on: 16/12/2020 08:30
REPORT POINT 1-150
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 09/12/2020 08:00:33
Temp Units:°C |  |  | Expected Stop Time: 15/12/2020 23:30:33
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-2
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 09/12/2020 08:00:33
Lower Limit(Temp): 15°C |  |  |  | Last Point: 15/12/2020 23:30:33
Max(Temp)_oC | 29.47 | Min(Temp)_oC | 24.5 | Avg(Temp)_oC | 27.0321
Time | oC | Time | oC | Time | oC
2020-12-09 08:00 | 28.59 | 44166.8962 | 26.56 | 44167.4587 | 25.55
44166.3545 | 29.25 | 44166.917 | 25.71 | 44167.4795 | 29.05
44166.3754 | 29.34 | 44166.9379 | 24.75 | 44167.5004 | 27.63
44166.3962 | 24.63 | 44166.9587 | 27.36 | 44167.5212 | 27.62
44166.417 | 24.83 | 44166.9795 | 28.55 | 44167.542 | 27.94
44166.4379 | 28.02 | 2020-12-10 | 28.93 | 44167.5629 | 24.89
44166.4587 | 28.95 | 44167.0212 | 29.04 | 44167.5837 | 29.16
44166.4795 | 25.44 | 44167.042 | 25.04 | 44167.6045 | 25.66
44166.5004 | 26.65 | 44167.0629 | 26.9 | 44167.6254 | 25.78
44166.5212 | 25.93 | 44167.0837 | 27.21 | 44167.6462 | 25.21
44166.542 | 28.73 | 44167.1045 | 28.66 | 44167.667 | 25.7
44166.5629 | 26.21 | 44167.1254 | 28.39 | 44167.6879 | 27.83
44166.5837 | 27.21 | 44167.1462 | 27.54 | 44167.7087 | 28.85
44166.6045 | 26.88 | 44167.167 | 28.11 | 44167.7295 | 25.77
44166.6254 | 25.05 | 44167.1879 | 25.84 | 44167.7504 | 28.16
44166.6462 | 27.8 | 44167.2087 | 28.21 | 44167.7712 | 29.38
44166.667 | 28.4 | 44167.2295 | 26.65 | 44167.792 | 26.9
44166.6879 | 25.21 | 44167.2504 | 24.66 | 44167.8129 | 24.75
44166.7087 | 29.39 | 44167.2712 | 28.94 | 44167.8337 | 28.36
44166.7295 | 28.81 | 44167.292 | 29.19 | 44167.8545 | 25.32
44166.7504 | 27.82 | 44167.3129 | 27.76 | 44167.8754 | 26.85
44166.7712 | 24.51 | 44167.3337 | 27.05 | 44167.8962 | 25.38
44166.792 | 28 | 44167.3545 | 27.63 | 44167.917 | 26.67
44166.8129 | 26.62 | 44167.3754 | 27.44 | 44167.9379 | 25.2
44166.8337 | 25.06 | 44167.3962 | 28.05 | 44167.9587 | 26.2
44166.8545 | 26.44 | 44167.417 | 28.19 | 44167.9795 | 24.95
44166.8754 | 28.7 | 44167.4379 | 28.45 | 2020-12-11 | 24.63
Time | oC | Time | oC | Time | oC
44168.0212 | 28.85 | 44169.0212 | 28.85 | 44170.0212 | 25.73
44168.042 | 25.29 | 44169.042 | 28.14 | 44170.042 | 26.29
44168.0629 | 25.64 | 44169.0629 | 26.07 | 44170.0629 | 26.61
44168.0837 | 29.13 | 44169.0837 | 25.6 | 44170.0837 | 28.68
44168.1045 | 29.42 | 44169.1045 | 28.91 | 44170.1045 | 26.96
44168.1254 | 27.69 | 44169.1254 | 28.05 | 44170.1254 | 25.09
44168.1462 | 26.75 | 44169.1462 | 28.65 | 44170.1462 | 28.9
44168.167 | 28.4 | 44169.167 | 26.79 | 44170.167 | 26.7
44168.1879 | 26.69 | 44169.1879 | 28.99 | 44170.1879 | 24.87
44168.2087 | 27.73 | 44169.2087 | 27.67 | 44170.2087 | 29.27
44168.2295 | 28.35 | 44169.2295 | 24.83 | 44170.2295 | 26.23
44168.2504 | 27.43 | 44169.2504 | 28.72 | 44170.2504 | 25.69
44168.2712 | 26.19 | 44169.2712 | 29.14 | 44170.2712 | 29.22
44168.292 | 26.54 | 44169.292 | 27.71 | 44170.292 | 29.16
44168.3129 | 26.14 | 44169.3129 | 26.75 | 44170.3129 | 26.68
44168.3337 | 28.97 | 44169.3337 | 27.28 | 44170.3337 | 25.55
44168.3545 | 28.76 | 44169.3545 | 26.09 | 44170.3545 | 25.74
44168.3754 | 27.88 | 44169.3754 | 28.1 | 44170.3754 | 27.84
44168.3962 | 27.47 | 44169.3962 | 29.47 | 44170.3962 | 26.24
44168.417 | 25.38 | 44169.417 | 27.98 | 44170.417 | 24.92
44168.4379 | 28.36 | 44169.4379 | 24.95 | 44170.4379 | 24.88
44168.4587 | 26.81 | 44169.4587 | 25.3 | 44170.4587 | 24.51
44168.4795 | 26.83 | 44169.4795 | 25 | 44170.4795 | 28.77
44168.5004 | 26.72 | 44169.5004 | 29.24 | 44170.5004 | 25.91
44168.5212 | 28.96 | 44169.5212 | 24.96 | 44170.5212 | 28.33
44168.542 | 26.3 | 44169.542 | 24.6 | 44170.542 | 27.13
44168.5629 | 26.98 | 44169.5629 | 25.46 | 44170.5629 | 29
44168.5837 | 26.91 | 44169.5837 | 28.9 | 44170.5837 | 29.09
44168.6045 | 27.99 | 44169.6045 | 26.42 | 44170.6045 | 26.49
44168.6254 | 28.96 | 44169.6254 | 29.37 | 44170.6254 | 26.22
44168.6462 | 26.45 | 44169.6462 | 28.15 | 44170.6462 | 26.77
44168.667 | 25.07 | 44169.667 | 24.88 | 44170.667 | 28.01
44168.6879 | 27.07 | 44169.6879 | 28.93 | 44170.6879 | 28.7
44168.7087 | 27.64 | 44169.7087 | 25.41 | 44170.7087 | 28.08
44168.7295 | 27.89 | 44169.7295 | 25.27 | 44170.7295 | 26.86
44168.7504 | 26.48 | 44169.7504 | 25.57 | 44170.7504 | 29.21
44168.7712 | 25.6 | 44169.7712 | 26.06 | 44170.7712 | 25.97
44168.792 | 29.07 | 44169.792 | 26.32 | 44170.792 | 26.05
44168.8129 | 25 | 44169.8129 | 28.4 | 44170.8129 | 28.98
44168.8337 | 27.68 | 44169.8337 | 25.86 | 44170.8337 | 25.29
44168.8545 | 28.86 | 44169.8545 | 29.11 | 44170.8545 | 28.93
44168.8754 | 28.86 | 44169.8754 | 26.35 | 44170.8754 | 24.59
44168.8962 | 29.12 | 44169.8962 | 29.19 | 44170.8962 | 28.45
44168.917 | 26.29 | 44169.917 | 27.25 | 44170.917 | 25.21
44168.9379 | 28.6 | 44169.9379 | 26.73 | 44170.9379 | 26.7
44168.9587 | 25.62 | 44169.9587 | 25.22 | 44170.9587 | 25.78
44168.9795 | 28.53 | 44169.9795 | 28.57 | 44170.9795 | 27.76
2020-12-12 | 26.33 | 2020-12-13 | 25.26 | 2020-12-14 | 25.93
Time | oC | Time | oC | Time | oC
44171.0212 | 26.6 | 44172.0212 | 25.47
44171.042 | 27.1 | 44172.042 | 25.63
44171.0629 | 25.87 | 44172.0629 | 25.12
44171.0837 | 26.48 | 44172.0837 | 26.07
44171.1045 | 26.78 | 44172.1045 | 25.28
44171.1254 | 27.87 | 44172.1254 | 25.09
44171.1462 | 26.75 | 44172.1462 | 29.3
44171.167 | 29.4 | 44172.167 | 28.49
44171.1879 | 25.14 | 44172.1879 | 25.03
44171.2087 | 25.28 | 44172.2087 | 26.01
44171.2295 | 28.01 | 44172.2295 | 25.12
44171.2504 | 28.32 | 44172.2504 | 27.03
44171.2712 | 26.3 | 44172.2712 | 25.33
44171.292 | 27.93 | 44172.292 | 28.72
44171.3129 | 27.1 | 44172.3129 | 28.22
44171.3337 | 25.76 | 44172.3337 | 24.81
44171.3545 | 25.88 | 44172.3545 | 26.33
44171.3754 | 29.22 | 44172.3754 | 26.43
44171.3962 | 28.38 | 44172.3962 | 28.3
44171.417 | 27.43 | 44172.417 | 28.5
44171.4379 | 26.25 | 44172.4379 | 27.08
44171.4587 | 24.7 | 44172.4587 | 26.22
44171.4795 | 25.81 | 44172.4795 | 27.2
44171.5004 | 24.62 | 44172.5004 | 28.79
44171.5212 | 24.54 | 44172.5212 | 26.41
44171.542 | 27.26 | 44172.542 | 29.09
44171.5629 | 26.65 | 44172.5629 | 28.37
44171.5837 | 24.5 | 44172.5837 | 26.37
44171.6045 | 25.74 | 44172.6045 | 28.16
44171.6254 | 29.42 | 44172.6254 | 26.49
44171.6462 | 28.55 | 44172.6462 | 26.39
44171.667 | 26.67 | 44172.667 | 28.67
44171.6879 | 26.97 | 44172.6879 | 26.34
44171.7087 | 28.28 | 44172.7087 | 25.1
44171.7295 | 24.6 | 44172.7295 | 29.32
44171.7504 | 27.86 | 44172.7504 | 29.1
44171.7712 | 28.47 | 44172.7712 | 25.49
44171.792 | 24.67 | 44172.792 | 25.36
44171.8129 | 28.73 | 44172.8129 | 26.14
44171.8337 | 26.01 | 44172.8337 | 27.39
44171.8545 | 25.69 | 44172.8545 | 26.28
44171.8754 | 26.66 | 44172.8754 | 27.68
44171.8962 | 25.18 | 44172.8962 | 25.81
44171.917 | 29.45 | 44172.917 | 26.95
44171.9379 | 27.88 | 44172.9379 | 27.58
44171.9587 | 25.9 | 44172.9587 | 27.18
44171.9795 | 25.92 | 44172.9795 | 29.28
2020-12-15 | 26.32