## Sheet1
File is created on: 16/12/2020 08:30
REPORT POINT 1-60
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 09/12/2020 08:00:33
Temp Units:°C |  |  | Expected Stop Time: 15/12/2020 23:30:33
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-1
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 09/12/2020 08:00:33
Lower Limit(Temp): 15°C |  |  |  | Last Point: 15/12/2020 23:30:33
Max(Temp)_oC | 29.48 | Min(Temp)_oC | 24.51 | Avg(Temp)_oC | 26.9872
Time | oC | Time | oC | Time | oC
2020-12-09 08:00 | 27.73 | 44166.8962 | 27.75 | 44167.4587 | 29.17
44166.3545 | 29.4 | 44166.917 | 29.32 | 44167.4795 | 26.06
44166.3754 | 27.77 | 44166.9379 | 25.44 | 44167.5004 | 24.53
44166.3962 | 27.75 | 44166.9587 | 26.18 | 44167.5212 | 26.81
44166.417 | 26.99 | 44166.9795 | 28.28 | 44167.542 | 27.91
44166.4379 | 26.43 | 2020-12-10 | 24.67 | 44167.5629 | 28.15
44166.4587 | 28.03 | 44167.0212 | 25.85 | 44167.5837 | 27.4
44166.4795 | 26.4 | 44167.042 | 28.93 | 44167.6045 | 27.54
44166.5004 | 28.85 | 44167.0629 | 25.61 | 44167.6254 | 25.78
44166.5212 | 27.06 | 44167.0837 | 28.83 | 44167.6462 | 24.83
44166.542 | 27.19 | 44167.1045 | 26.03 | 44167.667 | 25
44166.5629 | 28.12 | 44167.1254 | 25.96 | 44167.6879 | 28.37
44166.5837 | 29.26 | 44167.1462 | 27.31 | 44167.7087 | 27.37
44166.6045 | 29.16 | 44167.167 | 26.39 | 44167.7295 | 27.94
44166.6254 | 25.16 | 44167.1879 | 28.14 | 44167.7504 | 24.7
44166.6462 | 24.53 | 44167.2087 | 24.58 | 44167.7712 | 26.37
44166.667 | 24.62 | 44167.2295 | 28.78 | 44167.792 | 27.62
44166.6879 | 28.46 | 44167.2504 | 24.89 | 44167.8129 | 26.61
44166.7087 | 24.9 | 44167.2712 | 27.98 | 44167.8337 | 25.1
44166.7295 | 25.86 | 44167.292 | 27.22 | 44167.8545 | 28.07
44166.7504 | 26.51 | 44167.3129 | 24.99 | 44167.8754 | 24.51
44166.7712 | 24.88 | 44167.3337 | 25.06 | 44167.8962 | 26.96
44166.792 | 25.3 | 44167.3545 | 25.68 | 44167.917 | 28.14
44166.8129 | 29.25 | 44167.3754 | 28.7 | 44167.9379 | 25.27
44166.8337 | 25.36 | 44167.3962 | 28.59 | 44167.9587 | 24.53
44166.8545 | 28.28 | 44167.417 | 24.73 | 44167.9795 | 29.11
44166.8754 | 27.24 | 44167.4379 | 24.81 | 2020-12-11 | 24.69
Time | oC | Time | oC | Time | oC
44168.0212 | 25.13 | 44169.0212 | 27.94 | 44170.0212 | 26.8
44168.042 | 27.42 | 44169.042 | 27.46 | 44170.042 | 24.56
44168.0629 | 26.22 | 44169.0629 | 29.34 | 44170.0629 | 27.7
44168.0837 | 26.12 | 44169.0837 | 27.82 | 44170.0837 | 27.89
44168.1045 | 24.81 | 44169.1045 | 28.88 | 44170.1045 | 26.42
44168.1254 | 28.71 | 44169.1254 | 25.33 | 44170.1254 | 29.29
44168.1462 | 24.74 | 44169.1462 | 25.18 | 44170.1462 | 28.62
44168.167 | 28.96 | 44169.167 | 25.2 | 44170.167 | 29.23
44168.1879 | 28.53 | 44169.1879 | 27.57 | 44170.1879 | 26.64
44168.2087 | 26.62 | 44169.2087 | 29.24 | 44170.2087 | 29.01
44168.2295 | 26.76 | 44169.2295 | 25.63 | 44170.2295 | 25.73
44168.2504 | 24.62 | 44169.2504 | 24.66 | 44170.2504 | 28.91
44168.2712 | 26.06 | 44169.2712 | 29.43 | 44170.2712 | 24.59
44168.292 | 25.51 | 44169.292 | 27.9 | 44170.292 | 28.59
44168.3129 | 24.67 | 44169.3129 | 26.26 | 44170.3129 | 28.96
44168.3337 | 25.6 | 44169.3337 | 26.47 | 44170.3337 | 26.95
44168.3545 | 29.2 | 44169.3545 | 29.13 | 44170.3545 | 27.91
44168.3754 | 26.62 | 44169.3754 | 25.02 | 44170.3754 | 29.09
44168.3962 | 28.6 | 44169.3962 | 27.72 | 44170.3962 | 26.16
44168.417 | 28.31 | 44169.417 | 24.86 | 44170.417 | 28.52
44168.4379 | 26.43 | 44169.4379 | 26.48 | 44170.4379 | 24.64
44168.4587 | 26.24 | 44169.4587 | 29.21 | 44170.4587 | 28.39
44168.4795 | 28.62 | 44169.4795 | 26.81 | 44170.4795 | 25.31
44168.5004 | 25.21 | 44169.5004 | 26.6 | 44170.5004 | 25.41
44168.5212 | 27.13 | 44169.5212 | 28.69 | 44170.5212 | 25.32
44168.542 | 27.91 | 44169.542 | 26.82 | 44170.542 | 28.01
44168.5629 | 28.71 | 44169.5629 | 26.97 | 44170.5629 | 28.34
44168.5837 | 25.84 | 44169.5837 | 26.84 | 44170.5837 | 26.46
44168.6045 | 28.82 | 44169.6045 | 28.28 | 44170.6045 | 28.86
44168.6254 | 24.64 | 44169.6254 | 28.66 | 44170.6254 | 26.83
44168.6462 | 25.78 | 44169.6462 | 27.69 | 44170.6462 | 26.92
44168.667 | 25.85 | 44169.667 | 28.51 | 44170.667 | 27.25
44168.6879 | 24.77 | 44169.6879 | 24.53 | 44170.6879 | 26.16
44168.7087 | 29.43 | 44169.7087 | 29.23 | 44170.7087 | 28.92
44168.7295 | 28.06 | 44169.7295 | 29.36 | 44170.7295 | 27.41
44168.7504 | 26.36 | 44169.7504 | 26.38 | 44170.7504 | 25.35
44168.7712 | 27.32 | 44169.7712 | 28.14 | 44170.7712 | 25.36
44168.792 | 28.91 | 44169.792 | 26.34 | 44170.792 | 26.18
44168.8129 | 28.96 | 44169.8129 | 28.93 | 44170.8129 | 26.24
44168.8337 | 25.85 | 44169.8337 | 25.35 | 44170.8337 | 24.51
44168.8545 | 28.94 | 44169.8545 | 28.17 | 44170.8545 | 28.67
44168.8754 | 28.24 | 44169.8754 | 28.44 | 44170.8754 | 28.02
44168.8962 | 28.76 | 44169.8962 | 29.01 | 44170.8962 | 29.05
44168.917 | 25.05 | 44169.917 | 29.13 | 44170.917 | 25.03
44168.9379 | 26.7 | 44169.9379 | 24.83 | 44170.9379 | 27.63
44168.9587 | 26.48 | 44169.9587 | 28.79 | 44170.9587 | 24.97
44168.9795 | 25.81 | 44169.9795 | 27.69 | 44170.9795 | 24.75
2020-12-12 | 26 | 2020-12-13 | 25.61 | 2020-12-14 | 29.12
Time | oC | Time | oC | Time | oC
44171.0212 | 25.88 | 44172.0212 | 25.1
44171.042 | 25.51 | 44172.042 | 25.51
44171.0629 | 27.34 | 44172.0629 | 27.01
44171.0837 | 28 | 44172.0837 | 26.31
44171.1045 | 26.37 | 44172.1045 | 25.6
44171.1254 | 26.25 | 44172.1254 | 25.72
44171.1462 | 27.22 | 44172.1462 | 24.57
44171.167 | 25.05 | 44172.167 | 29
44171.1879 | 27.66 | 44172.1879 | 29.36
44171.2087 | 26.42 | 44172.2087 | 27.25
44171.2295 | 26.78 | 44172.2295 | 27.44
44171.2504 | 26.77 | 44172.2504 | 25.29
44171.2712 | 25.42 | 44172.2712 | 25.47
44171.292 | 27.55 | 44172.292 | 27.56
44171.3129 | 27.02 | 44172.3129 | 25.75
44171.3337 | 25.02 | 44172.3337 | 26.86
44171.3545 | 28.99 | 44172.3545 | 28.09
44171.3754 | 25.56 | 44172.3754 | 25.17
44171.3962 | 27.6 | 44172.3962 | 29.19
44171.417 | 25.91 | 44172.417 | 28.41
44171.4379 | 26.08 | 44172.4379 | 28.96
44171.4587 | 28.58 | 44172.4587 | 26.28
44171.4795 | 29.04 | 44172.4795 | 25.03
44171.5004 | 29.48 | 44172.5004 | 27.93
44171.5212 | 27.09 | 44172.5212 | 28.78
44171.542 | 27.99 | 44172.542 | 28
44171.5629 | 28.98 | 44172.5629 | 27.11
44171.5837 | 28.35 | 44172.5837 | 29.11
44171.6045 | 24.91 | 44172.6045 | 29.03
44171.6254 | 24.88 | 44172.6254 | 25.58
44171.6462 | 25.67 | 44172.6462 | 27.43
44171.667 | 27.34 | 44172.667 | 27.85
44171.6879 | 29.47 | 44172.6879 | 27.07
44171.7087 | 25.35 | 44172.7087 | 28.71
44171.7295 | 28.88 | 44172.7295 | 28.59
44171.7504 | 26.49 | 44172.7504 | 25.17
44171.7712 | 26.03 | 44172.7712 | 25.77
44171.792 | 25.44 | 44172.792 | 25.11
44171.8129 | 28.89 | 44172.8129 | 26.97
44171.8337 | 28.08 | 44172.8337 | 26.14
44171.8545 | 25.01 | 44172.8545 | 28.71
44171.8754 | 25.12 | 44172.8754 | 24.88
44171.8962 | 25.89 | 44172.8962 | 28.06
44171.917 | 26.62 | 44172.917 | 24.84
44171.9379 | 27.7 | 44172.9379 | 29.1
44171.9587 | 28.93 | 44172.9587 | 26.99
44171.9795 | 25.99 | 44172.9795 | 29.06
2020-12-15 | 27.41