## Sheet1
File is created on: 16/12/2020 08:30
REPORT POINT 2-150
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 09/12/2020 08:00:33
Temp Units:°C |  |  | Expected Stop Time: 15/12/2020 23:30:33
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-4
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 09/12/2020 08:00:33
Lower Limit(Temp): 15°C |  |  |  | Last Point: 15/12/2020 23:30:33
Max(Temp)_oC | 24.99 | Min(Temp)_oC | 23.01 | Avg(Temp)_oC | 23.9532
Time | oC | Time | oC | Time | oC
2020-12-09 08:00 | 23.5 | 44166.8962 | 24.35 | 44167.4587 | 24.26
44166.3545 | 23.66 | 44166.917 | 23.99 | 44167.4795 | 23.04
44166.3754 | 23.28 | 44166.9379 | 23.77 | 44167.5004 | 24.96
44166.3962 | 23.35 | 44166.9587 | 23.34 | 44167.5212 | 23.22
44166.417 | 24.83 | 44166.9795 | 24.97 | 44167.542 | 23.51
44166.4379 | 23.02 | 2020-12-10 | 23.19 | 44167.5629 | 23.71
44166.4587 | 23.53 | 44167.0212 | 23.32 | 44167.5837 | 24.52
44166.4795 | 23.29 | 44167.042 | 23.43 | 44167.6045 | 23.55
44166.5004 | 23.37 | 44167.0629 | 24.24 | 44167.6254 | 24.7
44166.5212 | 24.5 | 44167.0837 | 23.57 | 44167.6462 | 23.65
44166.542 | 23.54 | 44167.1045 | 23.44 | 44167.667 | 23.13
44166.5629 | 24.32 | 44167.1254 | 23.57 | 44167.6879 | 24.05
44166.5837 | 23.4 | 44167.1462 | 24.54 | 44167.7087 | 24.26
44166.6045 | 23.1 | 44167.167 | 23.36 | 44167.7295 | 24.41
44166.6254 | 23.25 | 44167.1879 | 23.49 | 44167.7504 | 24.49
44166.6462 | 23.34 | 44167.2087 | 23.28 | 44167.7712 | 23.51
44166.667 | 23.91 | 44167.2295 | 24.77 | 44167.792 | 24.43
44166.6879 | 23.09 | 44167.2504 | 24.82 | 44167.8129 | 24.86
44166.7087 | 24.15 | 44167.2712 | 23.53 | 44167.8337 | 23.52
44166.7295 | 23.73 | 44167.292 | 23.18 | 44167.8545 | 24.46
44166.7504 | 24.14 | 44167.3129 | 24.47 | 44167.8754 | 24.36
44166.7712 | 23.08 | 44167.3337 | 24.84 | 44167.8962 | 23.74
44166.792 | 23.57 | 44167.3545 | 24.18 | 44167.917 | 24.49
44166.8129 | 23.18 | 44167.3754 | 23.99 | 44167.9379 | 24.46
44166.8337 | 23.04 | 44167.3962 | 24.81 | 44167.9587 | 23.73
44166.8545 | 23.45 | 44167.417 | 23.18 | 44167.9795 | 24.29
44166.8754 | 24.85 | 44167.4379 | 24.6 | 2020-12-11 | 23.01
Time | oC | Time | oC | Time | oC
44168.0212 | 24.5 | 44169.0212 | 24.1 | 44170.0212 | 23.75
44168.042 | 23.45 | 44169.042 | 23.92 | 44170.042 | 23.43
44168.0629 | 24.21 | 44169.0629 | 23.17 | 44170.0629 | 24.75
44168.0837 | 23.98 | 44169.0837 | 23.24 | 44170.0837 | 23.76
44168.1045 | 23.13 | 44169.1045 | 23.28 | 44170.1045 | 23.8
44168.1254 | 24.35 | 44169.1254 | 23.68 | 44170.1254 | 24.45
44168.1462 | 23.87 | 44169.1462 | 23.32 | 44170.1462 | 24.62
44168.167 | 23.25 | 44169.167 | 23.15 | 44170.167 | 23.52
44168.1879 | 23.01 | 44169.1879 | 24.83 | 44170.1879 | 23.33
44168.2087 | 24.39 | 44169.2087 | 24.13 | 44170.2087 | 23.78
44168.2295 | 23.48 | 44169.2295 | 24.47 | 44170.2295 | 23.77
44168.2504 | 23.07 | 44169.2504 | 23.24 | 44170.2504 | 23.89
44168.2712 | 23.09 | 44169.2712 | 23.86 | 44170.2712 | 24.4
44168.292 | 23.97 | 44169.292 | 24.58 | 44170.292 | 23.22
44168.3129 | 24.29 | 44169.3129 | 24.57 | 44170.3129 | 23.58
44168.3337 | 24.15 | 44169.3337 | 23.53 | 44170.3337 | 24.96
44168.3545 | 24.95 | 44169.3545 | 24.14 | 44170.3545 | 23.01
44168.3754 | 24.48 | 44169.3754 | 24.05 | 44170.3754 | 24.85
44168.3962 | 23.79 | 44169.3962 | 23.92 | 44170.3962 | 24.14
44168.417 | 23.15 | 44169.417 | 23.08 | 44170.417 | 24.63
44168.4379 | 24.98 | 44169.4379 | 24.45 | 44170.4379 | 24.24
44168.4587 | 24.17 | 44169.4587 | 23.01 | 44170.4587 | 23.83
44168.4795 | 24.49 | 44169.4795 | 23.98 | 44170.4795 | 23.01
44168.5004 | 24.05 | 44169.5004 | 24.69 | 44170.5004 | 24.94
44168.5212 | 24.7 | 44169.5212 | 23.84 | 44170.5212 | 23.62
44168.542 | 23.99 | 44169.542 | 24.77 | 44170.542 | 24.48
44168.5629 | 24.14 | 44169.5629 | 23.4 | 44170.5629 | 23.52
44168.5837 | 23.32 | 44169.5837 | 24.82 | 44170.5837 | 23.63
44168.6045 | 24.36 | 44169.6045 | 23.2 | 44170.6045 | 24.48
44168.6254 | 23.66 | 44169.6254 | 24.49 | 44170.6254 | 23.48
44168.6462 | 24.49 | 44169.6462 | 24.23 | 44170.6462 | 23.28
44168.667 | 24.77 | 44169.667 | 23.66 | 44170.667 | 24.12
44168.6879 | 23.52 | 44169.6879 | 24.17 | 44170.6879 | 23.95
44168.7087 | 23.32 | 44169.7087 | 23.97 | 44170.7087 | 23.85
44168.7295 | 24.2 | 44169.7295 | 24.74 | 44170.7295 | 24.05
44168.7504 | 23.29 | 44169.7504 | 23.91 | 44170.7504 | 24.56
44168.7712 | 23.73 | 44169.7712 | 23.5 | 44170.7712 | 23.36
44168.792 | 23.55 | 44169.792 | 24.47 | 44170.792 | 24.42
44168.8129 | 23.09 | 44169.8129 | 23.37 | 44170.8129 | 23.32
44168.8337 | 23.62 | 44169.8337 | 23.54 | 44170.8337 | 23.1
44168.8545 | 24.48 | 44169.8545 | 24.73 | 44170.8545 | 24.18
44168.8754 | 24.13 | 44169.8754 | 23.98 | 44170.8754 | 24.66
44168.8962 | 23.75 | 44169.8962 | 24.62 | 44170.8962 | 23.1
44168.917 | 24.88 | 44169.917 | 23.92 | 44170.917 | 23.79
44168.9379 | 23.09 | 44169.9379 | 23.04 | 44170.9379 | 23.66
44168.9587 | 23.05 | 44169.9587 | 24.86 | 44170.9587 | 24.31
44168.9795 | 24.94 | 44169.9795 | 23.32 | 44170.9795 | 24.76
2020-12-12 | 23.27 | 2020-12-13 | 23.43 | 2020-12-14 | 23.8
Time | oC | Time | oC | Time | oC
44171.0212 | 24.57 | 44172.0212 | 23.42
44171.042 | 24.41 | 44172.042 | 23.9
44171.0629 | 24.58 | 44172.0629 | 23.39
44171.0837 | 24.84 | 44172.0837 | 24.09
44171.1045 | 24.74 | 44172.1045 | 24.93
44171.1254 | 24.77 | 44172.1254 | 24.99
44171.1462 | 24.68 | 44172.1462 | 23.32
44171.167 | 24.17 | 44172.167 | 23.11
44171.1879 | 23.85 | 44172.1879 | 24.01
44171.2087 | 24.66 | 44172.2087 | 24.65
44171.2295 | 24.37 | 44172.2295 | 24.17
44171.2504 | 24.08 | 44172.2504 | 23.03
44171.2712 | 24.07 | 44172.2712 | 23.23
44171.292 | 23.84 | 44172.292 | 24.83
44171.3129 | 23.77 | 44172.3129 | 23.55
44171.3337 | 24.04 | 44172.3337 | 23.88
44171.3545 | 23.84 | 44172.3545 | 23.89
44171.3754 | 23.79 | 44172.3754 | 24.03
44171.3962 | 23.55 | 44172.3962 | 24.57
44171.417 | 23.1 | 44172.417 | 24.48
44171.4379 | 24.17 | 44172.4379 | 24.47
44171.4587 | 23.46 | 44172.4587 | 24.09
44171.4795 | 24.87 | 44172.4795 | 24.57
44171.5004 | 23.74 | 44172.5004 | 24.22
44171.5212 | 24.87 | 44172.5212 | 23.62
44171.542 | 24.43 | 44172.542 | 24.05
44171.5629 | 23.77 | 44172.5629 | 24.21
44171.5837 | 23.32 | 44172.5837 | 23.05
44171.6045 | 23.59 | 44172.6045 | 24.66
44171.6254 | 23.94 | 44172.6254 | 24.41
44171.6462 | 23.93 | 44172.6462 | 23.46
44171.667 | 24.69 | 44172.667 | 23.11
44171.6879 | 24.05 | 44172.6879 | 23.92
44171.7087 | 23.21 | 44172.7087 | 24.47
44171.7295 | 24.27 | 44172.7295 | 24.08
44171.7504 | 24.81 | 44172.7504 | 24.57
44171.7712 | 24.39 | 44172.7712 | 23.98
44171.792 | 23.9 | 44172.792 | 23.38
44171.8129 | 23.66 | 44172.8129 | 24.66
44171.8337 | 24.95 | 44172.8337 | 23.22
44171.8545 | 24.68 | 44172.8545 | 24.66
44171.8754 | 24.93 | 44172.8754 | 24.11
44171.8962 | 24.07 | 44172.8962 | 24.87
44171.917 | 24.01 | 44172.917 | 24.04
44171.9379 | 23.55 | 44172.9379 | 23.41
44171.9587 | 24.29 | 44172.9587 | 24.44
44171.9795 | 23.46 | 44172.9795 | 23.1
2020-12-15 | 24.89