## Sheet1
File is created on: 16/12/2020 08:30
REPORT POINT 2-60
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 09/12/2020 08:00:33
Temp Units:°C |  |  | Expected Stop Time: 23/12/2020 23:30:33
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-3
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 09/12/2020 08:00:33
Lower Limit(Temp): 15°C |  |  |  | Last Point: 15/12/2020 23:30:33
Max(Temp)_oC | 25.9775 | Min(Temp)_oC | 22.1148 | Avg(Temp)_oC | 24.0073
Time | oC | Time | oC | Time | oC
2020-12-09 08:00 | 23.5025 | 44166.8962 | 22.2249 | 44167.4587 | 23.1695
44166.3545 | 24.7803 | 44166.917 | 22.16 | 44167.4795 | 24.6102
44166.3754 | 22.2276 | 44166.9379 | 22.1964 | 44167.5004 | 22.1896
44166.3962 | 24.0349 | 44166.9587 | 25.6147 | 44167.5212 | 24.5146
44166.417 | 22.1611 | 44166.9795 | 23.8383 | 44167.542 | 22.8876
44166.4379 | 25.2246 | 2020-12-10 | 24.2133 | 44167.5629 | 22.7426
44166.4587 | 22.8062 | 44167.0212 | 23.236 | 44167.5837 | 23.7536
44166.4795 | 24.3794 | 44167.042 | 23.6345 | 44167.6045 | 23.2148
44166.5004 | 22.1148 | 44167.0629 | 22.2405 | 44167.6254 | 22.245
44166.5212 | 22.5657 | 44167.0837 | 22.4196 | 44167.6462 | 25.2715
44166.542 | 23.9779 | 44167.1045 | 24.6982 | 44167.667 | 25.9775
44166.5629 | 25.1726 | 44167.1254 | 25.9582 | 44167.6879 | 24.5921
44166.5837 | 23.094 | 44167.1462 | 23.3603 | 44167.7087 | 25.345
44166.6045 | 25.7569 | 44167.167 | 25.6057 | 44167.7295 | 24.334
44166.6254 | 24.1517 | 44167.1879 | 25.97 | 44167.7504 | 23.3029
44166.6462 | 23.0021 | 44167.2087 | 24.9032 | 44167.7712 | 22.7738
44166.667 | 24.4276 | 44167.2295 | 24.0876 | 44167.792 | 24.8246
44166.6879 | 25.9651 | 44167.2504 | 25.8023 | 44167.8129 | 25.8155
44166.7087 | 25.0149 | 44167.2712 | 22.7871 | 44167.8337 | 22.6631
44166.7295 | 24.3328 | 44167.292 | 23.7875 | 44167.8545 | 25.3457
44166.7504 | 23.3027 | 44167.3129 | 24.816 | 44167.8754 | 25.2395
44166.7712 | 25.0274 | 44167.3337 | 24.064 | 44167.8962 | 24.4519
44166.792 | 24.1002 | 44167.3545 | 25.8006 | 44167.917 | 25.7334
44166.8129 | 24.231 | 44167.3754 | 25.5712 | 44167.9379 | 25.1663
44166.8337 | 22.8797 | 44167.3962 | 25.8145 | 44167.9587 | 22.9596
44166.8545 | 22.8966 | 44167.417 | 22.1911 | 44167.9795 | 23.9784
44166.8754 | 25.1991 | 44167.4379 | 23.4113 | 2020-12-11 | 25.7153
Time | oC | Time | oC | Time | oC
44168.0212 | 23.07 | 44169.0212 | 24.53 | 44170.0212 | 23.72
44168.042 | 24.32 | 44169.042 | 23.75 | 44170.042 | 24.69
44168.0629 | 24.61 | 44169.0629 | 24.74 | 44170.0629 | 23.25
44168.0837 | 24.11 | 44169.0837 | 24.92 | 44170.0837 | 23.22
44168.1045 | 23.79 | 44169.1045 | 24.22 | 44170.1045 | 24.56
44168.1254 | 23.56 | 44169.1254 | 24.43 | 44170.1254 | 23.94
44168.1462 | 24.08 | 44169.1462 | 23.22 | 44170.1462 | 24.77
44168.167 | 24.38 | 44169.167 | 24 | 44170.167 | 23.04
44168.1879 | 24.13 | 44169.1879 | 23.86 | 44170.1879 | 24.01
44168.2087 | 24.45 | 44169.2087 | 23.48 | 44170.2087 | 24.7
44168.2295 | 23.82 | 44169.2295 | 23.53 | 44170.2295 | 24.28
44168.2504 | 23.59 | 44169.2504 | 23.15 | 44170.2504 | 24.69
44168.2712 | 24.8 | 44169.2712 | 24.59 | 44170.2712 | 23.6
44168.292 | 23.68 | 44169.292 | 24.35 | 44170.292 | 23.6
44168.3129 | 23.09 | 44169.3129 | 24.95 | 44170.3129 | 24.23
44168.3337 | 23.13 | 44169.3337 | 23.42 | 44170.3337 | 23.65
44168.3545 | 24.57 | 44169.3545 | 24.42 | 44170.3545 | 24.31
44168.3754 | 23.41 | 44169.3754 | 23.12 | 44170.3754 | 23.52
44168.3962 | 24.17 | 44169.3962 | 23.76 | 44170.3962 | 23.02
44168.417 | 23.55 | 44169.417 | 23.47 | 44170.417 | 23.27
44168.4379 | 24.56 | 44169.4379 | 24.01 | 44170.4379 | 23.26
44168.4587 | 24.05 | 44169.4587 | 24.19 | 44170.4587 | 23.16
44168.4795 | 24.32 | 44169.4795 | 23.79 | 44170.4795 | 23.95
44168.5004 | 23.68 | 44169.5004 | 24.47 | 44170.5004 | 24.05
44168.5212 | 24.26 | 44169.5212 | 23.72 | 44170.5212 | 24.12
44168.542 | 24.04 | 44169.542 | 23.27 | 44170.542 | 23.12
44168.5629 | 24.05 | 44169.5629 | 23.48 | 44170.5629 | 23.65
44168.5837 | 23.75 | 44169.5837 | 23.78 | 44170.5837 | 24.3
44168.6045 | 23.69 | 44169.6045 | 23.21 | 44170.6045 | 23.34
44168.6254 | 23.76 | 44169.6254 | 24.98 | 44170.6254 | 24.8
44168.6462 | 23.65 | 44169.6462 | 23.62 | 44170.6462 | 24.05
44168.667 | 23.09 | 44169.667 | 24.91 | 44170.667 | 25
44168.6879 | 23.22 | 44169.6879 | 23.64 | 44170.6879 | 24.91
44168.7087 | 24.81 | 44169.7087 | 23.45 | 44170.7087 | 24.64
44168.7295 | 23.49 | 44169.7295 | 24.58 | 44170.7295 | 24.31
44168.7504 | 24.13 | 44169.7504 | 24.99 | 44170.7504 | 23.87
44168.7712 | 23.56 | 44169.7712 | 24.36 | 44170.7712 | 24.24
44168.792 | 23.59 | 44169.792 | 23.68 | 44170.792 | 23.37
44168.8129 | 24.75 | 44169.8129 | 23.86 | 44170.8129 | 24.66
44168.8337 | 24.29 | 44169.8337 | 23.21 | 44170.8337 | 24.88
44168.8545 | 23.13 | 44169.8545 | 24.62 | 44170.8545 | 23.68
44168.8754 | 24.78 | 44169.8754 | 24.59 | 44170.8754 | 23.77
44168.8962 | 24.26 | 44169.8962 | 24.1 | 44170.8962 | 23.83
44168.917 | 23.35 | 44169.917 | 24.37 | 44170.917 | 23.24
44168.9379 | 23.36 | 44169.9379 | 24.83 | 44170.9379 | 23.81
44168.9587 | 23.24 | 44169.9587 | 23.34 | 44170.9587 | 23.77
44168.9795 | 23.27 | 44169.9795 | 24.39 | 44170.9795 | 23.97
2020-12-12 | 23.07 | 2020-12-13 | 23.68 | 2020-12-14 | 24.3
Time | oC | Time | oC | Time | oC
44171.0212 | 23.29 | 44172.0212 | 24.11
44171.042 | 23.13 | 44172.042 | 24.93
44171.0629 | 23.79 | 44172.0629 | 23.86
44171.0837 | 23.98 | 44172.0837 | 24.5
44171.1045 | 24.38 | 44172.1045 | 23.87
44171.1254 | 23.09 | 44172.1254 | 23.98
44171.1462 | 24.18 | 44172.1462 | 24.9
44171.167 | 23.79 | 44172.167 | 24.49
44171.1879 | 24.49 | 44172.1879 | 23.14
44171.2087 | 23.31 | 44172.2087 | 24.67
44171.2295 | 24.49 | 44172.2295 | 24.65
44171.2504 | 23.81 | 44172.2504 | 23.28
44171.2712 | 23.41 | 44172.2712 | 24.78
44171.292 | 24.95 | 44172.292 | 23.33
44171.3129 | 23.29 | 44172.3129 | 23.21
44171.3337 | 24.41 | 44172.3337 | 23.25
44171.3545 | 24.1 | 44172.3545 | 24.26
44171.3754 | 23.65 | 44172.3754 | 24.33
44171.3962 | 24.02 | 44172.3962 | 23.81
44171.417 | 23.88 | 44172.417 | 24.14
44171.4379 | 24.66 | 44172.4379 | 23.32
44171.4587 | 23.83 | 44172.4587 | 24.94
44171.4795 | 24.96 | 44172.4795 | 23.14
44171.5004 | 24.01 | 44172.5004 | 23.29
44171.5212 | 24.65 | 44172.5212 | 23.99
44171.542 | 24.66 | 44172.542 | 23.97
44171.5629 | 23.26 | 44172.5629 | 24.43
44171.5837 | 24.63 | 44172.5837 | 23.36
44171.6045 | 24.75 | 44172.6045 | 24.19
44171.6254 | 24.66 | 44172.6254 | 24.34
44171.6462 | 23.93 | 44172.6462 | 23.43
44171.667 | 24.16 | 44172.667 | 23.15
44171.6879 | 23.13 | 44172.6879 | 23.53
44171.7087 | 24.71 | 44172.7087 | 24.76
44171.7295 | 23.89 | 44172.7295 | 24.65
44171.7504 | 24.14 | 44172.7504 | 23.39
44171.7712 | 23.59 | 44172.7712 | 24.3
44171.792 | 24.82 | 44172.792 | 23.86
44171.8129 | 24.43 | 44172.8129 | 24.63
44171.8337 | 23.42 | 44172.8337 | 23.94
44171.8545 | 24.36 | 44172.8545 | 24.14
44171.8754 | 23.89 | 44172.8754 | 24.44
44171.8962 | 24.78 | 44172.8962 | 24.98
44171.917 | 23.53 | 44172.917 | 23.26
44171.9379 | 24.82 | 44172.9379 | 24.64
44171.9587 | 23.78 | 44172.9587 | 24.28
44171.9795 | 23.78 | 44172.9795 | 24.16
2020-12-15 | 23.45