## Sheet1
File is created on: 16/12/2020 08:30
REPORT POINT 4-150
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 09/12/2020 08:00:33
Temp Units:°C |  |  | Expected Stop Time: 15/12/2020 23:30:33
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-8
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 09/12/2020 08:00:33
Lower Limit(Temp): 15°C |  |  |  | Last Point: 15/12/2020 23:30:33
Max(Temp)_oC | 25.9515 | Min(Temp)_oC | 22.0106 | Avg(Temp)_oC | 23.926
Time | oC | Time | oC | Time | oC
2020-12-09 08:00 | 22.5753 | 44166.8962 | 23.945 | 44167.4587 | 23.7712
44166.3545 | 25.6045 | 44166.917 | 24.4942 | 44167.4795 | 25.2667
44166.3754 | 23.9718 | 44166.9379 | 22.5034 | 44167.5004 | 25.242
44166.3962 | 24.7508 | 44166.9587 | 24.6368 | 44167.5212 | 24.6316
44166.417 | 22.79 | 44166.9795 | 22.3093 | 44167.542 | 24.8184
44166.4379 | 23.8025 | 2020-12-10 | 22.8835 | 44167.5629 | 25.7947
44166.4587 | 23.9796 | 44167.0212 | 25.7259 | 44167.5837 | 22.9651
44166.4795 | 22.4006 | 44167.042 | 22.5225 | 44167.6045 | 23.5201
44166.5004 | 22.8032 | 44167.0629 | 22.3395 | 44167.6254 | 22.8089
44166.5212 | 22.1924 | 44167.0837 | 23.4409 | 44167.6462 | 23.677
44166.542 | 22.1898 | 44167.1045 | 22.8758 | 44167.667 | 22.12
44166.5629 | 25.573 | 44167.1254 | 23.2839 | 44167.6879 | 25.7019
44166.5837 | 22.2535 | 44167.1462 | 22.1566 | 44167.7087 | 25.7658
44166.6045 | 23.4253 | 44167.167 | 22.4152 | 44167.7295 | 22.2217
44166.6254 | 25.7563 | 44167.1879 | 22.9206 | 44167.7504 | 24.0609
44166.6462 | 25.1117 | 44167.2087 | 23.8662 | 44167.7712 | 25.147
44166.667 | 23.9356 | 44167.2295 | 23.401 | 44167.792 | 24.3283
44166.6879 | 23.0395 | 44167.2504 | 25.118 | 44167.8129 | 22.0137
44166.7087 | 22.1436 | 44167.2712 | 22.6789 | 44167.8337 | 22.4426
44166.7295 | 24.9083 | 44167.292 | 22.0106 | 44167.8545 | 22.7866
44166.7504 | 24.5866 | 44167.3129 | 25.8585 | 44167.8754 | 25.9515
44166.7712 | 25.701 | 44167.3337 | 23.6937 | 44167.8962 | 23.9542
44166.792 | 23.2951 | 44167.3545 | 22.1219 | 44167.917 | 22.9237
44166.8129 | 23.2808 | 44167.3754 | 22.9851 | 44167.9379 | 23.0673
44166.8337 | 22.6813 | 44167.3962 | 24.0182 | 44167.9587 | 23.7169
44166.8545 | 25.3903 | 44167.417 | 22.4953 | 44167.9795 | 24.9499
44166.8754 | 22.7192 | 44167.4379 | 25.4201 | 2020-12-11 | 22.1869
Time | oC | Time | oC | Time | oC
44168.0212 | 24.15 | 44169.0212 | 23.14 | 44170.0212 | 23.29
44168.042 | 24.31 | 44169.042 | 24.88 | 44170.042 | 24.26
44168.0629 | 24.33 | 44169.0629 | 24.83 | 44170.0629 | 23.7
44168.0837 | 23.67 | 44169.0837 | 24.17 | 44170.0837 | 24.76
44168.1045 | 23.74 | 44169.1045 | 23.19 | 44170.1045 | 24.02
44168.1254 | 24.74 | 44169.1254 | 24.31 | 44170.1254 | 23.14
44168.1462 | 24.73 | 44169.1462 | 24.64 | 44170.1462 | 24.15
44168.167 | 24.08 | 44169.167 | 24.85 | 44170.167 | 24.77
44168.1879 | 24.21 | 44169.1879 | 24.98 | 44170.1879 | 23.66
44168.2087 | 24.24 | 44169.2087 | 24.57 | 44170.2087 | 23.6
44168.2295 | 23.59 | 44169.2295 | 23.94 | 44170.2295 | 23.6
44168.2504 | 23.74 | 44169.2504 | 23.68 | 44170.2504 | 24.4
44168.2712 | 23.06 | 44169.2712 | 24.92 | 44170.2712 | 24.24
44168.292 | 23.48 | 44169.292 | 23.44 | 44170.292 | 23.61
44168.3129 | 23.92 | 44169.3129 | 23.34 | 44170.3129 | 24.67
44168.3337 | 23.77 | 44169.3337 | 23.23 | 44170.3337 | 23.07
44168.3545 | 23.83 | 44169.3545 | 23.39 | 44170.3545 | 23.83
44168.3754 | 24 | 44169.3754 | 24.29 | 44170.3754 | 24.9
44168.3962 | 24.91 | 44169.3962 | 24.2 | 44170.3962 | 23.9
44168.417 | 24.65 | 44169.417 | 24.05 | 44170.417 | 23.43
44168.4379 | 24.4 | 44169.4379 | 24.14 | 44170.4379 | 24.66
44168.4587 | 23.3 | 44169.4587 | 24.33 | 44170.4587 | 24.18
44168.4795 | 24.91 | 44169.4795 | 24.42 | 44170.4795 | 24.04
44168.5004 | 23.13 | 44169.5004 | 23.35 | 44170.5004 | 24.49
44168.5212 | 23.83 | 44169.5212 | 24.69 | 44170.5212 | 24.53
44168.542 | 24.46 | 44169.542 | 24.39 | 44170.542 | 23.71
44168.5629 | 23.59 | 44169.5629 | 23.75 | 44170.5629 | 23.11
44168.5837 | 23.3 | 44169.5837 | 23.5 | 44170.5837 | 23.11
44168.6045 | 24.7 | 44169.6045 | 23.28 | 44170.6045 | 24.28
44168.6254 | 23.14 | 44169.6254 | 23.83 | 44170.6254 | 23.91
44168.6462 | 23.39 | 44169.6462 | 23.56 | 44170.6462 | 23.8
44168.667 | 23.58 | 44169.667 | 24.51 | 44170.667 | 24.26
44168.6879 | 24.65 | 44169.6879 | 23.69 | 44170.6879 | 24.58
44168.7087 | 23.81 | 44169.7087 | 24.77 | 44170.7087 | 24.4
44168.7295 | 24.15 | 44169.7295 | 24.84 | 44170.7295 | 23.65
44168.7504 | 23.89 | 44169.7504 | 24.14 | 44170.7504 | 23.61
44168.7712 | 23.47 | 44169.7712 | 23.03 | 44170.7712 | 24.98
44168.792 | 23.53 | 44169.792 | 23.13 | 44170.792 | 24.76
44168.8129 | 23.12 | 44169.8129 | 24.78 | 44170.8129 | 24.79
44168.8337 | 23.4 | 44169.8337 | 23.92 | 44170.8337 | 24.79
44168.8545 | 23.45 | 44169.8545 | 24.49 | 44170.8545 | 24.42
44168.8754 | 23.91 | 44169.8754 | 23.45 | 44170.8754 | 23.42
44168.8962 | 24.54 | 44169.8962 | 24.38 | 44170.8962 | 24.26
44168.917 | 23.02 | 44169.917 | 24.81 | 44170.917 | 24.7
44168.9379 | 23.21 | 44169.9379 | 23.94 | 44170.9379 | 23.45
44168.9587 | 24.95 | 44169.9587 | 23.76 | 44170.9587 | 24.76
44168.9795 | 24.88 | 44169.9795 | 24.51 | 44170.9795 | 24.54
2020-12-12 | 23.88 | 2020-12-13 | 23.29 | 2020-12-14 | 23.99
Time | oC | Time | oC | Time | oC
44171.0212 | 24.72 | 44172.0212 | 24.87
44171.042 | 23.28 | 44172.042 | 23.68
44171.0629 | 24.78 | 44172.0629 | 24.55
44171.0837 | 24.24 | 44172.0837 | 23.56
44171.1045 | 24.65 | 44172.1045 | 23.96
44171.1254 | 24.3 | 44172.1254 | 23.8
44171.1462 | 23.53 | 44172.1462 | 23.62
44171.167 | 23.77 | 44172.167 | 24
44171.1879 | 24.88 | 44172.1879 | 24.07
44171.2087 | 23.74 | 44172.2087 | 24.23
44171.2295 | 24.63 | 44172.2295 | 24.69
44171.2504 | 24.04 | 44172.2504 | 23.45
44171.2712 | 24.07 | 44172.2712 | 24.62
44171.292 | 24.4 | 44172.292 | 23.86
44171.3129 | 23.78 | 44172.3129 | 23.51
44171.3337 | 23.47 | 44172.3337 | 23.38
44171.3545 | 24.87 | 44172.3545 | 23.75
44171.3754 | 23.35 | 44172.3754 | 24.8
44171.3962 | 23.39 | 44172.3962 | 24.6
44171.417 | 24.19 | 44172.417 | 24.08
44171.4379 | 24.02 | 44172.4379 | 24.29
44171.4587 | 24.87 | 44172.4587 | 23.67
44171.4795 | 23.69 | 44172.4795 | 24.9
44171.5004 | 23.38 | 44172.5004 | 24.22
44171.5212 | 23 | 44172.5212 | 24.64
44171.542 | 23.35 | 44172.542 | 23.57
44171.5629 | 24.07 | 44172.5629 | 24.75
44171.5837 | 24.92 | 44172.5837 | 24.26
44171.6045 | 24.47 | 44172.6045 | 24.02
44171.6254 | 24.64 | 44172.6254 | 23.06
44171.6462 | 23.35 | 44172.6462 | 24.63
44171.667 | 24.93 | 44172.667 | 23.97
44171.6879 | 23.21 | 44172.6879 | 23.41
44171.7087 | 24.36 | 44172.7087 | 23.06
44171.7295 | 24.12 | 44172.7295 | 24.28
44171.7504 | 23.06 | 44172.7504 | 23.87
44171.7712 | 23.02 | 44172.7712 | 23.22
44171.792 | 24.43 | 44172.792 | 23.9
44171.8129 | 23.71 | 44172.8129 | 24.23
44171.8337 | 23.35 | 44172.8337 | 24.49
44171.8545 | 24.98 | 44172.8545 | 23.92
44171.8754 | 23.84 | 44172.8754 | 23.73
44171.8962 | 23.25 | 44172.8962 | 23.79
44171.917 | 23.17 | 44172.917 | 23.73
44171.9379 | 23.4 | 44172.9379 | 23.5
44171.9587 | 23.03 | 44172.9587 | 23.39
44171.9795 | 24.05 | 44172.9795 | 24.86
2020-12-15 | 23.67