## Sheet1
File is created on: 16/12/2020 08:30
REPORT POINT 4-60
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 09/12/2020 08:00:33
Temp Units:°C |  |  | Expected Stop Time: 15/12/2020 23:30:33
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-7
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 09/12/2020 08:00:33
Lower Limit(Temp): 15°C |  |  |  | Last Point: 15/12/2020 23:30:33
Max(Temp)_oC | 25.9871 | Min(Temp)_oC | 22.0505 | Avg(Temp)_oC | 24.0592
Time | oC | Time | oC | Time | oC
2020-12-09 08:00 | 22.4337 | 44166.8962 | 24.7019 | 44167.4587 | 22.8379
44166.3545 | 23.5933 | 44166.917 | 25.2001 | 44167.4795 | 24.517
44166.3754 | 25.9179 | 44166.9379 | 23.4582 | 44167.5004 | 22.9789
44166.3962 | 23.0178 | 44166.9587 | 24.0284 | 44167.5212 | 24.3586
44166.417 | 25.5599 | 44166.9795 | 25.6108 | 44167.542 | 22.703
44166.4379 | 24.5463 | 2020-12-10 | 23.4517 | 44167.5629 | 23.8637
44166.4587 | 23.3599 | 44167.0212 | 22.5856 | 44167.5837 | 23.367
44166.4795 | 24.162 | 44167.042 | 25.8035 | 44167.6045 | 24.6401
44166.5004 | 22.4174 | 44167.0629 | 25.9871 | 44167.6254 | 24.5027
44166.5212 | 25.5231 | 44167.0837 | 25.6763 | 44167.6462 | 25.1102
44166.542 | 23.8088 | 44167.1045 | 22.0505 | 44167.667 | 23.641
44166.5629 | 22.7428 | 44167.1254 | 23.2079 | 44167.6879 | 23.89
44166.5837 | 24.3425 | 44167.1462 | 23.9468 | 44167.7087 | 25.5447
44166.6045 | 22.3457 | 44167.167 | 23.0205 | 44167.7295 | 25.0654
44166.6254 | 24.7094 | 44167.1879 | 25.7248 | 44167.7504 | 25.5225
44166.6462 | 23.2027 | 44167.2087 | 24.1988 | 44167.7712 | 22.2524
44166.667 | 22.2278 | 44167.2295 | 25.9726 | 44167.792 | 23.4805
44166.6879 | 25.1495 | 44167.2504 | 22.4975 | 44167.8129 | 24.9249
44166.7087 | 22.0795 | 44167.2712 | 25.604 | 44167.8337 | 24.9524
44166.7295 | 25.9831 | 44167.292 | 25.7639 | 44167.8545 | 24.5792
44166.7504 | 24.3131 | 44167.3129 | 24.2181 | 44167.8754 | 22.7011
44166.7712 | 25.5463 | 44167.3337 | 24.1311 | 44167.8962 | 23.819
44166.792 | 25.3616 | 44167.3545 | 22.5302 | 44167.917 | 24.3503
44166.8129 | 25.0948 | 44167.3754 | 25.1144 | 44167.9379 | 22.121
44166.8337 | 22.7611 | 44167.3962 | 22.6836 | 44167.9587 | 24.1919
44166.8545 | 22.335 | 44167.417 | 23.0913 | 44167.9795 | 24.8669
44166.8754 | 24.6418 | 44167.4379 | 22.6253 | 2020-12-11 | 25.9299
Time | oC | Time | oC | Time | oC
44168.0212 | 23.25 | 44169.0212 | 24.46 | 44170.0212 | 23.42
44168.042 | 24.96 | 44169.042 | 24.76 | 44170.042 | 23.28
44168.0629 | 23.69 | 44169.0629 | 24.4 | 44170.0629 | 24.55
44168.0837 | 23.25 | 44169.0837 | 23.11 | 44170.0837 | 23.69
44168.1045 | 25 | 44169.1045 | 24.27 | 44170.1045 | 23.5
44168.1254 | 24.44 | 44169.1254 | 24.24 | 44170.1254 | 24.56
44168.1462 | 23.35 | 44169.1462 | 24.98 | 44170.1462 | 23.66
44168.167 | 23.22 | 44169.167 | 24.49 | 44170.167 | 24.91
44168.1879 | 24.75 | 44169.1879 | 24.49 | 44170.1879 | 23.83
44168.2087 | 24.05 | 44169.2087 | 24.98 | 44170.2087 | 23.59
44168.2295 | 24.61 | 44169.2295 | 24.94 | 44170.2295 | 24.46
44168.2504 | 23.6 | 44169.2504 | 23.79 | 44170.2504 | 24.37
44168.2712 | 23.02 | 44169.2712 | 23.6 | 44170.2712 | 23.46
44168.292 | 24.97 | 44169.292 | 23.21 | 44170.292 | 24.43
44168.3129 | 24.83 | 44169.3129 | 24.98 | 44170.3129 | 23.82
44168.3337 | 23.47 | 44169.3337 | 23.41 | 44170.3337 | 23.52
44168.3545 | 23.37 | 44169.3545 | 24.75 | 44170.3545 | 24.21
44168.3754 | 23.96 | 44169.3754 | 24.65 | 44170.3754 | 23.29
44168.3962 | 24.74 | 44169.3962 | 23.9 | 44170.3962 | 23.59
44168.417 | 24.94 | 44169.417 | 23.25 | 44170.417 | 24.01
44168.4379 | 24.04 | 44169.4379 | 24.09 | 44170.4379 | 24.59
44168.4587 | 24.19 | 44169.4587 | 24.51 | 44170.4587 | 24.99
44168.4795 | 24.54 | 44169.4795 | 24.17 | 44170.4795 | 24.27
44168.5004 | 23.61 | 44169.5004 | 24.69 | 44170.5004 | 24
44168.5212 | 24.58 | 44169.5212 | 24.89 | 44170.5212 | 23.8
44168.542 | 24.68 | 44169.542 | 23.86 | 44170.542 | 23.62
44168.5629 | 24.76 | 44169.5629 | 24.95 | 44170.5629 | 24.82
44168.5837 | 23.47 | 44169.5837 | 24.69 | 44170.5837 | 23.41
44168.6045 | 23.98 | 44169.6045 | 24.08 | 44170.6045 | 23.75
44168.6254 | 24.42 | 44169.6254 | 24.21 | 44170.6254 | 24.45
44168.6462 | 24.11 | 44169.6462 | 23.31 | 44170.6462 | 24.97
44168.667 | 23.57 | 44169.667 | 23.77 | 44170.667 | 24.95
44168.6879 | 23.64 | 44169.6879 | 23.31 | 44170.6879 | 23.86
44168.7087 | 24.86 | 44169.7087 | 24.98 | 44170.7087 | 23.71
44168.7295 | 24.7 | 44169.7295 | 23.8 | 44170.7295 | 23.83
44168.7504 | 23.14 | 44169.7504 | 24.8 | 44170.7504 | 24.27
44168.7712 | 23.9 | 44169.7712 | 23.68 | 44170.7712 | 24.33
44168.792 | 24.92 | 44169.792 | 23.53 | 44170.792 | 24.13
44168.8129 | 24.99 | 44169.8129 | 24.73 | 44170.8129 | 24.75
44168.8337 | 24.46 | 44169.8337 | 24.74 | 44170.8337 | 24.76
44168.8545 | 23.22 | 44169.8545 | 23.64 | 44170.8545 | 23.83
44168.8754 | 23.58 | 44169.8754 | 23.52 | 44170.8754 | 24.41
44168.8962 | 23.33 | 44169.8962 | 23.74 | 44170.8962 | 24.66
44168.917 | 23.83 | 44169.917 | 23.89 | 44170.917 | 24.76
44168.9379 | 23.19 | 44169.9379 | 23.76 | 44170.9379 | 23.05
44168.9587 | 23.73 | 44169.9587 | 23.08 | 44170.9587 | 23.65
44168.9795 | 23.37 | 44169.9795 | 24.51 | 44170.9795 | 24.75
2020-12-12 | 23.92 | 2020-12-13 | 23.37 | 2020-12-14 | 23.74
Time | oC | Time | oC | Time | oC
44171.0212 | 24.76 | 44172.0212 | 23.07
44171.042 | 23.36 | 44172.042 | 24.91
44171.0629 | 24.3 | 44172.0629 | 24.66
44171.0837 | 24.2 | 44172.0837 | 24.81
44171.1045 | 24.13 | 44172.1045 | 24.64
44171.1254 | 24.04 | 44172.1254 | 24.74
44171.1462 | 24.71 | 44172.1462 | 23.24
44171.167 | 23.92 | 44172.167 | 23.11
44171.1879 | 23.53 | 44172.1879 | 23.08
44171.2087 | 24.6 | 44172.2087 | 24.64
44171.2295 | 23.92 | 44172.2295 | 24.5
44171.2504 | 23.08 | 44172.2504 | 23.46
44171.2712 | 24.19 | 44172.2712 | 24.78
44171.292 | 23.31 | 44172.292 | 23.08
44171.3129 | 24.57 | 44172.3129 | 24.05
44171.3337 | 23.18 | 44172.3337 | 24.76
44171.3545 | 23.56 | 44172.3545 | 24.87
44171.3754 | 23.07 | 44172.3754 | 24.35
44171.3962 | 23.28 | 44172.3962 | 23.67
44171.417 | 23.48 | 44172.417 | 24.69
44171.4379 | 24.35 | 44172.4379 | 24.34
44171.4587 | 24.5 | 44172.4587 | 24.46
44171.4795 | 23.94 | 44172.4795 | 24.2
44171.5004 | 23.04 | 44172.5004 | 23.1
44171.5212 | 23.34 | 44172.5212 | 24.79
44171.542 | 23.42 | 44172.542 | 23.9
44171.5629 | 23.91 | 44172.5629 | 24.59
44171.5837 | 24.4 | 44172.5837 | 23.15
44171.6045 | 24.02 | 44172.6045 | 24.38
44171.6254 | 23.79 | 44172.6254 | 23.74
44171.6462 | 23.19 | 44172.6462 | 24.6
44171.667 | 23.63 | 44172.667 | 23.8
44171.6879 | 24.74 | 44172.6879 | 24.23
44171.7087 | 23.37 | 44172.7087 | 24.79
44171.7295 | 23.46 | 44172.7295 | 24.09
44171.7504 | 24.21 | 44172.7504 | 23.68
44171.7712 | 24.75 | 44172.7712 | 24.99
44171.792 | 24.36 | 44172.792 | 24.49
44171.8129 | 24.37 | 44172.8129 | 23.82
44171.8337 | 23.17 | 44172.8337 | 24.13
44171.8545 | 23.43 | 44172.8545 | 24.77
44171.8754 | 24.88 | 44172.8754 | 23.22
44171.8962 | 24.05 | 44172.8962 | 23.51
44171.917 | 24.6 | 44172.917 | 23.65
44171.9379 | 24.15 | 44172.9379 | 24.77
44171.9587 | 23.3 | 44172.9587 | 23.15
44171.9795 | 23.08 | 44172.9795 | 23.03
2020-12-15 | 23.63