## Sheet1
File is created on: 16/12/2020 08:30
REPORT POINT 5-60
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 09/12/2020 08:00:33
Temp Units:°C |  |  | Expected Stop Time: 15/12/2020 23:30:33
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-9
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 09/12/2020 08:00:33
Lower Limit(Temp): 15°C |  |  |  | Last Point: 15/12/2020 23:30:33
Max(Temp)_oC | 24.9927 | Min(Temp)_oC | 20.0168 | Avg(Temp)_oC | 22.4836
Time | oC | Time | oC | Time | oC
2020-12-09 08:00 | 20.4605 | 44166.8962 | 23.9406 | 44167.4587 | 23.2099
44166.3545 | 23.0331 | 44166.917 | 20.7358 | 44167.4795 | 23.0542
44166.3754 | 20.7018 | 44166.9379 | 20.8186 | 44167.5004 | 23.5749
44166.3962 | 22.2043 | 44166.9587 | 24.1565 | 44167.5212 | 22.2067
44166.417 | 20.7301 | 44166.9795 | 21.4444 | 44167.542 | 24.9316
44166.4379 | 21.5987 | 2020-12-10 | 22.7814 | 44167.5629 | 20.7976
44166.4587 | 24.5615 | 44167.0212 | 24.6498 | 44167.5837 | 20.5226
44166.4795 | 20.962 | 44167.042 | 21.876 | 44167.6045 | 21.8037
44166.5004 | 23.1391 | 44167.0629 | 21.9262 | 44167.6254 | 24.0365
44166.5212 | 21.994 | 44167.0837 | 24.2305 | 44167.6462 | 24.5325
44166.542 | 20.3815 | 44167.1045 | 23.582 | 44167.667 | 23.8874
44166.5629 | 24.3896 | 44167.1254 | 23.824 | 44167.6879 | 20.087
44166.5837 | 20.2287 | 44167.1462 | 24.4325 | 44167.7087 | 21.3391
44166.6045 | 24.5023 | 44167.167 | 24.3511 | 44167.7295 | 21.7432
44166.6254 | 22.3272 | 44167.1879 | 21.8587 | 44167.7504 | 24.6437
44166.6462 | 23.4784 | 44167.2087 | 20.3914 | 44167.7712 | 23.2207
44166.667 | 22.8059 | 44167.2295 | 23.8741 | 44167.792 | 24.2014
44166.6879 | 23.3366 | 44167.2504 | 24.8355 | 44167.8129 | 21.2764
44166.7087 | 21.769 | 44167.2712 | 22.7587 | 44167.8337 | 21.8545
44166.7295 | 21.9901 | 44167.292 | 20.4259 | 44167.8545 | 20.4091
44166.7504 | 21.7032 | 44167.3129 | 22.8391 | 44167.8754 | 22.6428
44166.7712 | 23.6999 | 44167.3337 | 23.6393 | 44167.8962 | 20.5802
44166.792 | 23.9809 | 44167.3545 | 22.7944 | 44167.917 | 24.9044
44166.8129 | 23.3143 | 44167.3754 | 21.7746 | 44167.9379 | 23.2213
44166.8337 | 23.5396 | 44167.3962 | 21.3697 | 44167.9587 | 22.8454
44166.8545 | 23.4989 | 44167.417 | 20.3324 | 44167.9795 | 20.3253
44166.8754 | 20.11 | 44167.4379 | 21.6683 | 2020-12-11 | 24.59
Time | oC | Time | oC | Time | oC
44168.0212 | 20.4808 | 44169.0212 | 22.5582 | 44170.0212 | 20.0827
44168.042 | 22.9461 | 44169.042 | 20.1514 | 44170.042 | 23.5007
44168.0629 | 22.282 | 44169.0629 | 23.4781 | 44170.0629 | 20.0245
44168.0837 | 21.5582 | 44169.0837 | 24.5231 | 44170.0837 | 24.0568
44168.1045 | 20.5938 | 44169.1045 | 20.745 | 44170.1045 | 21.6059
44168.1254 | 22.9192 | 44169.1254 | 22.4294 | 44170.1254 | 22.8498
44168.1462 | 20.2698 | 44169.1462 | 20.278 | 44170.1462 | 20.0476
44168.167 | 23.4706 | 44169.167 | 24.5856 | 44170.167 | 21.9577
44168.1879 | 21.1203 | 44169.1879 | 22.3814 | 44170.1879 | 21.2109
44168.2087 | 24.7754 | 44169.2087 | 21.6706 | 44170.2087 | 23.4295
44168.2295 | 21.8631 | 44169.2295 | 21.5569 | 44170.2295 | 24.1093
44168.2504 | 23.6292 | 44169.2504 | 24.0802 | 44170.2504 | 24.3176
44168.2712 | 21.5932 | 44169.2712 | 24.6395 | 44170.2712 | 21.4156
44168.292 | 21.7144 | 44169.292 | 22.6955 | 44170.292 | 23.5438
44168.3129 | 20.1294 | 44169.3129 | 23.2464 | 44170.3129 | 23.3539
44168.3337 | 23.9554 | 44169.3337 | 20.9444 | 44170.3337 | 23.0113
44168.3545 | 20.6897 | 44169.3545 | 22.9821 | 44170.3545 | 21.4244
44168.3754 | 22.1568 | 44169.3754 | 22.3557 | 44170.3754 | 24.7582
44168.3962 | 21.4468 | 44169.3962 | 22.3376 | 44170.3962 | 23.3096
44168.417 | 20.7662 | 44169.417 | 23.3992 | 44170.417 | 23.1767
44168.4379 | 21.3359 | 44169.4379 | 22.5861 | 44170.4379 | 23.6792
44168.4587 | 24.6849 | 44169.4587 | 23.4995 | 44170.4587 | 23.5528
44168.4795 | 24.3805 | 44169.4795 | 23.5601 | 44170.4795 | 21.5346
44168.5004 | 21.495 | 44169.5004 | 23.3179 | 44170.5004 | 20.5421
44168.5212 | 24.377 | 44169.5212 | 22.5169 | 44170.5212 | 24.5155
44168.542 | 21.4598 | 44169.542 | 22.6568 | 44170.542 | 24.556
44168.5629 | 24.7002 | 44169.5629 | 22.547 | 44170.5629 | 21.6423
44168.5837 | 24.5654 | 44169.5837 | 24.55 | 44170.5837 | 21.3295
44168.6045 | 20.3441 | 44169.6045 | 24.7525 | 44170.6045 | 22.2305
44168.6254 | 21.7491 | 44169.6254 | 24.3469 | 44170.6254 | 23.1511
44168.6462 | 20.5697 | 44169.6462 | 21.9026 | 44170.6462 | 21.8337
44168.667 | 23.9193 | 44169.667 | 23.9025 | 44170.667 | 21.3109
44168.6879 | 22.3806 | 44169.6879 | 21.643 | 44170.6879 | 23.4878
44168.7087 | 23.888 | 44169.7087 | 20.6722 | 44170.7087 | 21.6523
44168.7295 | 20.2017 | 44169.7295 | 21.9378 | 44170.7295 | 21.8501
44168.7504 | 20.2634 | 44169.7504 | 24.3799 | 44170.7504 | 20.8977
44168.7712 | 23.7894 | 44169.7712 | 22.6094 | 44170.7712 | 24.9259
44168.792 | 24.0739 | 44169.792 | 24.968 | 44170.792 | 20.0716
44168.8129 | 23.7681 | 44169.8129 | 20.544 | 44170.8129 | 20.7213
44168.8337 | 24.5733 | 44169.8337 | 20.0399 | 44170.8337 | 21.868
44168.8545 | 20.8035 | 44169.8545 | 21.4477 | 44170.8545 | 23.1666
44168.8754 | 23.4021 | 44169.8754 | 21.0703 | 44170.8754 | 22.4519
44168.8962 | 20.1514 | 44169.8962 | 20.5622 | 44170.8962 | 23.7539
44168.917 | 21.8714 | 44169.917 | 21.0974 | 44170.917 | 23.2134
44168.9379 | 23.2866 | 44169.9379 | 23.5388 | 44170.9379 | 24.2544
44168.9587 | 22.6556 | 44169.9587 | 20.3258 | 44170.9587 | 24.8857
44168.9795 | 20.8123 | 44169.9795 | 23.345 | 44170.9795 | 24.5987
2020-12-12 | 20.909 | 2020-12-13 | 22.5631 | 2020-12-14 | 23.0835
Time | oC | Time | oC | Time | oC
44171.0212 | 21.4606 | 44172.0212 | 24.4845
44171.042 | 22.4362 | 44172.042 | 22.4426
44171.0629 | 20.5792 | 44172.0629 | 20.3524
44171.0837 | 22.3269 | 44172.0837 | 23.9991
44171.1045 | 20.3522 | 44172.1045 | 21.0015
44171.1254 | 22.9967 | 44172.1254 | 23.45
44171.1462 | 20.5064 | 44172.1462 | 22.9305
44171.167 | 23.3265 | 44172.167 | 21.3931
44171.1879 | 22.9045 | 44172.1879 | 22.5729
44171.2087 | 20.6011 | 44172.2087 | 21.977
44171.2295 | 20.6591 | 44172.2295 | 24.4162
44171.2504 | 20.1087 | 44172.2504 | 23.3408
44171.2712 | 20.0564 | 44172.2712 | 23.3785
44171.292 | 21.8976 | 44172.292 | 22.1702
44171.3129 | 24.4729 | 44172.3129 | 21.9941
44171.3337 | 24.9927 | 44172.3337 | 21.3675
44171.3545 | 22.9454 | 44172.3545 | 24.5866
44171.3754 | 21.1575 | 44172.3754 | 24.5814
44171.3962 | 23.1576 | 44172.3962 | 20.0919
44171.417 | 21.8503 | 44172.417 | 22.5596
44171.4379 | 23.6892 | 44172.4379 | 20.942
44171.4587 | 21.6726 | 44172.4587 | 20.2574
44171.4795 | 20.0168 | 44172.4795 | 22.1638
44171.5004 | 20.2509 | 44172.5004 | 20.4203
44171.5212 | 23.0553 | 44172.5212 | 22.7377
44171.542 | 21.8593 | 44172.542 | 21.5146
44171.5629 | 23.7522 | 44172.5629 | 21.3558
44171.5837 | 21.8404 | 44172.5837 | 21.2306
44171.6045 | 24.7584 | 44172.6045 | 24.2392
44171.6254 | 23.1663 | 44172.6254 | 20.9136
44171.6462 | 23.1359 | 44172.6462 | 20.8768
44171.667 | 24.1771 | 44172.667 | 23.0867
44171.6879 | 24.6914 | 44172.6879 | 24.9155
44171.7087 | 24.4398 | 44172.7087 | 20.981
44171.7295 | 23.1459 | 44172.7295 | 20.7704
44171.7504 | 22.6544 | 44172.7504 | 22.5059
44171.7712 | 24.7746 | 44172.7712 | 24.0165
44171.792 | 21.3786 | 44172.792 | 20.9439
44171.8129 | 22.4475 | 44172.8129 | 24.4792
44171.8337 | 23.5352 | 44172.8337 | 24.4074
44171.8545 | 24.7775 | 44172.8545 | 22.3056
44171.8754 | 21.9334 | 44172.8754 | 22.4549
44171.8962 | 21.3594 | 44172.8962 | 21.7081
44171.917 | 23.7825 | 44172.917 | 21.9576
44171.9379 | 21.3417 | 44172.9379 | 21.6254
44171.9587 | 22.9827 | 44172.9587 | 24.8537
44171.9795 | 21.1676 | 44172.9795 | 24.3973
2020-12-15 | 22.2026