## Sheet1
File is created on: 16/12/2020 08:30
REPORT POINT 6-60
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 09/12/2020 08:00:33
Temp Units:°C |  |  | Expected Stop Time: 15/12/2020 23:30:33
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-11
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 09/12/2020 08:00:33
Lower Limit(Temp): 15°C |  |  |  | Last Point: 15/12/2020 23:30:33
Max(Temp)_oC | 26.9796 | Min(Temp)_oC | 22.0844 | Avg(Temp)_oC | 24.1707
Time | oC | Time | oC | Time | oC
2020-12-09 08:00 | 23.5395 | 44166.8962 | 24.6097 | 44167.4587 | 24.4865
44166.3545 | 22.0844 | 44166.917 | 25.6321 | 44167.4795 | 22.8096
44166.3754 | 23.2066 | 44166.9379 | 24.6265 | 44167.5004 | 26.5739
44166.3962 | 25.8485 | 44166.9587 | 24.7416 | 44167.5212 | 26.8793
44166.417 | 24.4541 | 44166.9795 | 22.874 | 44167.542 | 25.0026
44166.4379 | 25.9949 | 2020-12-10 | 24.0621 | 44167.5629 | 23.6213
44166.4587 | 22.1153 | 44167.0212 | 22.9755 | 44167.5837 | 22.7108
44166.4795 | 22.8327 | 44167.042 | 25.9915 | 44167.6045 | 25.6492
44166.5004 | 22.7193 | 44167.0629 | 24.6604 | 44167.6254 | 24.8631
44166.5212 | 24.881 | 44167.0837 | 25.7029 | 44167.6462 | 23.5951
44166.542 | 26.1732 | 44167.1045 | 26.1978 | 44167.667 | 23.509
44166.5629 | 25.427 | 44167.1254 | 24.7443 | 44167.6879 | 22.2624
44166.5837 | 22.4529 | 44167.1462 | 24.4778 | 44167.7087 | 26.1642
44166.6045 | 26.2604 | 44167.167 | 25.1755 | 44167.7295 | 24.3003
44166.6254 | 23.524 | 44167.1879 | 23.8031 | 44167.7504 | 26.6842
44166.6462 | 25.4118 | 44167.2087 | 24.6892 | 44167.7712 | 25.8471
44166.667 | 26.3463 | 44167.2295 | 22.2388 | 44167.792 | 24.1262
44166.6879 | 25.2186 | 44167.2504 | 24.7379 | 44167.8129 | 24.3237
44166.7087 | 26.6703 | 44167.2712 | 24.4475 | 44167.8337 | 22.6131
44166.7295 | 25.7227 | 44167.292 | 26.2023 | 44167.8545 | 24.8062
44166.7504 | 22.7061 | 44167.3129 | 23.7179 | 44167.8754 | 25.9268
44166.7712 | 26.3719 | 44167.3337 | 26.9043 | 44167.8962 | 22.9999
44166.792 | 22.2423 | 44167.3545 | 22.5444 | 44167.917 | 26.2144
44166.8129 | 24.5111 | 44167.3754 | 24.7859 | 44167.9379 | 26.6255
44166.8337 | 24.9613 | 44167.3962 | 26.8826 | 44167.9587 | 24.2894
44166.8545 | 22.6948 | 44167.417 | 25.1714 | 44167.9795 | 24.5442
44166.8754 | 26.9796 | 44167.4379 | 26.5078 | 2020-12-11 | 26.58
Time | oC | Time | oC | Time | oC
44168.0212 | 23.33 | 44169.0212 | 24.42 | 44170.0212 | 24.27
44168.042 | 23.72 | 44169.042 | 24.59 | 44170.042 | 24.15
44168.0629 | 23.34 | 44169.0629 | 23.58 | 44170.0629 | 23.07
44168.0837 | 23.64 | 44169.0837 | 23.79 | 44170.0837 | 24.34
44168.1045 | 23.07 | 44169.1045 | 24.22 | 44170.1045 | 23.67
44168.1254 | 24.39 | 44169.1254 | 24.95 | 44170.1254 | 24.43
44168.1462 | 24.97 | 44169.1462 | 24.74 | 44170.1462 | 24.88
44168.167 | 24.82 | 44169.167 | 24.45 | 44170.167 | 23.55
44168.1879 | 24.49 | 44169.1879 | 24.35 | 44170.1879 | 24.71
44168.2087 | 24.02 | 44169.2087 | 23.97 | 44170.2087 | 23.77
44168.2295 | 24.17 | 44169.2295 | 24.49 | 44170.2295 | 24.6
44168.2504 | 24.78 | 44169.2504 | 24.26 | 44170.2504 | 23.18
44168.2712 | 24.08 | 44169.2712 | 23.76 | 44170.2712 | 23.89
44168.292 | 23.61 | 44169.292 | 23.14 | 44170.292 | 23.18
44168.3129 | 23.38 | 44169.3129 | 24.35 | 44170.3129 | 24.2
44168.3337 | 24.62 | 44169.3337 | 23.53 | 44170.3337 | 24.7
44168.3545 | 23.55 | 44169.3545 | 23.88 | 44170.3545 | 24.83
44168.3754 | 23.17 | 44169.3754 | 24.49 | 44170.3754 | 23.12
44168.3962 | 23.23 | 44169.3962 | 24.28 | 44170.3962 | 23.9
44168.417 | 24.38 | 44169.417 | 23.72 | 44170.417 | 24.05
44168.4379 | 23.97 | 44169.4379 | 23.72 | 44170.4379 | 23.94
44168.4587 | 23.64 | 44169.4587 | 24.04 | 44170.4587 | 24.02
44168.4795 | 24.92 | 44169.4795 | 23.55 | 44170.4795 | 24.33
44168.5004 | 23.34 | 44169.5004 | 23.85 | 44170.5004 | 23.72
44168.5212 | 24.94 | 44169.5212 | 23.04 | 44170.5212 | 23.32
44168.542 | 24.15 | 44169.542 | 24.08 | 44170.542 | 23.66
44168.5629 | 23.68 | 44169.5629 | 24.06 | 44170.5629 | 23.2
44168.5837 | 24.66 | 44169.5837 | 24.69 | 44170.5837 | 23.36
44168.6045 | 23.63 | 44169.6045 | 24.12 | 44170.6045 | 24.38
44168.6254 | 24.3 | 44169.6254 | 23.52 | 44170.6254 | 24.87
44168.6462 | 23.03 | 44169.6462 | 23.15 | 44170.6462 | 24.94
44168.667 | 23.19 | 44169.667 | 24.8 | 44170.667 | 23.5
44168.6879 | 24.34 | 44169.6879 | 24.61 | 44170.6879 | 23.66
44168.7087 | 24.2 | 44169.7087 | 23.37 | 44170.7087 | 24.5
44168.7295 | 24.97 | 44169.7295 | 23.82 | 44170.7295 | 23.09
44168.7504 | 23.48 | 44169.7504 | 24.92 | 44170.7504 | 23.08
44168.7712 | 24.6 | 44169.7712 | 23.53 | 44170.7712 | 24.53
44168.792 | 23.96 | 44169.792 | 23.15 | 44170.792 | 24.51
44168.8129 | 23.81 | 44169.8129 | 23.79 | 44170.8129 | 24.18
44168.8337 | 23.87 | 44169.8337 | 23.13 | 44170.8337 | 24.71
44168.8545 | 23.87 | 44169.8545 | 23.66 | 44170.8545 | 23.93
44168.8754 | 23.4 | 44169.8754 | 23.72 | 44170.8754 | 23.55
44168.8962 | 23.63 | 44169.8962 | 23.65 | 44170.8962 | 23.75
44168.917 | 24.47 | 44169.917 | 24.95 | 44170.917 | 24.68
44168.9379 | 24.61 | 44169.9379 | 24.56 | 44170.9379 | 24.2
44168.9587 | 24.82 | 44169.9587 | 24.14 | 44170.9587 | 24.81
44168.9795 | 23.86 | 44169.9795 | 23.1 | 44170.9795 | 24.97
2020-12-12 | 24.8 | 2020-12-13 | 24.46 | 2020-12-14 | 23.13
Time | oC | Time | oC | Time | oC
44171.0212 | 23.07 | 44172.0212 | 24.04
44171.042 | 23.08 | 44172.042 | 24.58
44171.0629 | 24.93 | 44172.0629 | 24.42
44171.0837 | 23.14 | 44172.0837 | 24.49
44171.1045 | 23.51 | 44172.1045 | 24.16
44171.1254 | 24.46 | 44172.1254 | 25
44171.1462 | 24.78 | 44172.1462 | 23.35
44171.167 | 23.61 | 44172.167 | 24.4
44171.1879 | 24.4 | 44172.1879 | 23.52
44171.2087 | 24.2 | 44172.2087 | 23.74
44171.2295 | 23.3 | 44172.2295 | 23.95
44171.2504 | 23.27 | 44172.2504 | 24.4
44171.2712 | 23.16 | 44172.2712 | 23.88
44171.292 | 23.83 | 44172.292 | 23.55
44171.3129 | 24.42 | 44172.3129 | 24.81
44171.3337 | 24.91 | 44172.3337 | 23.8
44171.3545 | 24.1 | 44172.3545 | 23.44
44171.3754 | 23.29 | 44172.3754 | 24.01
44171.3962 | 24.83 | 44172.3962 | 24.47
44171.417 | 23.77 | 44172.417 | 24.6
44171.4379 | 23.62 | 44172.4379 | 23.42
44171.4587 | 23.19 | 44172.4587 | 23.13
44171.4795 | 24.7 | 44172.4795 | 23.04
44171.5004 | 23.96 | 44172.5004 | 24.86
44171.5212 | 24.6 | 44172.5212 | 23.41
44171.542 | 24.46 | 44172.542 | 24.83
44171.5629 | 23.83 | 44172.5629 | 23.78
44171.5837 | 24.03 | 44172.5837 | 23.71
44171.6045 | 24.73 | 44172.6045 | 23.15
44171.6254 | 23.43 | 44172.6254 | 23.81
44171.6462 | 24.23 | 44172.6462 | 23.96
44171.667 | 23.36 | 44172.667 | 24.48
44171.6879 | 23.7 | 44172.6879 | 24.76
44171.7087 | 23.71 | 44172.7087 | 24.67
44171.7295 | 24.07 | 44172.7295 | 23.74
44171.7504 | 23.21 | 44172.7504 | 24.34
44171.7712 | 24.76 | 44172.7712 | 24.45
44171.792 | 23.82 | 44172.792 | 23.03
44171.8129 | 23.16 | 44172.8129 | 23.91
44171.8337 | 23.7 | 44172.8337 | 23.37
44171.8545 | 23.15 | 44172.8545 | 23.67
44171.8754 | 24.4 | 44172.8754 | 23.84
44171.8962 | 24.64 | 44172.8962 | 23.1
44171.917 | 24.41 | 44172.917 | 24.32
44171.9379 | 23.48 | 44172.9379 | 24.17
44171.9587 | 24.43 | 44172.9587 | 24.82
44171.9795 | 24.32 | 44172.9795 | 24.37
2020-12-15 | 24.2