## Sheet1
File is created on: 08/12/2020 08:30
REPORT POINT 1-150
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 01/12/2020 08:00:16
Temp Units:°C |  |  | Expected Stop Time: 07/12/2020 23:30:16
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-2
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 01/12/2020 08:00:16
Lower Limit(Temp): 15°C |  |  |  | Last Point: 07/12/2020 23:30:16
Max(Temp)_oC | 28.49 | Min(Temp)_oC | 23.52 | Avg(Temp)_oC | 25.9453
Time | oC | Time | oC | Time | oC
2020-12-01 08:00 | 24.4 | 44166.896 | 25.03 | 44167.4585 | 28.48
44166.3544 | 23.72 | 44166.9169 | 27.19 | 44167.4794 | 25.53
44166.3752 | 26.45 | 44166.9377 | 23.99 | 44167.5002 | 24.1
44166.396 | 24.59 | 44166.9585 | 26.3 | 44167.521 | 25.44
44166.4169 | 26.79 | 44166.9794 | 27.23 | 44167.5419 | 25.7
44166.4377 | 27.1 | 2020-12-02 | 25.32 | 44167.5627 | 27.72
44166.4585 | 23.54 | 44167.021 | 24.46 | 44167.5835 | 24.24
44166.4794 | 26.7 | 44167.0419 | 23.65 | 44167.6044 | 26.66
44166.5002 | 27.79 | 44167.0627 | 27.71 | 44167.6252 | 25.47
44166.521 | 23.62 | 44167.0835 | 24.96 | 44167.646 | 25.72
44166.5419 | 24.77 | 44167.1044 | 27.72 | 44167.6669 | 25.84
44166.5627 | 24.28 | 44167.1252 | 23.7 | 44167.6877 | 28.44
44166.5835 | 28.46 | 44167.146 | 25.31 | 44167.7085 | 26.69
44166.6044 | 25.14 | 44167.1669 | 24.86 | 44167.7294 | 28.49
44166.6252 | 25.78 | 44167.1877 | 24.73 | 44167.7502 | 23.61
44166.646 | 25.53 | 44167.2085 | 24.44 | 44167.771 | 26.2
44166.6669 | 28.38 | 44167.2294 | 23.73 | 44167.7919 | 25.84
44166.6877 | 27.3 | 44167.2502 | 26.24 | 44167.8127 | 28.32
44166.7085 | 27.44 | 44167.271 | 23.52 | 44167.8335 | 23.53
44166.7294 | 25.55 | 44167.2919 | 27.3 | 44167.8544 | 26.95
44166.7502 | 25.76 | 44167.3127 | 26.36 | 44167.8752 | 24.63
44166.771 | 27.53 | 44167.3335 | 24.23 | 44167.896 | 26.89
44166.7919 | 23.57 | 44167.3544 | 25.45 | 44167.9169 | 27.52
44166.8127 | 28.18 | 44167.3752 | 28.04 | 44167.9377 | 25.5
44166.8335 | 23.57 | 44167.396 | 25.65 | 44167.9585 | 25.49
44166.8544 | 27.04 | 44167.4169 | 28.42 | 44167.9794 | 25.89
44166.8752 | 23.62 | 44167.4377 | 25.52 | 2020-12-03 | 25.16
Time | oC | Time | oC | Time | oC
44168.021 | 25.46 | 44169.021 | 27.45 | 44170.021 | 28.35
44168.0419 | 26.72 | 44169.0419 | 27.49 | 44170.0419 | 26.17
44168.0627 | 27.37 | 44169.0627 | 26.62 | 44170.0627 | 25.46
44168.0835 | 25.64 | 44169.0835 | 26.07 | 44170.0835 | 25.75
44168.1044 | 26.6 | 44169.1044 | 28.21 | 44170.1044 | 25.49
44168.1252 | 23.75 | 44169.1252 | 24.85 | 44170.1252 | 24.99
44168.146 | 24.56 | 44169.146 | 24.72 | 44170.146 | 25.54
44168.1669 | 25.91 | 44169.1669 | 24.29 | 44170.1669 | 25.27
44168.1877 | 27.57 | 44169.1877 | 27.38 | 44170.1877 | 27.01
44168.2085 | 28.11 | 44169.2085 | 25.75 | 44170.2085 | 24.86
44168.2294 | 26.78 | 44169.2294 | 25.03 | 44170.2294 | 24.43
44168.2502 | 27.29 | 44169.2502 | 28.02 | 44170.2502 | 27.6
44168.271 | 23.74 | 44169.271 | 28.37 | 44170.271 | 27.85
44168.2919 | 27.52 | 44169.2919 | 27.06 | 44170.2919 | 26.78
44168.3127 | 25.84 | 44169.3127 | 23.56 | 44170.3127 | 25.82
44168.3335 | 28.24 | 44169.3335 | 23.71 | 44170.3335 | 26.76
44168.3544 | 26.08 | 44169.3544 | 26.57 | 44170.3544 | 28.3
44168.3752 | 27.21 | 44169.3752 | 24.87 | 44170.3752 | 27.68
44168.396 | 26.93 | 44169.396 | 27.72 | 44170.396 | 26.56
44168.4169 | 26.28 | 44169.4169 | 24.76 | 44170.4169 | 27.15
44168.4377 | 23.79 | 44169.4377 | 24.63 | 44170.4377 | 25.86
44168.4585 | 24.3 | 44169.4585 | 27.9 | 44170.4585 | 26.44
44168.4794 | 25.99 | 44169.4794 | 25.52 | 44170.4794 | 27.67
44168.5002 | 24.44 | 44169.5002 | 23.78 | 44170.5002 | 24.82
44168.521 | 26.72 | 44169.521 | 28.11 | 44170.521 | 23.86
44168.5419 | 24.22 | 44169.5419 | 24.82 | 44170.5419 | 25.81
44168.5627 | 24.1 | 44169.5627 | 24.52 | 44170.5627 | 27.48
44168.5835 | 28.22 | 44169.5835 | 23.67 | 44170.5835 | 26.32
44168.6044 | 25.65 | 44169.6044 | 25.18 | 44170.6044 | 24.52
44168.6252 | 24.85 | 44169.6252 | 23.54 | 44170.6252 | 26.05
44168.646 | 23.82 | 44169.646 | 25.87 | 44170.646 | 24.2
44168.6669 | 23.61 | 44169.6669 | 24.03 | 44170.6669 | 26.7
44168.6877 | 25.96 | 44169.6877 | 26.51 | 44170.6877 | 27.88
44168.7085 | 23.91 | 44169.7085 | 26.27 | 44170.7085 | 25.22
44168.7294 | 27.71 | 44169.7294 | 28.33 | 44170.7294 | 24.12
44168.7502 | 24.46 | 44169.7502 | 28.32 | 44170.7502 | 25.47
44168.771 | 23.53 | 44169.771 | 24.47 | 44170.771 | 23.96
44168.7919 | 24.52 | 44169.7919 | 25.53 | 44170.7919 | 27.31
44168.8127 | 28.1 | 44169.8127 | 24.91 | 44170.8127 | 25.22
44168.8335 | 23.94 | 44169.8335 | 24.79 | 44170.8335 | 28.33
44168.8544 | 28.19 | 44169.8544 | 27.75 | 44170.8544 | 26.78
44168.8752 | 25.79 | 44169.8752 | 25.52 | 44170.8752 | 24.88
44168.896 | 27.5 | 44169.896 | 24.16 | 44170.896 | 27.41
44168.9169 | 24.73 | 44169.9169 | 25.04 | 44170.9169 | 27.82
44168.9377 | 25.5 | 44169.9377 | 27.18 | 44170.9377 | 24.03
44168.9585 | 24.06 | 44169.9585 | 24.31 | 44170.9585 | 28.43
44168.9794 | 26.21 | 44169.9794 | 27.69 | 44170.9794 | 27.18
2020-12-04 | 26.55 | 2020-12-05 | 25.12 | 2020-12-06 | 27.07
Time | oC | Time | oC | Time | oC
44171.021 | 23.83 | 44172.021 | 28.24
44171.0419 | 27.75 | 44172.0419 | 24.67
44171.0627 | 26.52 | 44172.0627 | 25.72
44171.0835 | 25.93 | 44172.0835 | 25.65
44171.1044 | 25.54 | 44172.1044 | 27.07
44171.1252 | 24.52 | 44172.1252 | 27.67
44171.146 | 27.31 | 44172.146 | 27.42
44171.1669 | 26.37 | 44172.1669 | 25.66
44171.1877 | 25.44 | 44172.1877 | 24.2
44171.2085 | 24.57 | 44172.2085 | 27.22
44171.2294 | 26.33 | 44172.2294 | 24.11
44171.2502 | 24.72 | 44172.2502 | 26.14
44171.271 | 27.98 | 44172.271 | 26.73
44171.2919 | 27.52 | 44172.2919 | 24.85
44171.3127 | 24.9 | 44172.3127 | 24.14
44171.3335 | 26.1 | 44172.3335 | 23.95
44171.3544 | 26.11 | 44172.3544 | 28.21
44171.3752 | 27.75 | 44172.3752 | 25.52
44171.396 | 28.35 | 44172.396 | 26.89
44171.4169 | 28.37 | 44172.4169 | 23.94
44171.4377 | 23.6 | 44172.4377 | 24.35
44171.4585 | 26.7 | 44172.4585 | 28.18
44171.4794 | 28.01 | 44172.4794 | 27.32
44171.5002 | 25.23 | 44172.5002 | 26.28
44171.521 | 25.33 | 44172.521 | 28.44
44171.5419 | 25.84 | 44172.5419 | 24.07
44171.5627 | 23.58 | 44172.5627 | 28.19
44171.5835 | 23.78 | 44172.5835 | 27.11
44171.6044 | 23.94 | 44172.6044 | 28.35
44171.6252 | 25.45 | 44172.6252 | 25.03
44171.646 | 26.12 | 44172.646 | 26.46
44171.6669 | 23.7 | 44172.6669 | 25.9
44171.6877 | 28.04 | 44172.6877 | 27.7
44171.7085 | 24.44 | 44172.7085 | 28
44171.7294 | 26.33 | 44172.7294 | 24.02
44171.7502 | 25.87 | 44172.7502 | 24.08
44171.771 | 23.61 | 44172.771 | 28.07
44171.7919 | 25.88 | 44172.7919 | 28.37
44171.8127 | 28.03 | 44172.8127 | 27.89
44171.8335 | 26.06 | 44172.8335 | 26.12
44171.8544 | 27.63 | 44172.8544 | 24.78
44171.8752 | 25.75 | 44172.8752 | 25.04
44171.896 | 26.57 | 44172.896 | 28.25
44171.9169 | 27.57 | 44172.9169 | 27.02
44171.9377 | 25.56 | 44172.9377 | 25.86
44171.9585 | 25.09 | 44172.9585 | 23.99
44171.9794 | 24.9 | 44172.9794 | 24.86
2020-12-07 | 23.95