## Sheet1
File is created on: 08/12/2020 08:30
REPORT POINT 1-60
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 01/12/2020 08:00:16
Temp Units:°C |  |  | Expected Stop Time: 07/12/2020 23:30:16
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-1
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 01/12/2020 08:00:16
Lower Limit(Temp): 15°C |  |  |  | Last Point: 07/12/2020 23:30:16
Max(Temp)_oC | 28.48 | Min(Temp)_oC | 23.5 | Avg(Temp)_oC | 26.1039
Time | oC | Time | oC | Time | oC
2020-12-01 08:00 | 28.23 | 44166.896 | 27.23 | 44167.4585 | 27.99
44166.3544 | 26.07 | 44166.9169 | 28.03 | 44167.4794 | 26.29
44166.3752 | 24.56 | 44166.9377 | 27.62 | 44167.5002 | 27.71
44166.396 | 26.15 | 44166.9585 | 27.28 | 44167.521 | 25.75
44166.4169 | 27.63 | 44166.9794 | 28.3 | 44167.5419 | 27.57
44166.4377 | 24.98 | 2020-12-02 | 24.54 | 44167.5627 | 24.64
44166.4585 | 26.83 | 44167.021 | 25.16 | 44167.5835 | 25.33
44166.4794 | 27.72 | 44167.0419 | 27.54 | 44167.6044 | 26
44166.5002 | 27.56 | 44167.0627 | 27.99 | 44167.6252 | 28.06
44166.521 | 27.62 | 44167.0835 | 27.38 | 44167.646 | 26.05
44166.5419 | 26.66 | 44167.1044 | 26.65 | 44167.6669 | 24.55
44166.5627 | 27.61 | 44167.1252 | 24.11 | 44167.6877 | 25.68
44166.5835 | 23.77 | 44167.146 | 27.36 | 44167.7085 | 24.25
44166.6044 | 25.92 | 44167.1669 | 25 | 44167.7294 | 23.72
44166.6252 | 23.63 | 44167.1877 | 23.67 | 44167.7502 | 23.67
44166.646 | 26.17 | 44167.2085 | 25.28 | 44167.771 | 26.86
44166.6669 | 24.41 | 44167.2294 | 27.97 | 44167.7919 | 23.97
44166.6877 | 28.17 | 44167.2502 | 27.67 | 44167.8127 | 28.09
44166.7085 | 23.52 | 44167.271 | 27.2 | 44167.8335 | 27.42
44166.7294 | 23.5 | 44167.2919 | 28.48 | 44167.8544 | 27.17
44166.7502 | 25.64 | 44167.3127 | 24.3 | 44167.8752 | 23.52
44166.771 | 24.05 | 44167.3335 | 25.04 | 44167.896 | 27.87
44166.7919 | 24.83 | 44167.3544 | 25.99 | 44167.9169 | 27.72
44166.8127 | 25.58 | 44167.3752 | 26.21 | 44167.9377 | 26.46
44166.8335 | 24.11 | 44167.396 | 27.09 | 44167.9585 | 27.68
44166.8544 | 26.79 | 44167.4169 | 26.64 | 44167.9794 | 27.99
44166.8752 | 26.07 | 44167.4377 | 27.61 | 2020-12-03 | 25.68
Time | oC | Time | oC | Time | oC
44168.021 | 24.43 | 44169.021 | 27.28 | 44170.021 | 24.85
44168.0419 | 24.34 | 44169.0419 | 24.62 | 44170.0419 | 24.72
44168.0627 | 26.38 | 44169.0627 | 25.91 | 44170.0627 | 24.12
44168.0835 | 27.88 | 44169.0835 | 27.62 | 44170.0835 | 24.24
44168.1044 | 24.25 | 44169.1044 | 24.78 | 44170.1044 | 25.31
44168.1252 | 26.81 | 44169.1252 | 27.78 | 44170.1252 | 26.15
44168.146 | 25.32 | 44169.146 | 23.58 | 44170.146 | 27.19
44168.1669 | 24.4 | 44169.1669 | 24.04 | 44170.1669 | 24.94
44168.1877 | 24.09 | 44169.1877 | 25.6 | 44170.1877 | 28.02
44168.2085 | 23.87 | 44169.2085 | 27.92 | 44170.2085 | 23.66
44168.2294 | 25.66 | 44169.2294 | 26.47 | 44170.2294 | 28.45
44168.2502 | 27.73 | 44169.2502 | 25.76 | 44170.2502 | 23.54
44168.271 | 25.97 | 44169.271 | 28.3 | 44170.271 | 23.54
44168.2919 | 25.83 | 44169.2919 | 25.61 | 44170.2919 | 24.93
44168.3127 | 24.44 | 44169.3127 | 26.01 | 44170.3127 | 24.68
44168.3335 | 24.15 | 44169.3335 | 26.64 | 44170.3335 | 24.05
44168.3544 | 25.99 | 44169.3544 | 23.83 | 44170.3544 | 26.78
44168.3752 | 26.71 | 44169.3752 | 25.52 | 44170.3752 | 26.69
44168.396 | 28.24 | 44169.396 | 28 | 44170.396 | 28.27
44168.4169 | 24.67 | 44169.4169 | 25.97 | 44170.4169 | 23.51
44168.4377 | 24.54 | 44169.4377 | 27.64 | 44170.4377 | 25.5
44168.4585 | 28.26 | 44169.4585 | 26.53 | 44170.4585 | 25.48
44168.4794 | 25.45 | 44169.4794 | 24.91 | 44170.4794 | 27
44168.5002 | 25.37 | 44169.5002 | 28.32 | 44170.5002 | 24.21
44168.521 | 27.4 | 44169.521 | 27.37 | 44170.521 | 25.37
44168.5419 | 26.4 | 44169.5419 | 25.52 | 44170.5419 | 24.62
44168.5627 | 27.97 | 44169.5627 | 27.35 | 44170.5627 | 28.35
44168.5835 | 25.13 | 44169.5835 | 24.69 | 44170.5835 | 28.06
44168.6044 | 28.45 | 44169.6044 | 27.85 | 44170.6044 | 26.95
44168.6252 | 26.53 | 44169.6252 | 24.61 | 44170.6252 | 26.72
44168.646 | 27.11 | 44169.646 | 23.51 | 44170.646 | 24.29
44168.6669 | 27.58 | 44169.6669 | 26.06 | 44170.6669 | 25.9
44168.6877 | 27.84 | 44169.6877 | 25.63 | 44170.6877 | 25.75
44168.7085 | 26.14 | 44169.7085 | 28.18 | 44170.7085 | 23.86
44168.7294 | 27.72 | 44169.7294 | 25.66 | 44170.7294 | 27.15
44168.7502 | 28.29 | 44169.7502 | 25.89 | 44170.7502 | 26.08
44168.771 | 26.27 | 44169.771 | 26.96 | 44170.771 | 24.11
44168.7919 | 24.42 | 44169.7919 | 27.96 | 44170.7919 | 25.5
44168.8127 | 27.59 | 44169.8127 | 27.35 | 44170.8127 | 25.2
44168.8335 | 27.12 | 44169.8335 | 26.84 | 44170.8335 | 27.54
44168.8544 | 28.3 | 44169.8544 | 28.05 | 44170.8544 | 27.15
44168.8752 | 26.39 | 44169.8752 | 26.04 | 44170.8752 | 25.49
44168.896 | 23.76 | 44169.896 | 24.08 | 44170.896 | 23.64
44168.9169 | 24.25 | 44169.9169 | 27.27 | 44170.9169 | 27.05
44168.9377 | 24.78 | 44169.9377 | 24.1 | 44170.9377 | 27.36
44168.9585 | 27.8 | 44169.9585 | 27.09 | 44170.9585 | 24.95
44168.9794 | 24.67 | 44169.9794 | 26.58 | 44170.9794 | 26.36
2020-12-04 | 25.81 | 2020-12-05 | 24.66 | 2020-12-06 | 28.35
Time | oC | Time | oC | Time | oC
44171.021 | 24.82 | 44172.021 | 27.26
44171.0419 | 25.33 | 44172.0419 | 26.46
44171.0627 | 27.66 | 44172.0627 | 24.92
44171.0835 | 24.18 | 44172.0835 | 25.03
44171.1044 | 27.66 | 44172.1044 | 27.07
44171.1252 | 27.37 | 44172.1252 | 26.77
44171.146 | 27.77 | 44172.146 | 26.91
44171.1669 | 26.97 | 44172.1669 | 25.62
44171.1877 | 23.73 | 44172.1877 | 24.48
44171.2085 | 24.66 | 44172.2085 | 24.92
44171.2294 | 25.83 | 44172.2294 | 28.44
44171.2502 | 25.44 | 44172.2502 | 25.15
44171.271 | 24.77 | 44172.271 | 26.11
44171.2919 | 27.51 | 44172.2919 | 25.32
44171.3127 | 26.96 | 44172.3127 | 27.24
44171.3335 | 25.88 | 44172.3335 | 27.26
44171.3544 | 27.81 | 44172.3544 | 25.17
44171.3752 | 25.25 | 44172.3752 | 27.89
44171.396 | 28.23 | 44172.396 | 24.72
44171.4169 | 27.51 | 44172.4169 | 26.06
44171.4377 | 27.89 | 44172.4377 | 26.09
44171.4585 | 28.21 | 44172.4585 | 25.89
44171.4794 | 28.16 | 44172.4794 | 25.85
44171.5002 | 27.94 | 44172.5002 | 26.78
44171.521 | 23.97 | 44172.521 | 27.4
44171.5419 | 24.33 | 44172.5419 | 27.63
44171.5627 | 24.85 | 44172.5627 | 26.83
44171.5835 | 27.14 | 44172.5835 | 23.9
44171.6044 | 24.83 | 44172.6044 | 27.02
44171.6252 | 27.11 | 44172.6252 | 26.21
44171.646 | 23.87 | 44172.646 | 23.92
44171.6669 | 27.4 | 44172.6669 | 27.89
44171.6877 | 26.38 | 44172.6877 | 27.14
44171.7085 | 28.15 | 44172.7085 | 26.13
44171.7294 | 26.43 | 44172.7294 | 23.71
44171.7502 | 27.02 | 44172.7502 | 24.46
44171.771 | 27.6 | 44172.771 | 24.23
44171.7919 | 25.55 | 44172.7919 | 24.67
44171.8127 | 27.72 | 44172.8127 | 27.93
44171.8335 | 28.14 | 44172.8335 | 25.35
44171.8544 | 25.09 | 44172.8544 | 24.92
44171.8752 | 27.24 | 44172.8752 | 24.02
44171.896 | 25.22 | 44172.896 | 25.91
44171.9169 | 25.63 | 44172.9169 | 23.93
44171.9377 | 26.56 | 44172.9377 | 27.44
44171.9585 | 24.28 | 44172.9585 | 26.55
44171.9794 | 28.3 | 44172.9794 | 23.61
2020-12-07 | 25.82