## Sheet1
File is created on: 08/12/2020 08:30
REPORT POINT 2-60
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 01/12/2020 08:00:16
Temp Units:°C |  |  | Expected Stop Time: 07/12/2020 23:30:16
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-3
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 01/12/2020 08:00:16
Lower Limit(Temp): 15°C |  |  |  | Last Point: 07/12/2020 23:30:16
Max(Temp)_oC | 26.49 | Min(Temp)_oC | 22.51 | Avg(Temp)_oC | 24.4467
Time | oC | Time | oC | Time | oC
2020-12-01 08:00 | 24.28 | 44166.896 | 25.42 | 44167.4585 | 26.47
44166.3544 | 24.78 | 44166.9169 | 24.81 | 44167.4794 | 23.58
44166.3752 | 22.86 | 44166.9377 | 23.18 | 44167.5002 | 23.34
44166.396 | 22.55 | 44166.9585 | 26.26 | 44167.521 | 22.88
44166.4169 | 24.12 | 44166.9794 | 23.69 | 44167.5419 | 23.8
44166.4377 | 22.59 | 2020-12-02 | 23.84 | 44167.5627 | 24
44166.4585 | 22.54 | 44167.021 | 25.54 | 44167.5835 | 25.61
44166.4794 | 25.07 | 44167.0419 | 23.5 | 44167.6044 | 25.16
44166.5002 | 25.38 | 44167.0627 | 24.24 | 44167.6252 | 24.09
44166.521 | 22.96 | 44167.0835 | 24.99 | 44167.646 | 24.64
44166.5419 | 24.41 | 44167.1044 | 25.43 | 44167.6669 | 25.89
44166.5627 | 23.35 | 44167.1252 | 23.03 | 44167.6877 | 24.54
44166.5835 | 25.82 | 44167.146 | 25.8 | 44167.7085 | 24.84
44166.6044 | 23.06 | 44167.1669 | 25.69 | 44167.7294 | 24.37
44166.6252 | 25.75 | 44167.1877 | 22.69 | 44167.7502 | 26.41
44166.646 | 25.72 | 44167.2085 | 23.05 | 44167.771 | 25.83
44166.6669 | 23.69 | 44167.2294 | 26.49 | 44167.7919 | 26.48
44166.6877 | 22.88 | 44167.2502 | 24.84 | 44167.8127 | 23.12
44166.7085 | 23.55 | 44167.271 | 24.98 | 44167.8335 | 23.84
44166.7294 | 24.14 | 44167.2919 | 26.44 | 44167.8544 | 22.83
44166.7502 | 24.09 | 44167.3127 | 24.01 | 44167.8752 | 23.49
44166.771 | 23.27 | 44167.3335 | 25.92 | 44167.896 | 24.95
44166.7919 | 25.54 | 44167.3544 | 25.17 | 44167.9169 | 25.77
44166.8127 | 25.08 | 44167.3752 | 23.28 | 44167.9377 | 23.79
44166.8335 | 22.85 | 44167.396 | 26.1 | 44167.9585 | 24.76
44166.8544 | 24.49 | 44167.4169 | 23.21 | 44167.9794 | 23.19
44166.8752 | 25 | 44167.4377 | 23.21 | 2020-12-03 | 22.58
Time | oC | Time | oC | Time | oC
44168.021 | 23.14 | 44169.021 | 24.49 | 44170.021 | 25.57
44168.0419 | 25.4 | 44169.0419 | 25.26 | 44170.0419 | 25.79
44168.0627 | 25.46 | 44169.0627 | 25.33 | 44170.0627 | 23.82
44168.0835 | 26.14 | 44169.0835 | 25.49 | 44170.0835 | 25.12
44168.1044 | 23.38 | 44169.1044 | 25.41 | 44170.1044 | 24.41
44168.1252 | 22.98 | 44169.1252 | 23.48 | 44170.1252 | 25.68
44168.146 | 25.61 | 44169.146 | 24.73 | 44170.146 | 22.92
44168.1669 | 22.7 | 44169.1669 | 24.09 | 44170.1669 | 22.96
44168.1877 | 25.64 | 44169.1877 | 22.59 | 44170.1877 | 24.62
44168.2085 | 26.45 | 44169.2085 | 25.5 | 44170.2085 | 22.98
44168.2294 | 24.08 | 44169.2294 | 24.9 | 44170.2294 | 25.3
44168.2502 | 25.74 | 44169.2502 | 24.71 | 44170.2502 | 25.21
44168.271 | 25.84 | 44169.271 | 23.16 | 44170.271 | 24.27
44168.2919 | 22.8 | 44169.2919 | 23.34 | 44170.2919 | 25.56
44168.3127 | 26.1 | 44169.3127 | 25.38 | 44170.3127 | 23.63
44168.3335 | 25.76 | 44169.3335 | 25.71 | 44170.3335 | 26.09
44168.3544 | 24.04 | 44169.3544 | 26 | 44170.3544 | 22.63
44168.3752 | 25.79 | 44169.3752 | 22.52 | 44170.3752 | 24.92
44168.396 | 23.52 | 44169.396 | 23.63 | 44170.396 | 23.58
44168.4169 | 24.34 | 44169.4169 | 24.12 | 44170.4169 | 22.57
44168.4377 | 23.85 | 44169.4377 | 23.1 | 44170.4377 | 23.97
44168.4585 | 25.45 | 44169.4585 | 25.8 | 44170.4585 | 25.38
44168.4794 | 22.92 | 44169.4794 | 23.06 | 44170.4794 | 22.72
44168.5002 | 23.49 | 44169.5002 | 23.09 | 44170.5002 | 23.68
44168.521 | 25.49 | 44169.521 | 26.46 | 44170.521 | 24.81
44168.5419 | 25.06 | 44169.5419 | 24.08 | 44170.5419 | 24.91
44168.5627 | 24.74 | 44169.5627 | 23.45 | 44170.5627 | 24.04
44168.5835 | 24.09 | 44169.5835 | 24.03 | 44170.5835 | 25.37
44168.6044 | 24.26 | 44169.6044 | 22.53 | 44170.6044 | 23.61
44168.6252 | 25.61 | 44169.6252 | 25.45 | 44170.6252 | 25.23
44168.646 | 24.69 | 44169.646 | 22.54 | 44170.646 | 25.18
44168.6669 | 24.44 | 44169.6669 | 23.64 | 44170.6669 | 26.48
44168.6877 | 25.01 | 44169.6877 | 26.25 | 44170.6877 | 25.83
44168.7085 | 23.63 | 44169.7085 | 23.38 | 44170.7085 | 23.38
44168.7294 | 23.28 | 44169.7294 | 22.79 | 44170.7294 | 24.67
44168.7502 | 25.78 | 44169.7502 | 24.73 | 44170.7502 | 26.04
44168.771 | 23 | 44169.771 | 23.58 | 44170.771 | 23.26
44168.7919 | 25.12 | 44169.7919 | 22.82 | 44170.7919 | 23.84
44168.8127 | 24.93 | 44169.8127 | 23.91 | 44170.8127 | 24.8
44168.8335 | 26.18 | 44169.8335 | 25.78 | 44170.8335 | 22.85
44168.8544 | 23.11 | 44169.8544 | 26.26 | 44170.8544 | 24.68
44168.8752 | 25.12 | 44169.8752 | 23.9 | 44170.8752 | 24.92
44168.896 | 24 | 44169.896 | 23.86 | 44170.896 | 24.94
44168.9169 | 24.79 | 44169.9169 | 25.28 | 44170.9169 | 24.23
44168.9377 | 25.32 | 44169.9377 | 23.32 | 44170.9377 | 22.8
44168.9585 | 23.17 | 44169.9585 | 23.71 | 44170.9585 | 23.74
44168.9794 | 22.85 | 44169.9794 | 22.51 | 44170.9794 | 25.94
2020-12-04 | 22.66 | 2020-12-05 | 25.55 | 2020-12-06 | 22.92
Time | oC | Time | oC | Time | oC
44171.021 | 25.29 | 44172.021 | 25.7
44171.0419 | 23.48 | 44172.0419 | 23.78
44171.0627 | 23.8 | 44172.0627 | 26.41
44171.0835 | 26.26 | 44172.0835 | 25.24
44171.1044 | 22.82 | 44172.1044 | 24.91
44171.1252 | 25.24 | 44172.1252 | 26.35
44171.146 | 24.18 | 44172.146 | 22.77
44171.1669 | 24.36 | 44172.1669 | 22.53
44171.1877 | 24.3 | 44172.1877 | 23.67
44171.2085 | 25.06 | 44172.2085 | 25.64
44171.2294 | 22.56 | 44172.2294 | 24.58
44171.2502 | 24.75 | 44172.2502 | 23.98
44171.271 | 25.37 | 44172.271 | 23.25
44171.2919 | 22.7 | 44172.2919 | 23.85
44171.3127 | 22.68 | 44172.3127 | 24.74
44171.3335 | 23.96 | 44172.3335 | 23.8
44171.3544 | 26.08 | 44172.3544 | 24.54
44171.3752 | 25.27 | 44172.3752 | 25.16
44171.396 | 24.38 | 44172.396 | 23.99
44171.4169 | 23.34 | 44172.4169 | 25.07
44171.4377 | 25.3 | 44172.4377 | 25.76
44171.4585 | 24.2 | 44172.4585 | 25.88
44171.4794 | 23.73 | 44172.4794 | 26.36
44171.5002 | 26.44 | 44172.5002 | 23.05
44171.521 | 24.28 | 44172.521 | 24.38
44171.5419 | 25.26 | 44172.5419 | 23.08
44171.5627 | 25.13 | 44172.5627 | 25.21
44171.5835 | 22.66 | 44172.5835 | 25.62
44171.6044 | 25.41 | 44172.6044 | 24.44
44171.6252 | 24.89 | 44172.6252 | 25.33
44171.646 | 25.26 | 44172.646 | 23.59
44171.6669 | 24.54 | 44172.6669 | 23.31
44171.6877 | 26.36 | 44172.6877 | 25.21
44171.7085 | 23.3 | 44172.7085 | 24.61
44171.7294 | 25.03 | 44172.7294 | 24.82
44171.7502 | 25.56 | 44172.7502 | 26.31
44171.771 | 23.09 | 44172.771 | 22.67
44171.7919 | 24.7 | 44172.7919 | 25.29
44171.8127 | 26.39 | 44172.8127 | 23.03
44171.8335 | 22.54 | 44172.8335 | 24.95
44171.8544 | 25.1 | 44172.8544 | 26.23
44171.8752 | 22.82 | 44172.8752 | 25.61
44171.896 | 24.9 | 44172.896 | 26.09
44171.9169 | 22.94 | 44172.9169 | 25.26
44171.9377 | 26.43 | 44172.9377 | 25.98
44171.9585 | 23.48 | 44172.9585 | 23.72
44171.9794 | 24.84 | 44172.9794 | 24.02
2020-12-07 | 24.33