## Sheet1
File is created on: 08/12/2020 08:30
REPORT POINT 3-150
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 01/12/2020 08:00:16
Temp Units:°C |  |  | Expected Stop Time: 07/12/2020 23:30:16
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-6
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 01/12/2020 08:00:16
Lower Limit(Temp): 15°C |  |  |  | Last Point: 07/12/2020 23:30:16
Max(Temp)_oC | 26.9347 | Min(Temp)_oC | 22.0086 | Avg(Temp)_oC | 24.0927
Time | oC | Time | oC | Time | oC
2020-12-01 08:00 | 22.7886 | 44166.896 | 22.0825 | 44167.4585 | 26.9347
44166.3544 | 26.7625 | 44166.9169 | 26.4364 | 44167.4794 | 23.3896
44166.3752 | 25.0476 | 44166.9377 | 22.6902 | 44167.5002 | 25.3252
44166.396 | 23.5016 | 44166.9585 | 25.4126 | 44167.521 | 23.7241
44166.4169 | 23.9771 | 44166.9794 | 26.3891 | 44167.5419 | 24.1416
44166.4377 | 23.4345 | 2020-12-02 | 24.5968 | 44167.5627 | 24.069
44166.4585 | 23.6731 | 44167.021 | 22.1082 | 44167.5835 | 24.2428
44166.4794 | 24.1523 | 44167.0419 | 24.6002 | 44167.6044 | 22.4142
44166.5002 | 24.4135 | 44167.0627 | 23.072 | 44167.6252 | 24.4659
44166.521 | 24.173 | 44167.0835 | 22.9807 | 44167.646 | 23.1502
44166.5419 | 25.6593 | 44167.1044 | 22.6124 | 44167.6669 | 25.1749
44166.5627 | 25.7953 | 44167.1252 | 24.8425 | 44167.6877 | 23.8943
44166.5835 | 22.8609 | 44167.146 | 22.8832 | 44167.7085 | 23.3939
44166.6044 | 23.9169 | 44167.1669 | 26.8711 | 44167.7294 | 26.4213
44166.6252 | 22.4821 | 44167.1877 | 22.946 | 44167.7502 | 22.8661
44166.646 | 26.0032 | 44167.2085 | 25.8698 | 44167.771 | 25.187
44166.6669 | 22.5204 | 44167.2294 | 23.0962 | 44167.7919 | 23.9002
44166.6877 | 22.2784 | 44167.2502 | 22.3117 | 44167.8127 | 24.6109
44166.7085 | 23.5979 | 44167.271 | 25.8861 | 44167.8335 | 24.9176
44166.7294 | 25.8065 | 44167.2919 | 22.0516 | 44167.8544 | 26.8933
44166.7502 | 25.7863 | 44167.3127 | 22.4262 | 44167.8752 | 22.9024
44166.771 | 25.004 | 44167.3335 | 22.5902 | 44167.896 | 22.0919
44166.7919 | 23.0086 | 44167.3544 | 26.3787 | 44167.9169 | 22.2829
44166.8127 | 22.4601 | 44167.3752 | 25.9534 | 44167.9377 | 22.6195
44166.8335 | 24.9044 | 44167.396 | 25.5866 | 44167.9585 | 24.6579
44166.8544 | 22.8301 | 44167.4169 | 22.8289 | 44167.9794 | 22.6024
44166.8752 | 26.0464 | 44167.4377 | 22.0625 | 2020-12-03 | 22.6846
Time | oC | Time | oC | Time | oC
44168.021 | 22.0086 | 44169.021 | 22.0086 | 44170.021 | 22.0086
44168.0419 | 22.4634 | 44169.0419 | 22.4634 | 44170.0419 | 22.4634
44168.0627 | 22.2411 | 44169.0627 | 22.2411 | 44170.0627 | 22.2411
44168.0835 | 22.0625 | 44169.0835 | 22.0625 | 44170.0835 | 22.0625
44168.1044 | 26.3315 | 44169.1044 | 26.3315 | 44170.1044 | 26.3315
44168.1252 | 22.9744 | 44169.1252 | 22.9744 | 44170.1252 | 22.9744
44168.146 | 25.631 | 44169.146 | 25.631 | 44170.146 | 25.631
44168.1669 | 26.1166 | 44169.1669 | 26.1166 | 44170.1669 | 26.1166
44168.1877 | 26.4551 | 44169.1877 | 26.4551 | 44170.1877 | 26.4551
44168.2085 | 26.5907 | 44169.2085 | 26.5907 | 44170.2085 | 26.5907
44168.2294 | 25.4415 | 44169.2294 | 25.4415 | 44170.2294 | 25.4415
44168.2502 | 25.6146 | 44169.2502 | 25.6146 | 44170.2502 | 25.6146
44168.271 | 22.0586 | 44169.271 | 22.0586 | 44170.271 | 22.0586
44168.2919 | 25.7077 | 44169.2919 | 25.7077 | 44170.2919 | 25.7077
44168.3127 | 24.4184 | 44169.3127 | 24.4184 | 44170.3127 | 24.4184
44168.3335 | 25.5256 | 44169.3335 | 25.5256 | 44170.3335 | 25.5256
44168.3544 | 23.438 | 44169.3544 | 23.438 | 44170.3544 | 23.438
44168.3752 | 25.5728 | 44169.3752 | 25.5728 | 44170.3752 | 25.5728
44168.396 | 23.557 | 44169.396 | 23.557 | 44170.396 | 23.557
44168.4169 | 23.0717 | 44169.4169 | 23.0717 | 44170.4169 | 23.0717
44168.4377 | 23.3022 | 44169.4377 | 23.3022 | 44170.4377 | 23.3022
44168.4585 | 22.5836 | 44169.4585 | 22.5836 | 44170.4585 | 22.5836
44168.4794 | 22.6811 | 44169.4794 | 22.6811 | 44170.4794 | 22.6811
44168.5002 | 25.2714 | 44169.5002 | 25.2714 | 44170.5002 | 25.2714
44168.521 | 22.2417 | 44169.521 | 22.2417 | 44170.521 | 22.2417
44168.5419 | 24.2921 | 44169.5419 | 24.2921 | 44170.5419 | 24.2921
44168.5627 | 25.4694 | 44169.5627 | 25.4694 | 44170.5627 | 25.4694
44168.5835 | 22.6963 | 44169.5835 | 22.6963 | 44170.5835 | 22.6963
44168.6044 | 23.7856 | 44169.6044 | 23.7856 | 44170.6044 | 23.7856
44168.6252 | 22.285 | 44169.6252 | 22.285 | 44170.6252 | 22.285
44168.646 | 23.3552 | 44169.646 | 23.3552 | 44170.646 | 23.3552
44168.6669 | 23.6206 | 44169.6669 | 23.6206 | 44170.6669 | 23.6206
44168.6877 | 25.0965 | 44169.6877 | 25.0965 | 44170.6877 | 25.0965
44168.7085 | 23.0363 | 44169.7085 | 23.0363 | 44170.7085 | 23.0363
44168.7294 | 25.5425 | 44169.7294 | 25.5425 | 44170.7294 | 25.5425
44168.7502 | 22.4337 | 44169.7502 | 22.4337 | 44170.7502 | 22.4337
44168.771 | 24.9198 | 44169.771 | 24.9198 | 44170.771 | 24.9198
44168.7919 | 26.9134 | 44169.7919 | 26.9134 | 44170.7919 | 26.9134
44168.8127 | 25.7633 | 44169.8127 | 25.7633 | 44170.8127 | 25.7633
44168.8335 | 22.6852 | 44169.8335 | 22.6852 | 44170.8335 | 22.6852
44168.8544 | 24.0056 | 44169.8544 | 24.0056 | 44170.8544 | 24.0056
44168.8752 | 23.6717 | 44169.8752 | 23.6717 | 44170.8752 | 23.6717
44168.896 | 24.066 | 44169.896 | 24.066 | 44170.896 | 24.066
44168.9169 | 24.3762 | 44169.9169 | 24.3762 | 44170.9169 | 24.3762
44168.9377 | 26.6511 | 44169.9377 | 26.6511 | 44170.9377 | 26.6511
44168.9585 | 24.5367 | 44169.9585 | 24.5367 | 44170.9585 | 24.5367
44168.9794 | 26.1575 | 44169.9794 | 26.1575 | 44170.9794 | 26.1575
2020-12-04 | 24.396 | 2020-12-05 | 24.396 | 2020-12-06 | 24.396
Time | oC | Time | oC | Time | oC
44171.021 | 23.68 | 44172.021 | 24.95
44171.0419 | 24.33 | 44172.0419 | 23.86
44171.0627 | 24.3 | 44172.0627 | 24.95
44171.0835 | 24.77 | 44172.0835 | 23.19
44171.1044 | 23.77 | 44172.1044 | 23.04
44171.1252 | 23.1 | 44172.1252 | 23.7
44171.146 | 23.89 | 44172.146 | 23.65
44171.1669 | 23.41 | 44172.1669 | 24.41
44171.1877 | 23.3 | 44172.1877 | 24.3
44171.2085 | 23.22 | 44172.2085 | 23.46
44171.2294 | 23.44 | 44172.2294 | 24.92
44171.2502 | 23.6 | 44172.2502 | 24.43
44171.271 | 23.61 | 44172.271 | 23.53
44171.2919 | 23.15 | 44172.2919 | 23.63
44171.3127 | 23.91 | 44172.3127 | 23.63
44171.3335 | 24.55 | 44172.3335 | 23.89
44171.3544 | 24.34 | 44172.3544 | 23.6
44171.3752 | 23.78 | 44172.3752 | 24.55
44171.396 | 24.13 | 44172.396 | 24.03
44171.4169 | 23.69 | 44172.4169 | 23.99
44171.4377 | 23.4 | 44172.4377 | 24.21
44171.4585 | 23.1 | 44172.4585 | 24.36
44171.4794 | 23.21 | 44172.4794 | 23.48
44171.5002 | 23.12 | 44172.5002 | 23.54
44171.521 | 23.24 | 44172.521 | 24.16
44171.5419 | 25 | 44172.5419 | 24.06
44171.5627 | 23.44 | 44172.5627 | 23.42
44171.5835 | 25 | 44172.5835 | 23.1
44171.6044 | 23.51 | 44172.6044 | 24.63
44171.6252 | 23.67 | 44172.6252 | 23.01
44171.646 | 23.96 | 44172.646 | 23.3
44171.6669 | 24.93 | 44172.6669 | 23.12
44171.6877 | 23.92 | 44172.6877 | 24.07
44171.7085 | 23.29 | 44172.7085 | 23.58
44171.7294 | 24.07 | 44172.7294 | 23.02
44171.7502 | 23.89 | 44172.7502 | 23.15
44171.771 | 23.83 | 44172.771 | 24.54
44171.7919 | 24.96 | 44172.7919 | 24.8
44171.8127 | 24.74 | 44172.8127 | 24.7
44171.8335 | 24.36 | 44172.8335 | 24.77
44171.8544 | 23.2 | 44172.8544 | 24.79
44171.8752 | 24.62 | 44172.8752 | 24.24
44171.896 | 23.18 | 44172.896 | 23.83
44171.9169 | 24.85 | 44172.9169 | 23.66
44171.9377 | 23.88 | 44172.9377 | 24.25
44171.9585 | 23.89 | 44172.9585 | 23.76
44171.9794 | 23.44 | 44172.9794 | 24.53
2020-12-07 | 23.46