## Sheet1
File is created on: 08/12/2020 08:30
REPORT POINT 3-60
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 01/12/2020 08:00:16
Temp Units:°C |  |  | Expected Stop Time: 07/12/2020 23:30:16
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-5
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 01/12/2020 08:00:16
Lower Limit(Temp): 15°C |  |  |  | Last Point: 07/12/2020 23:30:16
Max(Temp)_oC | 26.9129 | Min(Temp)_oC | 22.04 | Avg(Temp)_oC | 24.154
Time | oC | Time | oC | Time | oC
2020-12-01 08:00 | 23.7095 | 44166.896 | 24.1104 | 44167.4585 | 25.4176
44166.3544 | 26.5342 | 44166.9169 | 22.9678 | 44167.4794 | 24.8328
44166.3752 | 25.8017 | 44166.9377 | 26.8036 | 44167.5002 | 23.642
44166.396 | 24.0612 | 44166.9585 | 25.9049 | 44167.521 | 25.9207
44166.4169 | 25.8764 | 44166.9794 | 23.7705 | 44167.5419 | 26.814
44166.4377 | 26.2506 | 2020-12-02 | 25.6427 | 44167.5627 | 22.0774
44166.4585 | 25.4023 | 44167.021 | 23.7935 | 44167.5835 | 25.4946
44166.4794 | 24.7955 | 44167.0419 | 25.2788 | 44167.6044 | 24.2751
44166.5002 | 24.8003 | 44167.0627 | 25.754 | 44167.6252 | 24.6386
44166.521 | 26.8401 | 44167.0835 | 22.8117 | 44167.646 | 25.7688
44166.5419 | 22.4095 | 44167.1044 | 24.5708 | 44167.6669 | 23.8276
44166.5627 | 25.181 | 44167.1252 | 25.8063 | 44167.6877 | 23.953
44166.5835 | 24.3957 | 44167.146 | 25.2104 | 44167.7085 | 23.3658
44166.6044 | 24.9906 | 44167.1669 | 24.628 | 44167.7294 | 24.909
44166.6252 | 24.9719 | 44167.1877 | 25.2139 | 44167.7502 | 23.5607
44166.646 | 26.4074 | 44167.2085 | 22.4888 | 44167.771 | 23.8027
44166.6669 | 22.6853 | 44167.2294 | 25.5614 | 44167.7919 | 24.8992
44166.6877 | 24.1285 | 44167.2502 | 26.9129 | 44167.8127 | 25.538
44166.7085 | 25.6637 | 44167.271 | 22.7286 | 44167.8335 | 24.5714
44166.7294 | 26.7365 | 44167.2919 | 22.2845 | 44167.8544 | 25.3374
44166.7502 | 23.5629 | 44167.3127 | 26.2526 | 44167.8752 | 22.04
44166.771 | 24.9253 | 44167.3335 | 22.9614 | 44167.896 | 26.6528
44166.7919 | 22.4725 | 44167.3544 | 25.0241 | 44167.9169 | 26.2128
44166.8127 | 22.8357 | 44167.3752 | 24.9658 | 44167.9377 | 22.7644
44166.8335 | 22.59 | 44167.396 | 26.5624 | 44167.9585 | 23.896
44166.8544 | 24.9186 | 44167.4169 | 22.3427 | 44167.9794 | 23.4133
44166.8752 | 25.2912 | 44167.4377 | 23.4213 | 2020-12-03 | 22.6407
Time | oC | Time | oC | Time | oC
44168.021 | 23.79 | 44169.021 | 24.12 | 44170.021 | 23.71
44168.0419 | 24.41 | 44169.0419 | 24.68 | 44170.0419 | 23.49
44168.0627 | 24.79 | 44169.0627 | 24.03 | 44170.0627 | 23.37
44168.0835 | 23.67 | 44169.0835 | 23.03 | 44170.0835 | 24.4
44168.1044 | 24.44 | 44169.1044 | 24.18 | 44170.1044 | 25
44168.1252 | 24.84 | 44169.1252 | 24.28 | 44170.1252 | 23.59
44168.146 | 24.91 | 44169.146 | 23.87 | 44170.146 | 23.44
44168.1669 | 23.58 | 44169.1669 | 23.41 | 44170.1669 | 24.03
44168.1877 | 23.88 | 44169.1877 | 23.03 | 44170.1877 | 23.55
44168.2085 | 23.08 | 44169.2085 | 24.47 | 44170.2085 | 23.01
44168.2294 | 23.47 | 44169.2294 | 23.67 | 44170.2294 | 24.91
44168.2502 | 23.75 | 44169.2502 | 23.94 | 44170.2502 | 23.79
44168.271 | 24.41 | 44169.271 | 24.34 | 44170.271 | 23.68
44168.2919 | 23.24 | 44169.2919 | 24.39 | 44170.2919 | 24.87
44168.3127 | 23.99 | 44169.3127 | 24.24 | 44170.3127 | 23.29
44168.3335 | 23.65 | 44169.3335 | 23.37 | 44170.3335 | 24.78
44168.3544 | 23.3 | 44169.3544 | 24.87 | 44170.3544 | 24.73
44168.3752 | 24.37 | 44169.3752 | 23.1 | 44170.3752 | 24.94
44168.396 | 23.97 | 44169.396 | 23.6 | 44170.396 | 23.13
44168.4169 | 23.78 | 44169.4169 | 23.98 | 44170.4169 | 23.21
44168.4377 | 24.53 | 44169.4377 | 23.43 | 44170.4377 | 23.09
44168.4585 | 24.7 | 44169.4585 | 24.64 | 44170.4585 | 23.2
44168.4794 | 23.03 | 44169.4794 | 23.44 | 44170.4794 | 24.29
44168.5002 | 23.87 | 44169.5002 | 23.17 | 44170.5002 | 24.54
44168.521 | 23.63 | 44169.521 | 24.22 | 44170.521 | 23.01
44168.5419 | 24.83 | 44169.5419 | 23.71 | 44170.5419 | 24.09
44168.5627 | 24.99 | 44169.5627 | 23.8 | 44170.5627 | 24.73
44168.5835 | 23.11 | 44169.5835 | 24.33 | 44170.5835 | 23.88
44168.6044 | 24.62 | 44169.6044 | 23.77 | 44170.6044 | 24.59
44168.6252 | 24.33 | 44169.6252 | 24.15 | 44170.6252 | 24.26
44168.646 | 23.04 | 44169.646 | 23.15 | 44170.646 | 23.49
44168.6669 | 23.53 | 44169.6669 | 24.98 | 44170.6669 | 24.4
44168.6877 | 23.76 | 44169.6877 | 24.53 | 44170.6877 | 23.03
44168.7085 | 23.88 | 44169.7085 | 24.84 | 44170.7085 | 23.51
44168.7294 | 24.61 | 44169.7294 | 24.62 | 44170.7294 | 23.35
44168.7502 | 23.51 | 44169.7502 | 23.67 | 44170.7502 | 23.35
44168.771 | 23.45 | 44169.771 | 23.33 | 44170.771 | 23.1
44168.7919 | 23.83 | 44169.7919 | 23.36 | 44170.7919 | 23.25
44168.8127 | 23.78 | 44169.8127 | 24.82 | 44170.8127 | 23.9
44168.8335 | 23.87 | 44169.8335 | 23.58 | 44170.8335 | 24
44168.8544 | 23.75 | 44169.8544 | 24.59 | 44170.8544 | 24.67
44168.8752 | 23.63 | 44169.8752 | 24.15 | 44170.8752 | 24.12
44168.896 | 24.94 | 44169.896 | 23.45 | 44170.896 | 23.45
44168.9169 | 23.34 | 44169.9169 | 24.58 | 44170.9169 | 24.85
44168.9377 | 23.95 | 44169.9377 | 23.81 | 44170.9377 | 24.33
44168.9585 | 23.91 | 44169.9585 | 23.76 | 44170.9585 | 24.95
44168.9794 | 23.11 | 44169.9794 | 23.14 | 44170.9794 | 23.18
2020-12-04 | 24.65 | 2020-12-05 | 23.96 | 2020-12-06 | 24.23
Time | oC | Time | oC | Time | oC
44171.021 | 24.66 | 44172.021 | 23.61
44171.0419 | 23.34 | 44172.0419 | 23.06
44171.0627 | 24.42 | 44172.0627 | 24.17
44171.0835 | 24.38 | 44172.0835 | 24.23
44171.1044 | 24.44 | 44172.1044 | 23.79
44171.1252 | 23.8 | 44172.1252 | 23.37
44171.146 | 24.83 | 44172.146 | 23.22
44171.1669 | 24.93 | 44172.1669 | 23.84
44171.1877 | 23.88 | 44172.1877 | 23.94
44171.2085 | 23.39 | 44172.2085 | 24.93
44171.2294 | 24.79 | 44172.2294 | 23.43
44171.2502 | 24.91 | 44172.2502 | 23.73
44171.271 | 24.23 | 44172.271 | 23.56
44171.2919 | 24.51 | 44172.2919 | 24.96
44171.3127 | 24.79 | 44172.3127 | 24.74
44171.3335 | 24.26 | 44172.3335 | 23.41
44171.3544 | 23.19 | 44172.3544 | 24.06
44171.3752 | 23.39 | 44172.3752 | 24.48
44171.396 | 23.94 | 44172.396 | 23.14
44171.4169 | 24.64 | 44172.4169 | 24.56
44171.4377 | 23.89 | 44172.4377 | 23.13
44171.4585 | 24.12 | 44172.4585 | 23.92
44171.4794 | 24.88 | 44172.4794 | 23.82
44171.5002 | 23.89 | 44172.5002 | 24.65
44171.521 | 23.83 | 44172.521 | 24.45
44171.5419 | 23.99 | 44172.5419 | 24.7
44171.5627 | 24.69 | 44172.5627 | 23.48
44171.5835 | 23.49 | 44172.5835 | 23.97
44171.6044 | 24.58 | 44172.6044 | 23.97
44171.6252 | 23.28 | 44172.6252 | 24.92
44171.646 | 24.93 | 44172.646 | 24.5
44171.6669 | 24.58 | 44172.6669 | 24.64
44171.6877 | 24.17 | 44172.6877 | 24.97
44171.7085 | 24.01 | 44172.7085 | 23.2
44171.7294 | 24.31 | 44172.7294 | 24.79
44171.7502 | 23.87 | 44172.7502 | 24.54
44171.771 | 24.8 | 44172.771 | 23.4
44171.7919 | 23.6 | 44172.7919 | 24
44171.8127 | 23.2 | 44172.8127 | 23.68
44171.8335 | 24.6 | 44172.8335 | 24.64
44171.8544 | 23.69 | 44172.8544 | 23.42
44171.8752 | 24.03 | 44172.8752 | 23.47
44171.896 | 24.3 | 44172.896 | 24.93
44171.9169 | 23.32 | 44172.9169 | 24.74
44171.9377 | 23.73 | 44172.9377 | 23.19
44171.9585 | 24.72 | 44172.9585 | 23.04
44171.9794 | 24.87 | 44172.9794 | 24.82
2020-12-07 | 24.85