## Sheet1
File is created on: 08/12/2020 08:30
REPORT POINT 4-150
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 01/12/2020 08:00:16
Temp Units:°C |  |  | Expected Stop Time: 07/12/2020 23:30:16
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-8
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 01/12/2020 08:00:16
Lower Limit(Temp): 15°C |  |  |  | Last Point: 07/12/2020 23:30:16
Max(Temp)_oC | 26.9355 | Min(Temp)_oC | 22.0273 | Avg(Temp)_oC | 24.1455
Time | oC | Time | oC | Time | oC
2020-12-01 08:00 | 24.0899 | 44166.896 | 25.8517 | 44167.4585 | 22.2293
44166.3544 | 26.8883 | 44166.9169 | 23.4593 | 44167.4794 | 26.0385
44166.3752 | 22.9487 | 44166.9377 | 25.1781 | 44167.5002 | 26.3723
44166.396 | 23.0994 | 44166.9585 | 22.0273 | 44167.521 | 25.4628
44166.4169 | 26.0824 | 44166.9794 | 23.1134 | 44167.5419 | 22.7907
44166.4377 | 23.4912 | 2020-12-02 | 24.365 | 44167.5627 | 23.6439
44166.4585 | 24.8166 | 44167.021 | 23.5608 | 44167.5835 | 26.3173
44166.4794 | 25.3213 | 44167.0419 | 24.7979 | 44167.6044 | 25.9616
44166.5002 | 22.714 | 44167.0627 | 25.8357 | 44167.6252 | 25.0776
44166.521 | 23.4283 | 44167.0835 | 24.6067 | 44167.646 | 24.413
44166.5419 | 22.3698 | 44167.1044 | 26.3132 | 44167.6669 | 22.8215
44166.5627 | 22.8699 | 44167.1252 | 24.9779 | 44167.6877 | 25.5234
44166.5835 | 24.7 | 44167.146 | 22.2033 | 44167.7085 | 24.0468
44166.6044 | 24.2713 | 44167.1669 | 25.9761 | 44167.7294 | 25.9836
44166.6252 | 26.9355 | 44167.1877 | 25.1225 | 44167.7502 | 24.6492
44166.646 | 26.225 | 44167.2085 | 22.6631 | 44167.771 | 25.517
44166.6669 | 25.9087 | 44167.2294 | 22.5502 | 44167.7919 | 26.7588
44166.6877 | 23.1488 | 44167.2502 | 26.6892 | 44167.8127 | 24.7341
44166.7085 | 25.4414 | 44167.271 | 24.5804 | 44167.8335 | 26.4986
44166.7294 | 25.9515 | 44167.2919 | 22.4277 | 44167.8544 | 24.3336
44166.7502 | 26.4133 | 44167.3127 | 24.5596 | 44167.8752 | 23.8875
44166.771 | 25.3782 | 44167.3335 | 22.8347 | 44167.896 | 24.5543
44166.7919 | 22.5062 | 44167.3544 | 22.4931 | 44167.9169 | 26.2651
44166.8127 | 25.3048 | 44167.3752 | 26.868 | 44167.9377 | 24.3171
44166.8335 | 22.0619 | 44167.396 | 26.2746 | 44167.9585 | 25.4396
44166.8544 | 24.9341 | 44167.4169 | 26.2281 | 44167.9794 | 22.7293
44166.8752 | 25.6592 | 44167.4377 | 24.8271 | 2020-12-03 | 26.9062
Time | oC | Time | oC | Time | oC
44168.021 | 24.92 | 44169.021 | 24.39 | 44170.021 | 24.59
44168.0419 | 24.51 | 44169.0419 | 24.81 | 44170.0419 | 23.29
44168.0627 | 24.44 | 44169.0627 | 24.29 | 44170.0627 | 24.18
44168.0835 | 24.01 | 44169.0835 | 24.29 | 44170.0835 | 23.99
44168.1044 | 23.09 | 44169.1044 | 23.83 | 44170.1044 | 24.22
44168.1252 | 23.54 | 44169.1252 | 23.46 | 44170.1252 | 23.97
44168.146 | 24.33 | 44169.146 | 23.34 | 44170.146 | 24.93
44168.1669 | 23.01 | 44169.1669 | 23.78 | 44170.1669 | 24.73
44168.1877 | 24.08 | 44169.1877 | 24.23 | 44170.1877 | 24.63
44168.2085 | 23.72 | 44169.2085 | 24.81 | 44170.2085 | 24.03
44168.2294 | 23.22 | 44169.2294 | 23.51 | 44170.2294 | 23.91
44168.2502 | 23.02 | 44169.2502 | 23.38 | 44170.2502 | 23.64
44168.271 | 24.52 | 44169.271 | 24.58 | 44170.271 | 24.55
44168.2919 | 23.55 | 44169.2919 | 24.63 | 44170.2919 | 23.2
44168.3127 | 24.74 | 44169.3127 | 23.3 | 44170.3127 | 24.64
44168.3335 | 25 | 44169.3335 | 24.76 | 44170.3335 | 23.89
44168.3544 | 23.11 | 44169.3544 | 24.13 | 44170.3544 | 23.38
44168.3752 | 24.84 | 44169.3752 | 23.42 | 44170.3752 | 23.51
44168.396 | 23.05 | 44169.396 | 24.77 | 44170.396 | 23.33
44168.4169 | 24.83 | 44169.4169 | 23.39 | 44170.4169 | 23.07
44168.4377 | 23.22 | 44169.4377 | 24.6 | 44170.4377 | 23.74
44168.4585 | 24.73 | 44169.4585 | 23.84 | 44170.4585 | 24.07
44168.4794 | 24.66 | 44169.4794 | 23.14 | 44170.4794 | 24.53
44168.5002 | 24.11 | 44169.5002 | 24.49 | 44170.5002 | 24.42
44168.521 | 23.65 | 44169.521 | 24.07 | 44170.521 | 23.85
44168.5419 | 24.83 | 44169.5419 | 23.72 | 44170.5419 | 23.03
44168.5627 | 24.64 | 44169.5627 | 23.33 | 44170.5627 | 23.47
44168.5835 | 24.68 | 44169.5835 | 23.72 | 44170.5835 | 23.85
44168.6044 | 24.42 | 44169.6044 | 24.3 | 44170.6044 | 23.52
44168.6252 | 24.74 | 44169.6252 | 23.54 | 44170.6252 | 24.18
44168.646 | 23.42 | 44169.646 | 24.4 | 44170.646 | 24.47
44168.6669 | 23.02 | 44169.6669 | 24.65 | 44170.6669 | 23.26
44168.6877 | 23.36 | 44169.6877 | 23.02 | 44170.6877 | 23.95
44168.7085 | 24.78 | 44169.7085 | 24.9 | 44170.7085 | 23
44168.7294 | 24.08 | 44169.7294 | 24.76 | 44170.7294 | 24.26
44168.7502 | 23.01 | 44169.7502 | 23.51 | 44170.7502 | 23.71
44168.771 | 24.14 | 44169.771 | 24.25 | 44170.771 | 24.38
44168.7919 | 24.28 | 44169.7919 | 23.03 | 44170.7919 | 24.53
44168.8127 | 24.14 | 44169.8127 | 23.71 | 44170.8127 | 23.29
44168.8335 | 23.4 | 44169.8335 | 24.51 | 44170.8335 | 23.95
44168.8544 | 23.32 | 44169.8544 | 24.64 | 44170.8544 | 24.33
44168.8752 | 23.21 | 44169.8752 | 23.61 | 44170.8752 | 24.91
44168.896 | 23.33 | 44169.896 | 24.01 | 44170.896 | 24.85
44168.9169 | 24.27 | 44169.9169 | 24.51 | 44170.9169 | 23.99
44168.9377 | 23.51 | 44169.9377 | 24.17 | 44170.9377 | 24.99
44168.9585 | 24.36 | 44169.9585 | 24.56 | 44170.9585 | 23.2
44168.9794 | 24.1 | 44169.9794 | 24.1 | 44170.9794 | 24.05
2020-12-04 | 23.16 | 2020-12-05 | 24.51 | 2020-12-06 | 23.9
Time | oC | Time | oC | Time | oC
44171.021 | 23.27 | 44172.021 | 23.58
44171.0419 | 24.53 | 44172.0419 | 23.98
44171.0627 | 23.83 | 44172.0627 | 24.59
44171.0835 | 24.46 | 44172.0835 | 24.11
44171.1044 | 23.49 | 44172.1044 | 24.37
44171.1252 | 24.24 | 44172.1252 | 23.4
44171.146 | 23.21 | 44172.146 | 23.37
44171.1669 | 24.71 | 44172.1669 | 23.47
44171.1877 | 23.35 | 44172.1877 | 24
44171.2085 | 23.47 | 44172.2085 | 24.9
44171.2294 | 23.82 | 44172.2294 | 24.27
44171.2502 | 23.74 | 44172.2502 | 23.35
44171.271 | 24.78 | 44172.271 | 23.1
44171.2919 | 24.33 | 44172.2919 | 24.48
44171.3127 | 23.67 | 44172.3127 | 24.35
44171.3335 | 24.94 | 44172.3335 | 23.76
44171.3544 | 23.96 | 44172.3544 | 24.89
44171.3752 | 23.55 | 44172.3752 | 23.88
44171.396 | 24.83 | 44172.396 | 23.94
44171.4169 | 24.17 | 44172.4169 | 23.31
44171.4377 | 24.3 | 44172.4377 | 23.27
44171.4585 | 23.36 | 44172.4585 | 24.42
44171.4794 | 24.51 | 44172.4794 | 23.21
44171.5002 | 24.51 | 44172.5002 | 23.41
44171.521 | 23.12 | 44172.521 | 23.98
44171.5419 | 24.19 | 44172.5419 | 24.5
44171.5627 | 23.35 | 44172.5627 | 24.41
44171.5835 | 23.52 | 44172.5835 | 23.98
44171.6044 | 24.3 | 44172.6044 | 24.69
44171.6252 | 23.79 | 44172.6252 | 23.19
44171.646 | 23.77 | 44172.646 | 23.28
44171.6669 | 23.88 | 44172.6669 | 24.18
44171.6877 | 23.39 | 44172.6877 | 23.93
44171.7085 | 23.27 | 44172.7085 | 23.67
44171.7294 | 23.2 | 44172.7294 | 23.06
44171.7502 | 24.4 | 44172.7502 | 24.38
44171.771 | 24.2 | 44172.771 | 24.45
44171.7919 | 24.88 | 44172.7919 | 23.2
44171.8127 | 24.44 | 44172.8127 | 23.28
44171.8335 | 24.1 | 44172.8335 | 24.86
44171.8544 | 23.6 | 44172.8544 | 23.37
44171.8752 | 23.64 | 44172.8752 | 23.98
44171.896 | 24.58 | 44172.896 | 24.74
44171.9169 | 23.83 | 44172.9169 | 24.65
44171.9377 | 24.3 | 44172.9377 | 23.78
44171.9585 | 23.2 | 44172.9585 | 23.62
44171.9794 | 23.92 | 44172.9794 | 23.74
2020-12-07 | 23.55