## Sheet1
File is created on: 08/12/2020 08:30
REPORT POINT 5-150
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 01/12/2020 08:00:16
Temp Units:°C |  |  | Expected Stop Time: 07/12/2020 23:30:16
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-10
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 01/12/2020 08:00:16
Lower Limit(Temp): 15°C |  |  |  | Last Point: 07/12/2020 23:30:16
Max(Temp)_oC | 23.981 | Min(Temp)_oC | 21.0098 | Avg(Temp)_oC | 22.5175
Time | oC | Time | oC | Time | oC
2020-12-01 08:00 | 23.3999 | 44166.896 | 23.1144 | 44167.4585 | 21.0098
44166.3544 | 21.8555 | 44166.9169 | 22.507 | 44167.4794 | 21.0392
44166.3752 | 22.3997 | 44166.9377 | 23.2828 | 44167.5002 | 22.9561
44166.396 | 22.4981 | 44166.9585 | 21.6669 | 44167.521 | 22.1107
44166.4169 | 22.6365 | 44166.9794 | 22.1395 | 44167.5419 | 23.8033
44166.4377 | 21.2133 | 2020-12-02 | 21.8441 | 44167.5627 | 23.7204
44166.4585 | 23.7732 | 44167.021 | 21.4775 | 44167.5835 | 22.4584
44166.4794 | 22.5016 | 44167.0419 | 21.0737 | 44167.6044 | 21.1623
44166.5002 | 22.4711 | 44167.0627 | 23.9177 | 44167.6252 | 22.4182
44166.521 | 23.1667 | 44167.0835 | 22.4776 | 44167.646 | 21.4038
44166.5419 | 23.6805 | 44167.1044 | 21.5267 | 44167.6669 | 22.3944
44166.5627 | 21.0571 | 44167.1252 | 23.4933 | 44167.6877 | 22.8496
44166.5835 | 21.8365 | 44167.146 | 21.8335 | 44167.7085 | 23.0614
44166.6044 | 21.033 | 44167.1669 | 22.7827 | 44167.7294 | 23.5901
44166.6252 | 23.3494 | 44167.1877 | 21.3012 | 44167.7502 | 23.181
44166.646 | 22.956 | 44167.2085 | 21.1107 | 44167.771 | 23.4743
44166.6669 | 23.1075 | 44167.2294 | 23.3364 | 44167.7919 | 21.9864
44166.6877 | 21.4512 | 44167.2502 | 23.9555 | 44167.8127 | 22.9196
44166.7085 | 23.6451 | 44167.271 | 23.1245 | 44167.8335 | 22.0726
44166.7294 | 23.527 | 44167.2919 | 23.2957 | 44167.8544 | 21.4725
44166.7502 | 23.6893 | 44167.3127 | 21.7394 | 44167.8752 | 22.3581
44166.771 | 22.4049 | 44167.3335 | 21.5848 | 44167.896 | 23.2144
44166.7919 | 21.7534 | 44167.3544 | 22.3689 | 44167.9169 | 23.8234
44166.8127 | 22.2454 | 44167.3752 | 23.9807 | 44167.9377 | 22.5367
44166.8335 | 21.3802 | 44167.396 | 23.767 | 44167.9585 | 22.7917
44166.8544 | 23.3193 | 44167.4169 | 23.7294 | 44167.9794 | 21.8848
44166.8752 | 23.5691 | 44167.4377 | 22.5629 | 2020-12-03 | 23.5693
Time | oC | Time | oC | Time | oC
44168.021 | 21.0927 | 44169.021 | 22.0437 | 44170.021 | 21.7845
44168.0419 | 23.1769 | 44169.0419 | 23.3332 | 44170.0419 | 22.2567
44168.0627 | 23.4921 | 44169.0627 | 23.755 | 44170.0627 | 21.5194
44168.0835 | 21.0522 | 44169.0835 | 21.3173 | 44170.0835 | 22.7363
44168.1044 | 21.8189 | 44169.1044 | 21.3008 | 44170.1044 | 23.9396
44168.1252 | 23.1774 | 44169.1252 | 21.6695 | 44170.1252 | 23.4835
44168.146 | 21.2454 | 44169.146 | 21.7159 | 44170.146 | 23.6031
44168.1669 | 22.8571 | 44169.1669 | 21.2915 | 44170.1669 | 21.4818
44168.1877 | 23.4829 | 44169.1877 | 21.9363 | 44170.1877 | 21.9282
44168.2085 | 23.79 | 44169.2085 | 22.3234 | 44170.2085 | 21.3505
44168.2294 | 21.5328 | 44169.2294 | 22.2621 | 44170.2294 | 21.9633
44168.2502 | 23.2562 | 44169.2502 | 21.5668 | 44170.2502 | 22.7731
44168.271 | 23.0105 | 44169.271 | 22.809 | 44170.271 | 21.1797
44168.2919 | 22.8838 | 44169.2919 | 23.2984 | 44170.2919 | 21.1613
44168.3127 | 21.5295 | 44169.3127 | 23.8224 | 44170.3127 | 22.4238
44168.3335 | 21.1816 | 44169.3335 | 21.7092 | 44170.3335 | 21.0675
44168.3544 | 23.3335 | 44169.3544 | 21.1175 | 44170.3544 | 23.1481
44168.3752 | 21.3081 | 44169.3752 | 23.265 | 44170.3752 | 21.5774
44168.396 | 21.7512 | 44169.396 | 22.6701 | 44170.396 | 22.5171
44168.4169 | 22.7336 | 44169.4169 | 22.5763 | 44170.4169 | 21.5289
44168.4377 | 23.231 | 44169.4377 | 22.7174 | 44170.4377 | 23.6632
44168.4585 | 23.2369 | 44169.4585 | 22.2472 | 44170.4585 | 22.3564
44168.4794 | 23.1204 | 44169.4794 | 23.5009 | 44170.4794 | 21.1853
44168.5002 | 23.2029 | 44169.5002 | 23.6533 | 44170.5002 | 22.7809
44168.521 | 23.384 | 44169.521 | 21.7566 | 44170.521 | 21.9403
44168.5419 | 23.2648 | 44169.5419 | 23.0453 | 44170.5419 | 22.4478
44168.5627 | 23.2424 | 44169.5627 | 21.0988 | 44170.5627 | 21.7027
44168.5835 | 22.1588 | 44169.5835 | 23.3918 | 44170.5835 | 21.5888
44168.6044 | 23.8985 | 44169.6044 | 21.4705 | 44170.6044 | 23.3092
44168.6252 | 22.8782 | 44169.6252 | 21.5294 | 44170.6252 | 21.1539
44168.646 | 21.4372 | 44169.646 | 22.1807 | 44170.646 | 22.4046
44168.6669 | 21.6764 | 44169.6669 | 23.3231 | 44170.6669 | 22.643
44168.6877 | 22.445 | 44169.6877 | 22.3495 | 44170.6877 | 21.7613
44168.7085 | 22.7741 | 44169.7085 | 23.6671 | 44170.7085 | 21.4898
44168.7294 | 22.6213 | 44169.7294 | 22.1356 | 44170.7294 | 22.0997
44168.7502 | 23.7435 | 44169.7502 | 21.0784 | 44170.7502 | 22.6292
44168.771 | 21.8269 | 44169.771 | 22.4013 | 44170.771 | 21.4336
44168.7919 | 21.3836 | 44169.7919 | 23.3102 | 44170.7919 | 22.537
44168.8127 | 21.3635 | 44169.8127 | 23.0395 | 44170.8127 | 22.0358
44168.8335 | 23.6554 | 44169.8335 | 21.4528 | 44170.8335 | 21.5178
44168.8544 | 23.1053 | 44169.8544 | 22.5256 | 44170.8544 | 22.8825
44168.8752 | 23.9311 | 44169.8752 | 23.537 | 44170.8752 | 21.2984
44168.896 | 22.1771 | 44169.896 | 23.7662 | 44170.896 | 23.2555
44168.9169 | 22.3687 | 44169.9169 | 23.981 | 44170.9169 | 22.5206
44168.9377 | 21.4071 | 44169.9377 | 23.4442 | 44170.9377 | 22.8733
44168.9585 | 22.9457 | 44169.9585 | 22.5505 | 44170.9585 | 21.3294
44168.9794 | 23.1269 | 44169.9794 | 21.2196 | 44170.9794 | 21.8269
2020-12-04 | 23.3125 | 2020-12-05 | 23.7604 | 2020-12-06 | 22.906
Time | oC | Time | oC | Time | oC
44171.021 | 21.6427 | 44172.021 | 23.9024
44171.0419 | 22.9726 | 44172.0419 | 21.4587
44171.0627 | 21.1987 | 44172.0627 | 23.0018
44171.0835 | 23.8669 | 44172.0835 | 22.285
44171.1044 | 21.4203 | 44172.1044 | 22.4056
44171.1252 | 23.2235 | 44172.1252 | 22.7605
44171.146 | 23.5203 | 44172.146 | 21.3089
44171.1669 | 23.5491 | 44172.1669 | 21.1378
44171.1877 | 21.5876 | 44172.1877 | 22.37
44171.2085 | 22.7242 | 44172.2085 | 21.5745
44171.2294 | 23.2538 | 44172.2294 | 21.5823
44171.2502 | 22.6936 | 44172.2502 | 21.6591
44171.271 | 23.7278 | 44172.271 | 23.658
44171.2919 | 23.3113 | 44172.2919 | 21.5818
44171.3127 | 21.2543 | 44172.3127 | 22.4936
44171.3335 | 22.726 | 44172.3335 | 21.9937
44171.3544 | 23.5147 | 44172.3544 | 23.7161
44171.3752 | 23.6696 | 44172.3752 | 22.363
44171.396 | 22.7299 | 44172.396 | 21.8725
44171.4169 | 21.8333 | 44172.4169 | 23.0561
44171.4377 | 22.4926 | 44172.4377 | 22.2818
44171.4585 | 23.3656 | 44172.4585 | 21.1396
44171.4794 | 21.4233 | 44172.4794 | 22.4373
44171.5002 | 22.9339 | 44172.5002 | 23.6551
44171.521 | 23.426 | 44172.521 | 23.7893
44171.5419 | 22.8629 | 44172.5419 | 22.7987
44171.5627 | 22.5308 | 44172.5627 | 23.0712
44171.5835 | 23.0504 | 44172.5835 | 21.1904
44171.6044 | 23.2336 | 44172.6044 | 21.3381
44171.6252 | 22.0117 | 44172.6252 | 23.3948
44171.646 | 23.7301 | 44172.646 | 21.4147
44171.6669 | 23.6355 | 44172.6669 | 23.257
44171.6877 | 21.7274 | 44172.6877 | 22.2875
44171.7085 | 22.0562 | 44172.7085 | 22.4331
44171.7294 | 22.8561 | 44172.7294 | 22.6025
44171.7502 | 23.6922 | 44172.7502 | 22.7342
44171.771 | 22.7749 | 44172.771 | 22.0069
44171.7919 | 23.1125 | 44172.7919 | 21.6545
44171.8127 | 23.6739 | 44172.8127 | 21.4618
44171.8335 | 23.5494 | 44172.8335 | 23.6988
44171.8544 | 21.8824 | 44172.8544 | 22.152
44171.8752 | 22.1167 | 44172.8752 | 21.4732
44171.896 | 23.5838 | 44172.896 | 22.1212
44171.9169 | 23.0391 | 44172.9169 | 23.7642
44171.9377 | 21.7891 | 44172.9377 | 22.7751
44171.9585 | 23.4425 | 44172.9585 | 23.5308
44171.9794 | 23.421 | 44172.9794 | 22.2203
2020-12-07 | 23.1793