## Sheet1
File is created on: 08/12/2020 08:30
REPORT POINT 5-60
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 01/12/2020 08:00:16
Temp Units:°C |  |  | Expected Stop Time: 07/12/2020 23:30:16
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-9
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 01/12/2020 08:00:16
Lower Limit(Temp): 15°C |  |  |  | Last Point: 07/12/2020 23:30:16
Max(Temp)_oC | 23.998 | Min(Temp)_oC | 20.0207 | Avg(Temp)_oC | 22.3932
Time | oC | Time | oC | Time | oC
2020-12-01 08:00 | 21.149 | 44166.896 | 22.1352 | 44167.4585 | 22.574
44166.3544 | 23.4786 | 44166.9169 | 23.998 | 44167.4794 | 23.5923
44166.3752 | 21.1348 | 44166.9377 | 22.3195 | 44167.5002 | 23.3264
44166.396 | 21.5453 | 44166.9585 | 23.5223 | 44167.521 | 21.7566
44166.4169 | 23.7117 | 44166.9794 | 22.5313 | 44167.5419 | 22.4203
44166.4377 | 22.6888 | 2020-12-02 | 20.207 | 44167.5627 | 22.7102
44166.4585 | 20.7865 | 44167.021 | 23.3985 | 44167.5835 | 22.4733
44166.4794 | 23.3591 | 44167.0419 | 22.8489 | 44167.6044 | 23.755
44166.5002 | 22.5996 | 44167.0627 | 21.6034 | 44167.6252 | 22.8709
44166.521 | 20.3089 | 44167.0835 | 23.2593 | 44167.646 | 20.8075
44166.5419 | 21.788 | 44167.1044 | 22.6019 | 44167.6669 | 22.5951
44166.5627 | 22.712 | 44167.1252 | 23.6986 | 44167.6877 | 23.4505
44166.5835 | 20.9071 | 44167.146 | 22.322 | 44167.7085 | 20.7132
44166.6044 | 23.0635 | 44167.1669 | 20.5853 | 44167.7294 | 23.3034
44166.6252 | 22.602 | 44167.1877 | 20.9818 | 44167.7502 | 22.8797
44166.646 | 23.0111 | 44167.2085 | 21.4175 | 44167.771 | 23.2368
44166.6669 | 22.9955 | 44167.2294 | 22.2878 | 44167.7919 | 21.4948
44166.6877 | 20.2305 | 44167.2502 | 21.0213 | 44167.8127 | 20.4172
44166.7085 | 22.0718 | 44167.271 | 23.9337 | 44167.8335 | 22.1542
44166.7294 | 22.3107 | 44167.2919 | 22.5943 | 44167.8544 | 23.9758
44166.7502 | 21.9273 | 44167.3127 | 20.6877 | 44167.8752 | 23.9395
44166.771 | 20.0207 | 44167.3335 | 23.0038 | 44167.896 | 23.9512
44166.7919 | 21.6982 | 44167.3544 | 23.5764 | 44167.9169 | 23.7071
44166.8127 | 22.9833 | 44167.3752 | 22.3898 | 44167.9377 | 21.0538
44166.8335 | 22.8114 | 44167.396 | 21.8006 | 44167.9585 | 20.0841
44166.8544 | 20.9446 | 44167.4169 | 23.2227 | 44167.9794 | 20.2982
44166.8752 | 20.9921 | 44167.4377 | 22.9199 | 2020-12-03 | 23.1562
Time | oC | Time | oC | Time | oC
44168.021 | 22.1811 | 44169.021 | 22.1892 | 44170.021 | 22.8919
44168.0419 | 21.3301 | 44169.0419 | 23.1633 | 44170.0419 | 22.1679
44168.0627 | 22.1905 | 44169.0627 | 21.0617 | 44170.0627 | 22.7717
44168.0835 | 21.827 | 44169.0835 | 23.8964 | 44170.0835 | 22.7408
44168.1044 | 23.7715 | 44169.1044 | 22.8715 | 44170.1044 | 23.9375
44168.1252 | 22.2025 | 44169.1252 | 23.2935 | 44170.1252 | 22.6021
44168.146 | 21.6457 | 44169.146 | 23.5008 | 44170.146 | 22.3517
44168.1669 | 22.5423 | 44169.1669 | 22.8616 | 44170.1669 | 22.2731
44168.1877 | 22.5242 | 44169.1877 | 21.1438 | 44170.1877 | 22.3416
44168.2085 | 22.5171 | 44169.2085 | 21.0248 | 44170.2085 | 21.0698
44168.2294 | 23.5114 | 44169.2294 | 21.859 | 44170.2294 | 23.8054
44168.2502 | 21.3221 | 44169.2502 | 22.4726 | 44170.2502 | 21.3092
44168.271 | 22.7956 | 44169.271 | 22.2891 | 44170.271 | 23.9612
44168.2919 | 23.4075 | 44169.2919 | 21.8865 | 44170.2919 | 21.7963
44168.3127 | 22.0492 | 44169.3127 | 21.6948 | 44170.3127 | 21.9578
44168.3335 | 23.2133 | 44169.3335 | 22.649 | 44170.3335 | 23.9128
44168.3544 | 23.7296 | 44169.3544 | 21.6379 | 44170.3544 | 21.0511
44168.3752 | 23.2661 | 44169.3752 | 22.105 | 44170.3752 | 23.514
44168.396 | 22.6068 | 44169.396 | 23.2881 | 44170.396 | 22.0066
44168.4169 | 21.1511 | 44169.4169 | 21.3587 | 44170.4169 | 23.5229
44168.4377 | 21.2394 | 44169.4377 | 23.5855 | 44170.4377 | 21.9598
44168.4585 | 23.1815 | 44169.4585 | 22.5797 | 44170.4585 | 23.7579
44168.4794 | 23.3453 | 44169.4794 | 23.7567 | 44170.4794 | 23.897
44168.5002 | 22.0961 | 44169.5002 | 21.454 | 44170.5002 | 23.8149
44168.521 | 22.0384 | 44169.521 | 22.0697 | 44170.521 | 22.2499
44168.5419 | 22.6417 | 44169.5419 | 23.8724 | 44170.5419 | 22.7584
44168.5627 | 21.2026 | 44169.5627 | 21.6418 | 44170.5627 | 22.7772
44168.5835 | 21.2654 | 44169.5835 | 23.152 | 44170.5835 | 22.2917
44168.6044 | 22.6018 | 44169.6044 | 23.5992 | 44170.6044 | 22.232
44168.6252 | 21.2437 | 44169.6252 | 22.0597 | 44170.6252 | 21.3319
44168.646 | 22.81 | 44169.646 | 22.354 | 44170.646 | 21.8298
44168.6669 | 22.345 | 44169.6669 | 21.0814 | 44170.6669 | 23.4631
44168.6877 | 22.0399 | 44169.6877 | 22.3801 | 44170.6877 | 23.3553
44168.7085 | 21.905 | 44169.7085 | 22.9732 | 44170.7085 | 21.9348
44168.7294 | 22.6437 | 44169.7294 | 21.4381 | 44170.7294 | 21.651
44168.7502 | 22.0598 | 44169.7502 | 21.7037 | 44170.7502 | 21.1301
44168.771 | 22.5256 | 44169.771 | 21.6115 | 44170.771 | 23.4023
44168.7919 | 22.8055 | 44169.7919 | 21.7242 | 44170.7919 | 23.1561
44168.8127 | 23.578 | 44169.8127 | 21.7394 | 44170.8127 | 22.4343
44168.8335 | 22.5186 | 44169.8335 | 22.7973 | 44170.8335 | 21.2137
44168.8544 | 21.4442 | 44169.8544 | 23.5745 | 44170.8544 | 22.6134
44168.8752 | 23.4574 | 44169.8752 | 23.966 | 44170.8752 | 22.3949
44168.896 | 21.1018 | 44169.896 | 22.8534 | 44170.896 | 21.406
44168.9169 | 22.6186 | 44169.9169 | 22.2474 | 44170.9169 | 23.1024
44168.9377 | 23.1331 | 44169.9377 | 21.8501 | 44170.9377 | 23.2969
44168.9585 | 22.3392 | 44169.9585 | 21.2883 | 44170.9585 | 22.1532
44168.9794 | 22.4929 | 44169.9794 | 21.4051 | 44170.9794 | 22.1868
2020-12-04 | 21.0557 | 2020-12-05 | 21.4865 | 2020-12-06 | 21.9639
Time | oC | Time | oC | Time | oC
44171.021 | 22.893 | 44172.021 | 21.5777
44171.0419 | 23.6509 | 44172.0419 | 22.8772
44171.0627 | 23.0645 | 44172.0627 | 21.1673
44171.0835 | 22.0563 | 44172.0835 | 22.9147
44171.1044 | 23.8056 | 44172.1044 | 21.4826
44171.1252 | 21.8288 | 44172.1252 | 21.9757
44171.146 | 23.7166 | 44172.146 | 22.1105
44171.1669 | 22.4121 | 44172.1669 | 22.5997
44171.1877 | 23.7445 | 44172.1877 | 22.7704
44171.2085 | 22.1257 | 44172.2085 | 22.6856
44171.2294 | 21.9481 | 44172.2294 | 22.2522
44171.2502 | 21.1825 | 44172.2502 | 21.3503
44171.271 | 22.3537 | 44172.271 | 23.5506
44171.2919 | 23.5569 | 44172.2919 | 21.3987
44171.3127 | 23.7927 | 44172.3127 | 23.0559
44171.3335 | 21.9811 | 44172.3335 | 23.0981
44171.3544 | 21.8048 | 44172.3544 | 23.7341
44171.3752 | 23.7604 | 44172.3752 | 23.0211
44171.396 | 22.3176 | 44172.396 | 22.9818
44171.4169 | 23.6364 | 44172.4169 | 22.5391
44171.4377 | 21.367 | 44172.4377 | 22.5431
44171.4585 | 23.7059 | 44172.4585 | 21.035
44171.4794 | 21.0004 | 44172.4794 | 22.8774
44171.5002 | 21.0689 | 44172.5002 | 22.317
44171.521 | 22.1886 | 44172.521 | 23.6264
44171.5419 | 22.4651 | 44172.5419 | 22.0325
44171.5627 | 23.8183 | 44172.5627 | 21.0398
44171.5835 | 22.4583 | 44172.5835 | 21.9283
44171.6044 | 22.4045 | 44172.6044 | 21.6765
44171.6252 | 21.7536 | 44172.6252 | 22.9758
44171.646 | 21.0712 | 44172.646 | 23.0166
44171.6669 | 21.498 | 44172.6669 | 21.4377
44171.6877 | 21.9047 | 44172.6877 | 23.8542
44171.7085 | 22.8069 | 44172.7085 | 21.2371
44171.7294 | 22.9567 | 44172.7294 | 22.295
44171.7502 | 22.7482 | 44172.7502 | 22.4262
44171.771 | 21.2252 | 44172.771 | 23.2351
44171.7919 | 21.297 | 44172.7919 | 22.2224
44171.8127 | 23.9222 | 44172.8127 | 21.7724
44171.8335 | 22.2782 | 44172.8335 | 21.2346
44171.8544 | 21.4935 | 44172.8544 | 21.0158
44171.8752 | 23.4574 | 44172.8752 | 23.6153
44171.896 | 23.2165 | 44172.896 | 23.3933
44171.9169 | 23.7315 | 44172.9169 | 22.0233
44171.9377 | 23.32 | 44172.9377 | 23.315
44171.9585 | 23.3819 | 44172.9585 | 21.79
44171.9794 | 22.1545 | 44172.9794 | 21.4143
2020-12-07 | 21.8565