## Sheet1
File is created on: 08/12/2020 08:30
REPORT POINT 6-150
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 01/12/2020 08:00:16
Temp Units:°C |  |  | Expected Stop Time: 07/12/2020 23:30:16
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-12
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 01/12/2020 08:00:16
Lower Limit(Temp): 15°C |  |  |  | Last Point: 07/12/2020 23:30:16
Max(Temp)_oC | 27.9642 | Min(Temp)_oC | 23.0309 | Avg(Temp)_oC | 24.9481
Time | oC | Time | oC | Time | oC
2020-12-01 08:00 | 23.2572 | 44166.896 | 26.4544 | 44167.4585 | 24.6632
44166.3544 | 23.9723 | 44166.9169 | 24.1991 | 44167.4794 | 23.9558
44166.3752 | 24.0446 | 44166.9377 | 25.2118 | 44167.5002 | 24.9802
44166.396 | 26.2484 | 44166.9585 | 23.1051 | 44167.521 | 25.544
44166.4169 | 24.0864 | 44166.9794 | 24.0376 | 44167.5419 | 23.5579
44166.4377 | 25.0355 | 2020-12-02 | 25.8441 | 44167.5627 | 23.0702
44166.4585 | 23.7622 | 44167.021 | 24.0733 | 44167.5835 | 23.1535
44166.4794 | 23.9215 | 44167.0419 | 23.3777 | 44167.6044 | 23.3537
44166.5002 | 25.4771 | 44167.0627 | 25.5575 | 44167.6252 | 25.6931
44166.521 | 23.5566 | 44167.0835 | 23.0438 | 44167.646 | 23.1267
44166.5419 | 25.165 | 44167.1044 | 24.733 | 44167.6669 | 25.1674
44166.5627 | 25.3665 | 44167.1252 | 25.612 | 44167.6877 | 23.9363
44166.5835 | 25.0618 | 44167.146 | 25.6855 | 44167.7085 | 23.3383
44166.6044 | 26.0773 | 44167.1669 | 23.8759 | 44167.7294 | 24.1488
44166.6252 | 23.9014 | 44167.1877 | 23.5835 | 44167.7502 | 24.2257
44166.646 | 23.4703 | 44167.2085 | 25.7563 | 44167.771 | 25.7588
44166.6669 | 25.0572 | 44167.2294 | 25.1571 | 44167.7919 | 25.8569
44166.6877 | 24.2196 | 44167.2502 | 23.319 | 44167.8127 | 25.6573
44166.7085 | 25.1416 | 44167.271 | 23.6925 | 44167.8335 | 24.2722
44166.7294 | 25.0871 | 44167.2919 | 23.6889 | 44167.8544 | 23.0499
44166.7502 | 23.4435 | 44167.3127 | 24.6889 | 44167.8752 | 25.7048
44166.771 | 24.3919 | 44167.3335 | 25.7503 | 44167.896 | 25.0294
44166.7919 | 24.7402 | 44167.3544 | 24.7936 | 44167.9169 | 25.9089
44166.8127 | 23.3654 | 44167.3752 | 23.5236 | 44167.9377 | 25.4067
44166.8335 | 23.6437 | 44167.396 | 23.1976 | 44167.9585 | 24.0749
44166.8544 | 23.5087 | 44167.4169 | 24.3063 | 44167.9794 | 23.7147
44166.8752 | 26.9805 | 44167.4377 | 25.4503 | 2020-12-03 | 25.4741
Time | oC | Time | oC | Time | oC
44168.021 | 24.7704 | 44169.021 | 27.7971 | 44170.021 | 23.3821
44168.0419 | 23.9683 | 44169.0419 | 27.5069 | 44170.0419 | 23.6076
44168.0627 | 24.259 | 44169.0627 | 23.4468 | 44170.0627 | 25.5104
44168.0835 | 23.9271 | 44169.0835 | 25.1477 | 44170.0835 | 24.5101
44168.1044 | 25.4227 | 44169.1044 | 27.6656 | 44170.1044 | 25.6533
44168.1252 | 25.444 | 44169.1252 | 23.2793 | 44170.1252 | 24.2522
44168.146 | 24.1844 | 44169.146 | 25.8398 | 44170.146 | 25.15
44168.1669 | 23.6297 | 44169.1669 | 26.7374 | 44170.1669 | 25.4018
44168.1877 | 24.1716 | 44169.1877 | 25.1485 | 44170.1877 | 26.4446
44168.2085 | 23.6189 | 44169.2085 | 26.1383 | 44170.2085 | 23.9806
44168.2294 | 23.6164 | 44169.2294 | 25.9528 | 44170.2294 | 24.9944
44168.2502 | 24.9109 | 44169.2502 | 24.5624 | 44170.2502 | 26.6845
44168.271 | 24.9279 | 44169.271 | 26.273 | 44170.271 | 25.4832
44168.2919 | 25.3243 | 44169.2919 | 27.3694 | 44170.2919 | 26.0329
44168.3127 | 24.7602 | 44169.3127 | 24.5372 | 44170.3127 | 23.9319
44168.3335 | 25.0053 | 44169.3335 | 27.4169 | 44170.3335 | 24.7495
44168.3544 | 25.5912 | 44169.3544 | 23.6286 | 44170.3544 | 23.5359
44168.3752 | 24.7843 | 44169.3752 | 27.9642 | 44170.3752 | 24.9849
44168.396 | 23.5713 | 44169.396 | 26.2895 | 44170.396 | 23.0457
44168.4169 | 24.6577 | 44169.4169 | 24.5901 | 44170.4169 | 24.6833
44168.4377 | 24.054 | 44169.4377 | 26.513 | 44170.4377 | 25.5635
44168.4585 | 25.0658 | 44169.4585 | 24.4137 | 44170.4585 | 25.6176
44168.4794 | 23.1236 | 44169.4794 | 26.6407 | 44170.4794 | 23.9063
44168.5002 | 25.6465 | 44169.5002 | 27.0047 | 44170.5002 | 23.2138
44168.521 | 23.9715 | 44169.521 | 24.0432 | 44170.521 | 24.0111
44168.5419 | 24.5317 | 44169.5419 | 25.1461 | 44170.5419 | 24.2425
44168.5627 | 24.5327 | 44169.5627 | 24.1124 | 44170.5627 | 24.5367
44168.5835 | 24.327 | 44169.5835 | 24.1423 | 44170.5835 | 24.6512
44168.6044 | 23.0997 | 44169.6044 | 27.2948 | 44170.6044 | 25.6108
44168.6252 | 23.0309 | 44169.6252 | 27.3524 | 44170.6252 | 23.4568
44168.646 | 24.7387 | 44169.646 | 27.6744 | 44170.646 | 24.2991
44168.6669 | 25.5691 | 44169.6669 | 24.0592 | 44170.6669 | 24.9402
44168.6877 | 24.3194 | 44169.6877 | 27.019 | 44170.6877 | 26.2165
44168.7085 | 23.4088 | 44169.7085 | 24.9399 | 44170.7085 | 23.8206
44168.7294 | 25.7786 | 44169.7294 | 23.312 | 44170.7294 | 23.8379
44168.7502 | 25.5123 | 44169.7502 | 25.4414 | 44170.7502 | 24.2386
44168.771 | 23.3361 | 44169.771 | 25.0184 | 44170.771 | 24.6452
44168.7919 | 24.2904 | 44169.7919 | 23.6814 | 44170.7919 | 23.2823
44168.8127 | 24.8781 | 44169.8127 | 25.1885 | 44170.8127 | 26.9565
44168.8335 | 25.9625 | 44169.8335 | 26.1356 | 44170.8335 | 24.9104
44168.8544 | 24.6637 | 44169.8544 | 26.921 | 44170.8544 | 24.6381
44168.8752 | 24.4195 | 44169.8752 | 24.3028 | 44170.8752 | 25.469
44168.896 | 23.6403 | 44169.896 | 26.4759 | 44170.896 | 25.9696
44168.9169 | 24.5073 | 44169.9169 | 26.1421 | 44170.9169 | 25.3008
44168.9377 | 25.7871 | 44169.9377 | 27.0349 | 44170.9377 | 23.5345
44168.9585 | 23.5181 | 44169.9585 | 23.9068 | 44170.9585 | 25.5702
44168.9794 | 24.0416 | 44169.9794 | 27.3444 | 44170.9794 | 26.3974
2020-12-04 | 25.5585 | 2020-12-05 | 25.0497 | 2020-12-06 | 26.9152
Time | oC | Time | oC | Time | oC
44171.021 | 23.2202 | 44172.021 | 26.3385
44171.0419 | 25.676 | 44172.0419 | 25.8769
44171.0627 | 23.9861 | 44172.0627 | 23.3581
44171.0835 | 25.8454 | 44172.0835 | 25.5838
44171.1044 | 23.257 | 44172.1044 | 26.718
44171.1252 | 23.6714 | 44172.1252 | 26.6897
44171.146 | 26.2047 | 44172.146 | 25.2729
44171.1669 | 26.1827 | 44172.1669 | 24.6838
44171.1877 | 25.9408 | 44172.1877 | 24.9731
44171.2085 | 23.4629 | 44172.2085 | 25.4387
44171.2294 | 25.7434 | 44172.2294 | 26.8489
44171.2502 | 23.5047 | 44172.2502 | 25.9957
44171.271 | 24.2161 | 44172.271 | 23.516
44171.2919 | 25.7804 | 44172.2919 | 26.4643
44171.3127 | 23.3368 | 44172.3127 | 25.4628
44171.3335 | 24.2038 | 44172.3335 | 25.6197
44171.3544 | 23.0845 | 44172.3544 | 25.5092
44171.3752 | 24.276 | 44172.3752 | 24.8383
44171.396 | 24.3309 | 44172.396 | 26.6527
44171.4169 | 24.7889 | 44172.4169 | 26.0542
44171.4377 | 25.2904 | 44172.4377 | 24.7265
44171.4585 | 26.8339 | 44172.4585 | 23.8617
44171.4794 | 26.2456 | 44172.4794 | 24.8069
44171.5002 | 26.0474 | 44172.5002 | 23.4277
44171.521 | 26.7696 | 44172.521 | 26.0638
44171.5419 | 26.7673 | 44172.5419 | 25.814
44171.5627 | 25.5248 | 44172.5627 | 23.9672
44171.5835 | 25.7947 | 44172.5835 | 24.5963
44171.6044 | 26.7688 | 44172.6044 | 25.8572
44171.6252 | 24.2195 | 44172.6252 | 26.3037
44171.646 | 23.8035 | 44172.646 | 26.0909
44171.6669 | 24.5327 | 44172.6669 | 24.5254
44171.6877 | 24.0554 | 44172.6877 | 26.2024
44171.7085 | 25.5243 | 44172.7085 | 23.4227
44171.7294 | 26.4597 | 44172.7294 | 25.8902
44171.7502 | 25.7877 | 44172.7502 | 25.551
44171.771 | 26.3629 | 44172.771 | 26.3566
44171.7919 | 24.3369 | 44172.7919 | 23.4834
44171.8127 | 24.4999 | 44172.8127 | 24.3783
44171.8335 | 26.5965 | 44172.8335 | 26.5831
44171.8544 | 23.7709 | 44172.8544 | 23.7663
44171.8752 | 24.8663 | 44172.8752 | 26.5702
44171.896 | 24.3003 | 44172.896 | 26.9396
44171.9169 | 26.7185 | 44172.9169 | 25.8855
44171.9377 | 25.2603 | 44172.9377 | 26.3945
44171.9585 | 24.263 | 44172.9585 | 24.1525
44171.9794 | 25.7991 | 44172.9794 | 24.4778
2020-12-07 | 26.7208