## Sheet1
File is created on: 08/12/2020 08:30
REPORT POINT 6-60
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 01/12/2020 08:00:16
Temp Units:°C |  |  | Expected Stop Time: 07/12/2020 23:30:16
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-10
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 01/12/2020 08:00:16
Lower Limit(Temp): 15°C |  |  |  | Last Point: 07/12/2020 23:30:16
Max(Temp)_oC | 26.9674 | Min(Temp)_oC | 22.4278 | Avg(Temp)_oC | 24.3122
Time | oC | Time | oC | Time | oC
2020-12-01 08:00 | 25.6522 | 44166.896 | 23.7687 | 44167.4585 | 26.685
44166.3544 | 24.2965 | 44166.9169 | 24.5309 | 44167.4794 | 26.0875
44166.3752 | 24.2092 | 44166.9377 | 26.0333 | 44167.5002 | 26.9123
44166.396 | 24.0228 | 44166.9585 | 26.676 | 44167.521 | 23.3764
44166.4169 | 26.6298 | 44166.9794 | 26.1805 | 44167.5419 | 24.2527
44166.4377 | 24.142 | 2020-12-02 | 26.4493 | 44167.5627 | 26.3992
44166.4585 | 25.3409 | 44167.021 | 24.1308 | 44167.5835 | 24.2673
44166.4794 | 24.1792 | 44167.0419 | 23.2394 | 44167.6044 | 25.5798
44166.5002 | 25.8551 | 44167.0627 | 26.2719 | 44167.6252 | 23.8538
44166.521 | 25.0029 | 44167.0835 | 24.6836 | 44167.646 | 23.0675
44166.5419 | 24.5973 | 44167.1044 | 26.3779 | 44167.6669 | 23.4085
44166.5627 | 23.0888 | 44167.1252 | 25.4443 | 44167.6877 | 23.8221
44166.5835 | 23.5262 | 44167.146 | 24.897 | 44167.7085 | 26.741
44166.6044 | 25.3897 | 44167.1669 | 23.6748 | 44167.7294 | 23.8417
44166.6252 | 24.9688 | 44167.1877 | 26.4393 | 44167.7502 | 24.0904
44166.646 | 23.12 | 44167.2085 | 26.7934 | 44167.771 | 25.2627
44166.6669 | 24.7965 | 44167.2294 | 25.749 | 44167.7919 | 24.6691
44166.6877 | 23.4774 | 44167.2502 | 24.1311 | 44167.8127 | 25.0467
44166.7085 | 23.1391 | 44167.271 | 25.7869 | 44167.8335 | 24.9768
44166.7294 | 23.3208 | 44167.2919 | 26.6577 | 44167.8544 | 24.7789
44166.7502 | 24.8627 | 44167.3127 | 26.5792 | 44167.8752 | 24.0534
44166.771 | 26.74 | 44167.3335 | 24.2273 | 44167.896 | 25.9622
44166.7919 | 24.2278 | 44167.3544 | 24.0847 | 44167.9169 | 24.5906
44166.8127 | 25.8149 | 44167.3752 | 25.6345 | 44167.9377 | 24.9547
44166.8335 | 24.7213 | 44167.396 | 23.3253 | 44167.9585 | 24.1378
44166.8544 | 26.4835 | 44167.4169 | 26.0139 | 44167.9794 | 25.5157
44166.8752 | 23.005 | 44167.4377 | 23.7845 | 2020-12-03 | 23.6798
Time | oC | Time | oC | Time | oC
44168.021 | 24.5216 | 44169.021 | 24.32 | 44170.021 | 24.98
44168.0419 | 24.0892 | 44169.0419 | 23.24 | 44170.0419 | 24.5
44168.0627 | 26.8346 | 44169.0627 | 23.07 | 44170.0627 | 23.6
44168.0835 | 26.2252 | 44169.0835 | 23.04 | 44170.0835 | 23.65
44168.1044 | 22.5687 | 44169.1044 | 24.3 | 44170.1044 | 24.55
44168.1252 | 26.7074 | 44169.1252 | 23.43 | 44170.1252 | 23.88
44168.146 | 22.5157 | 44169.146 | 23.54 | 44170.146 | 23.96
44168.1669 | 25.1887 | 44169.1669 | 23.74 | 44170.1669 | 23.08
44168.1877 | 26.9392 | 44169.1877 | 24.73 | 44170.1877 | 24.66
44168.2085 | 26.5395 | 44169.2085 | 23.85 | 44170.2085 | 23.1
44168.2294 | 24.7963 | 44169.2294 | 24.6 | 44170.2294 | 24.18
44168.2502 | 24.3824 | 44169.2502 | 23.65 | 44170.2502 | 23.34
44168.271 | 25.046 | 44169.271 | 23.68 | 44170.271 | 23.97
44168.2919 | 25.2931 | 44169.2919 | 23.41 | 44170.2919 | 23.3
44168.3127 | 24.3048 | 44169.3127 | 24.05 | 44170.3127 | 23.05
44168.3335 | 24.4232 | 44169.3335 | 24.91 | 44170.3335 | 24.55
44168.3544 | 24.2595 | 44169.3544 | 24.5 | 44170.3544 | 23.35
44168.3752 | 24.2476 | 44169.3752 | 24.83 | 44170.3752 | 23.83
44168.396 | 25.2991 | 44169.396 | 23.86 | 44170.396 | 23.86
44168.4169 | 24.1542 | 44169.4169 | 23.33 | 44170.4169 | 23.65
44168.4377 | 24.5852 | 44169.4377 | 23.76 | 44170.4377 | 23.29
44168.4585 | 26.7076 | 44169.4585 | 24.85 | 44170.4585 | 23.62
44168.4794 | 22.728 | 44169.4794 | 24.96 | 44170.4794 | 24.76
44168.5002 | 23.9875 | 44169.5002 | 23.36 | 44170.5002 | 23.38
44168.521 | 26.2682 | 44169.521 | 24.62 | 44170.521 | 24.8
44168.5419 | 23.3897 | 44169.5419 | 23.12 | 44170.5419 | 24.81
44168.5627 | 23.201 | 44169.5627 | 23.65 | 44170.5627 | 23.07
44168.5835 | 25.1175 | 44169.5835 | 23.4 | 44170.5835 | 24.24
44168.6044 | 25.8182 | 44169.6044 | 24.64 | 44170.6044 | 23.89
44168.6252 | 24.1756 | 44169.6252 | 24.01 | 44170.6252 | 23.89
44168.646 | 22.4278 | 44169.646 | 24.16 | 44170.646 | 24.57
44168.6669 | 26.9674 | 44169.6669 | 24.07 | 44170.6669 | 23.87
44168.6877 | 23.9192 | 44169.6877 | 24.97 | 44170.6877 | 24.84
44168.7085 | 22.905 | 44169.7085 | 24.78 | 44170.7085 | 24.88
44168.7294 | 24.165 | 44169.7294 | 23.37 | 44170.7294 | 24.89
44168.7502 | 25.9178 | 44169.7502 | 24.3 | 44170.7502 | 23.9
44168.771 | 23.5612 | 44169.771 | 23.7 | 44170.771 | 24.12
44168.7919 | 26.4073 | 44169.7919 | 23.08 | 44170.7919 | 23.28
44168.8127 | 23.8611 | 44169.8127 | 24.25 | 44170.8127 | 24.92
44168.8335 | 22.6482 | 44169.8335 | 23.32 | 44170.8335 | 24.62
44168.8544 | 23.0692 | 44169.8544 | 23.53 | 44170.8544 | 24.14
44168.8752 | 23.7446 | 44169.8752 | 24.26 | 44170.8752 | 24.8
44168.896 | 23.6279 | 44169.896 | 23.84 | 44170.896 | 24.8
44168.9169 | 23.0906 | 44169.9169 | 23.98 | 44170.9169 | 23.91
44168.9377 | 23.5145 | 44169.9377 | 24.44 | 44170.9377 | 23.62
44168.9585 | 23.4748 | 44169.9585 | 24.13 | 44170.9585 | 23.07
44168.9794 | 26.1872 | 44169.9794 | 24.51 | 44170.9794 | 23.47
2020-12-04 | 24.53 | 2020-12-05 | 25 | 2020-12-06 | 23.77
Time | oC | Time | oC | Time | oC
44171.021 | 23.03 | 44172.021 | 23.61
44171.0419 | 23.16 | 44172.0419 | 23.82
44171.0627 | 23.8 | 44172.0627 | 24.89
44171.0835 | 23.54 | 44172.0835 | 24.84
44171.1044 | 23.06 | 44172.1044 | 23.38
44171.1252 | 23.83 | 44172.1252 | 24.05
44171.146 | 24.55 | 44172.146 | 25
44171.1669 | 23.24 | 44172.1669 | 24.42
44171.1877 | 24.13 | 44172.1877 | 24.08
44171.2085 | 24.64 | 44172.2085 | 23.07
44171.2294 | 24.37 | 44172.2294 | 23.57
44171.2502 | 24.23 | 44172.2502 | 24.98
44171.271 | 24.96 | 44172.271 | 23.93
44171.2919 | 23.91 | 44172.2919 | 24.95
44171.3127 | 24.6 | 44172.3127 | 24.72
44171.3335 | 24.7 | 44172.3335 | 24.75
44171.3544 | 23.56 | 44172.3544 | 23.45
44171.3752 | 24.9 | 44172.3752 | 24.27
44171.396 | 24.44 | 44172.396 | 23.21
44171.4169 | 24.26 | 44172.4169 | 24.12
44171.4377 | 24.43 | 44172.4377 | 24.65
44171.4585 | 23.92 | 44172.4585 | 23.04
44171.4794 | 24.53 | 44172.4794 | 23.18
44171.5002 | 23.42 | 44172.5002 | 24.1
44171.521 | 23.97 | 44172.521 | 24.05
44171.5419 | 24.82 | 44172.5419 | 23.3
44171.5627 | 23.34 | 44172.5627 | 23.49
44171.5835 | 23.15 | 44172.5835 | 24.64
44171.6044 | 24.27 | 44172.6044 | 23.93
44171.6252 | 24.05 | 44172.6252 | 24.77
44171.646 | 23.55 | 44172.646 | 23.24
44171.6669 | 23.85 | 44172.6669 | 23.55
44171.6877 | 23.8 | 44172.6877 | 24.12
44171.7085 | 24.15 | 44172.7085 | 24.42
44171.7294 | 24.7 | 44172.7294 | 24.44
44171.7502 | 23.34 | 44172.7502 | 24.56
44171.771 | 23.54 | 44172.771 | 24.77
44171.7919 | 24.71 | 44172.7919 | 23.35
44171.8127 | 23.38 | 44172.8127 | 24.53
44171.8335 | 23.63 | 44172.8335 | 23.88
44171.8544 | 23.84 | 44172.8544 | 24.53
44171.8752 | 23.94 | 44172.8752 | 24.82
44171.896 | 23.66 | 44172.896 | 23.55
44171.9169 | 24.1 | 44172.9169 | 23.04
44171.9377 | 23.38 | 44172.9377 | 24.34
44171.9585 | 23.43 | 44172.9585 | 23.06
44171.9794 | 23.71 | 44172.9794 | 24.86
2020-12-07 | 24.15