## Sheet1
File is created on: 24/12/2020 08:30
REPORT POINT 1-120
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 17/12/2020 08:00:48
Temp Units:°C |  |  | Expected Stop Time: 23/12/2020 23:30:48
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-2
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 17/12/2020 08:00:48
Lower Limit(Temp): 15°C |  |  |  | Last Point: 23/12/2020 23:30:48
Max(Temp)_oC | 29.48 | Min(Temp)_oC | 22.52 | Avg(Temp)_oC | 26.0439
Time | oC | Time | oC | Time | oC
2020-12-17 08:00 | 29.16 | 44166.8964 | 26.78 | 44167.4589 | 28.81
44166.3547 | 26.74 | 44166.9172 | 26.75 | 44167.4797 | 27.86
44166.3756 | 25.67 | 44166.9381 | 25.59 | 44167.5006 | 24.39
44166.3964 | 28.01 | 44166.9589 | 26.28 | 44167.5214 | 26.53
44166.4172 | 27.29 | 44166.9797 | 26.98 | 44167.5422 | 27.15
44166.4381 | 29.29 | 2020-12-18 | 24.72 | 44167.5631 | 27.04
44166.4589 | 26.82 | 44167.0214 | 25.46 | 44167.5839 | 23.74
44166.4797 | 24.43 | 44167.0422 | 22.58 | 44167.6047 | 23.07
44166.5006 | 23.52 | 44167.0631 | 27.27 | 44167.6256 | 26.39
44166.5214 | 26.68 | 44167.0839 | 28.39 | 44167.6464 | 25.17
44166.5422 | 28.59 | 44167.1047 | 23.01 | 44167.6672 | 24.1
44166.5631 | 27.65 | 44167.1256 | 22.86 | 44167.6881 | 23.01
44166.5839 | 27.02 | 44167.1464 | 23.28 | 44167.7089 | 28.73
44166.6047 | 23.75 | 44167.1672 | 29.14 | 44167.7297 | 27.3
44166.6256 | 27.92 | 44167.1881 | 27.31 | 44167.7506 | 28.91
44166.6464 | 26.51 | 44167.2089 | 26.29 | 44167.7714 | 26.65
44166.6672 | 27.15 | 44167.2297 | 22.9 | 44167.7922 | 28.56
44166.6881 | 24.45 | 44167.2506 | 26.74 | 44167.8131 | 29.21
44166.7089 | 28.01 | 44167.2714 | 24.39 | 44167.8339 | 28.78
44166.7297 | 27.77 | 44167.2922 | 26.05 | 44167.8547 | 22.68
44166.7506 | 26.59 | 44167.3131 | 24.69 | 44167.8756 | 25.35
44166.7714 | 22.52 | 44167.3339 | 28.47 | 44167.8964 | 24.91
44166.7922 | 29.13 | 44167.3547 | 29.24 | 44167.9172 | 28.69
44166.8131 | 25.61 | 44167.3756 | 23.03 | 44167.9381 | 28.38
44166.8339 | 26.46 | 44167.3964 | 24.92 | 44167.9589 | 24.59
44166.8547 | 23.23 | 44167.4172 | 23.17 | 44167.9797 | 23.18
44166.8756 | 24.02 | 44167.4381 | 28.72 | 2020-12-19 | 28.7
Time | oC | Time | oC | Time | oC
44168.0214 | 29.09 | 44169.0214 | 23.77 | 44170.0214 | 26.44
44168.0422 | 23.17 | 44169.0422 | 23.37 | 44170.0422 | 23.13
44168.0631 | 24.59 | 44169.0631 | 25.19 | 44170.0631 | 29.38
44168.0839 | 29.44 | 44169.0839 | 23.45 | 44170.0839 | 27.67
44168.1047 | 26.7 | 44169.1047 | 28.12 | 44170.1047 | 29.18
44168.1256 | 27.91 | 44169.1256 | 23.56 | 44170.1256 | 23.63
44168.1464 | 23.4 | 44169.1464 | 26.29 | 44170.1464 | 23.69
44168.1672 | 28.82 | 44169.1672 | 23.24 | 44170.1672 | 22.63
44168.1881 | 29.15 | 44169.1881 | 25.13 | 44170.1881 | 24.69
44168.2089 | 24.85 | 44169.2089 | 24.22 | 44170.2089 | 23.97
44168.2297 | 22.92 | 44169.2297 | 29.42 | 44170.2297 | 24.57
44168.2506 | 27.06 | 44169.2506 | 24.54 | 44170.2506 | 24.1
44168.2714 | 28.13 | 44169.2714 | 25.43 | 44170.2714 | 23.06
44168.2922 | 22.94 | 44169.2922 | 25.41 | 44170.2922 | 27.8
44168.3131 | 26.9 | 44169.3131 | 27.58 | 44170.3131 | 27.61
44168.3339 | 27.3 | 44169.3339 | 26.11 | 44170.3339 | 26.79
44168.3547 | 24.23 | 44169.3547 | 23.9 | 44170.3547 | 27.51
44168.3756 | 22.99 | 44169.3756 | 26.04 | 44170.3756 | 26.61
44168.3964 | 24.56 | 44169.3964 | 28.93 | 44170.3964 | 22.52
44168.4172 | 25.09 | 44169.4172 | 24.82 | 44170.4172 | 27.72
44168.4381 | 27.21 | 44169.4381 | 27.08 | 44170.4381 | 23.16
44168.4589 | 23.23 | 44169.4589 | 27.08 | 44170.4589 | 26.12
44168.4797 | 23.18 | 44169.4797 | 29.41 | 44170.4797 | 24.29
44168.5006 | 26.36 | 44169.5006 | 26.11 | 44170.5006 | 25.79
44168.5214 | 24.07 | 44169.5214 | 27.88 | 44170.5214 | 26.93
44168.5422 | 27.95 | 44169.5422 | 27.82 | 44170.5422 | 28.47
44168.5631 | 26.45 | 44169.5631 | 27.62 | 44170.5631 | 28.19
44168.5839 | 27.44 | 44169.5839 | 25.44 | 44170.5839 | 27.43
44168.6047 | 27.05 | 44169.6047 | 29.16 | 44170.6047 | 25.91
44168.6256 | 24.27 | 44169.6256 | 28.56 | 44170.6256 | 25.6
44168.6464 | 26.38 | 44169.6464 | 24.6 | 44170.6464 | 24.14
44168.6672 | 25.93 | 44169.6672 | 26.07 | 44170.6672 | 26.92
44168.6881 | 24.79 | 44169.6881 | 25.64 | 44170.6881 | 27.18
44168.7089 | 25.93 | 44169.7089 | 23.41 | 44170.7089 | 26.02
44168.7297 | 27.19 | 44169.7297 | 28.36 | 44170.7297 | 28.97
44168.7506 | 27.74 | 44169.7506 | 23.79 | 44170.7506 | 28.49
44168.7714 | 27.78 | 44169.7714 | 27.17 | 44170.7714 | 23.95
44168.7922 | 25.44 | 44169.7922 | 24.18 | 44170.7922 | 28.29
44168.8131 | 23.73 | 44169.8131 | 26.24 | 44170.8131 | 25.47
44168.8339 | 28.15 | 44169.8339 | 23.91 | 44170.8339 | 27.06
44168.8547 | 22.73 | 44169.8547 | 28.51 | 44170.8547 | 28.05
44168.8756 | 24.33 | 44169.8756 | 27.71 | 44170.8756 | 28.46
44168.8964 | 28.71 | 44169.8964 | 27.1 | 44170.8964 | 25.05
44168.9172 | 23.56 | 44169.9172 | 27.79 | 44170.9172 | 29.46
44168.9381 | 25 | 44169.9381 | 25.13 | 44170.9381 | 27.57
44168.9589 | 22.92 | 44169.9589 | 29.15 | 44170.9589 | 25.28
44168.9797 | 24.24 | 44169.9797 | 22.53 | 44170.9797 | 28.45
2020-12-20 | 26.08 | 2020-12-21 | 27.6 | 2020-12-22 | 26.33
Time | oC | Time | oC | Time | oC
44171.0214 | 24.14 | 44172.0214 | 26.65
44171.0422 | 27.76 | 44172.0422 | 22.93
44171.0631 | 26.92 | 44172.0631 | 23.29
44171.0839 | 28.04 | 44172.0839 | 26.64
44171.1047 | 23.92 | 44172.1047 | 25.45
44171.1256 | 24.63 | 44172.1256 | 28.61
44171.1464 | 24.64 | 44172.1464 | 25.85
44171.1672 | 26.27 | 44172.1672 | 24.82
44171.1881 | 24.67 | 44172.1881 | 28.4
44171.2089 | 28.21 | 44172.2089 | 28.4
44171.2297 | 26.31 | 44172.2297 | 29.34
44171.2506 | 23.83 | 44172.2506 | 22.57
44171.2714 | 27.72 | 44172.2714 | 25.59
44171.2922 | 25.54 | 44172.2922 | 25.73
44171.3131 | 25.3 | 44172.3131 | 25.77
44171.3339 | 24.9 | 44172.3339 | 23
44171.3547 | 29.08 | 44172.3547 | 23.87
44171.3756 | 28.15 | 44172.3756 | 27.89
44171.3964 | 25.53 | 44172.3964 | 25.14
44171.4172 | 23.59 | 44172.4172 | 24.79
44171.4381 | 23.74 | 44172.4381 | 27.82
44171.4589 | 25.36 | 44172.4589 | 26.7
44171.4797 | 23.76 | 44172.4797 | 23.5
44171.5006 | 25.43 | 44172.5006 | 24.94
44171.5214 | 29.4 | 44172.5214 | 24.28
44171.5422 | 23.89 | 44172.5422 | 24.25
44171.5631 | 24.25 | 44172.5631 | 22.54
44171.5839 | 24.77 | 44172.5839 | 26.15
44171.6047 | 27.42 | 44172.6047 | 27.8
44171.6256 | 26.72 | 44172.6256 | 23.83
44171.6464 | 25.03 | 44172.6464 | 28.01
44171.6672 | 27.24 | 44172.6672 | 27.93
44171.6881 | 29.48 | 44172.6881 | 23.41
44171.7089 | 24.65 | 44172.7089 | 28.46
44171.7297 | 29.19 | 44172.7297 | 28.18
44171.7506 | 28.57 | 44172.7506 | 27.27
44171.7714 | 22.64 | 44172.7714 | 24.78
44171.7922 | 26.44 | 44172.7922 | 23.2
44171.8131 | 28.11 | 44172.8131 | 28.52
44171.8339 | 29.02 | 44172.8339 | 23.72
44171.8547 | 23.58 | 44172.8547 | 23.4
44171.8756 | 24.58 | 44172.8756 | 26.54
44171.8964 | 28.94 | 44172.8964 | 26.69
44171.9172 | 22.64 | 44172.9172 | 23.76
44171.9381 | 29.43 | 44172.9381 | 27.45
44171.9589 | 28.43 | 44172.9589 | 28.19
44171.9797 | 25.99 | 44172.9797 | 23.35
2020-12-23 | 25.54