## Sheet1
File is created on: 24/12/2020 08:30
REPORT POINT 1-30
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 17/12/2020 08:00:48
Temp Units:°C |  |  | Expected Stop Time: 23/12/2020 23:30:48
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-1
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 17/12/2020 08:00:48
Lower Limit(Temp): 15°C |  |  |  | Last Point: 23/12/2020 23:30:48
Max(Temp)_oC | 29.43 | Min(Temp)_oC | 22.52 | Avg(Temp)_oC | 26.0971
Time | oC | Time | oC | Time | oC
2020-12-17 08:00 | 27 | 44166.8964 | 26.42 | 44167.4589 | 28.16
44166.3547 | 29 | 44166.9172 | 26.19 | 44167.4797 | 27.42
44166.3756 | 22.54 | 44166.9381 | 25.11 | 44167.5006 | 24.55
44166.3964 | 23.44 | 44166.9589 | 22.54 | 44167.5214 | 22.65
44166.4172 | 27.33 | 44166.9797 | 23.4 | 44167.5422 | 28.25
44166.4381 | 28 | 2020-12-18 | 27.22 | 44167.5631 | 25.39
44166.4589 | 28.46 | 44167.0214 | 28.49 | 44167.5839 | 23.21
44166.4797 | 24.35 | 44167.0422 | 25.07 | 44167.6047 | 29.13
44166.5006 | 24.99 | 44167.0631 | 22.76 | 44167.6256 | 25.07
44166.5214 | 28.09 | 44167.0839 | 23.94 | 44167.6464 | 26.77
44166.5422 | 23.73 | 44167.1047 | 24.84 | 44167.6672 | 27.46
44166.5631 | 29.29 | 44167.1256 | 25.54 | 44167.6881 | 26.73
44166.5839 | 23.14 | 44167.1464 | 23.54 | 44167.7089 | 24.93
44166.6047 | 25.43 | 44167.1672 | 24.59 | 44167.7297 | 24.55
44166.6256 | 25.41 | 44167.1881 | 23.64 | 44167.7506 | 26.89
44166.6464 | 28.82 | 44167.2089 | 24.21 | 44167.7714 | 29.43
44166.6672 | 26.26 | 44167.2297 | 24.43 | 44167.7922 | 22.74
44166.6881 | 24.29 | 44167.2506 | 25.83 | 44167.8131 | 25.24
44166.7089 | 25.05 | 44167.2714 | 23.81 | 44167.8339 | 28.72
44166.7297 | 25.71 | 44167.2922 | 28.3 | 44167.8547 | 23.95
44166.7506 | 27.74 | 44167.3131 | 28.9 | 44167.8756 | 23.96
44166.7714 | 23.8 | 44167.3339 | 26.11 | 44167.8964 | 23.28
44166.7922 | 25.45 | 44167.3547 | 27.92 | 44167.9172 | 23.49
44166.8131 | 23.22 | 44167.3756 | 25.66 | 44167.9381 | 23.51
44166.8339 | 25.75 | 44167.3964 | 28.66 | 44167.9589 | 23.59
44166.8547 | 27.93 | 44167.4172 | 25.63 | 44167.9797 | 26.17
44166.8756 | 28.83 | 44167.4381 | 28.99 | 2020-12-19 | 26.84
Time | oC | Time | oC | Time | oC
44168.0214 | 26.04 | 44169.0214 | 28.24 | 44170.0214 | 23.32
44168.0422 | 29.14 | 44169.0422 | 27.72 | 44170.0422 | 26.76
44168.0631 | 24.66 | 44169.0631 | 25.55 | 44170.0631 | 26.15
44168.0839 | 28.53 | 44169.0839 | 23.76 | 44170.0839 | 25.16
44168.1047 | 27.72 | 44169.1047 | 28.15 | 44170.1047 | 25.31
44168.1256 | 27.46 | 44169.1256 | 23.69 | 44170.1256 | 26.63
44168.1464 | 24.95 | 44169.1464 | 26.23 | 44170.1464 | 26
44168.1672 | 28.06 | 44169.1672 | 28.07 | 44170.1672 | 27.03
44168.1881 | 23.16 | 44169.1881 | 25.63 | 44170.1881 | 27.98
44168.2089 | 23.34 | 44169.2089 | 23.95 | 44170.2089 | 27.01
44168.2297 | 29.23 | 44169.2297 | 27.22 | 44170.2297 | 28.66
44168.2506 | 22.6 | 44169.2506 | 28.78 | 44170.2506 | 25.38
44168.2714 | 29.13 | 44169.2714 | 25.67 | 44170.2714 | 25.9
44168.2922 | 26.28 | 44169.2922 | 27.23 | 44170.2922 | 25.72
44168.3131 | 23.76 | 44169.3131 | 25.11 | 44170.3131 | 24.79
44168.3339 | 24.02 | 44169.3339 | 26.08 | 44170.3339 | 24.28
44168.3547 | 28.17 | 44169.3547 | 25.55 | 44170.3547 | 26.44
44168.3756 | 23.98 | 44169.3756 | 25.77 | 44170.3756 | 26.72
44168.3964 | 22.73 | 44169.3964 | 24.59 | 44170.3964 | 26.22
44168.4172 | 23.87 | 44169.4172 | 24.44 | 44170.4172 | 27.16
44168.4381 | 23.87 | 44169.4381 | 27.44 | 44170.4381 | 27.42
44168.4589 | 28.37 | 44169.4589 | 25.27 | 44170.4589 | 25.5
44168.4797 | 24.84 | 44169.4797 | 24.9 | 44170.4797 | 23.04
44168.5006 | 22.53 | 44169.5006 | 27.56 | 44170.5006 | 26.01
44168.5214 | 27.8 | 44169.5214 | 26.65 | 44170.5214 | 24.89
44168.5422 | 24.11 | 44169.5422 | 27.06 | 44170.5422 | 26.24
44168.5631 | 28 | 44169.5631 | 22.71 | 44170.5631 | 24.61
44168.5839 | 28.07 | 44169.5839 | 26.43 | 44170.5839 | 22.52
44168.6047 | 27.21 | 44169.6047 | 25.15 | 44170.6047 | 26.13
44168.6256 | 25.94 | 44169.6256 | 28.22 | 44170.6256 | 27.71
44168.6464 | 27.04 | 44169.6464 | 23.79 | 44170.6464 | 26.45
44168.6672 | 23.07 | 44169.6672 | 29.22 | 44170.6672 | 23.47
44168.6881 | 25.1 | 44169.6881 | 28.46 | 44170.6881 | 25.46
44168.7089 | 28.78 | 44169.7089 | 29.08 | 44170.7089 | 27.68
44168.7297 | 22.92 | 44169.7297 | 28.75 | 44170.7297 | 28.9
44168.7506 | 27.27 | 44169.7506 | 27.11 | 44170.7506 | 26.69
44168.7714 | 26.62 | 44169.7714 | 26.15 | 44170.7714 | 27.22
44168.7922 | 26.27 | 44169.7922 | 22.7 | 44170.7922 | 25.1
44168.8131 | 28.48 | 44169.8131 | 25.72 | 44170.8131 | 23.82
44168.8339 | 26.32 | 44169.8339 | 25.21 | 44170.8339 | 28.85
44168.8547 | 27.29 | 44169.8547 | 28.98 | 44170.8547 | 25.25
44168.8756 | 24.49 | 44169.8756 | 28.28 | 44170.8756 | 26.46
44168.8964 | 24.26 | 44169.8964 | 23.32 | 44170.8964 | 26.02
44168.9172 | 28.72 | 44169.9172 | 25.56 | 44170.9172 | 24.31
44168.9381 | 29.15 | 44169.9381 | 27.83 | 44170.9381 | 27.49
44168.9589 | 25.21 | 44169.9589 | 26.99 | 44170.9589 | 27.83
44168.9797 | 28.04 | 44169.9797 | 27.72 | 44170.9797 | 28.42
2020-12-20 | 25.59 | 2020-12-21 | 29.23 | 2020-12-22 | 28.63
Time | oC | Time | oC | Time | oC
44171.0214 | 25.7 | 44172.0214 | 28.06
44171.0422 | 26.96 | 44172.0422 | 25.91
44171.0631 | 25.35 | 44172.0631 | 25.05
44171.0839 | 23.16 | 44172.0839 | 24.58
44171.1047 | 27.37 | 44172.1047 | 25.77
44171.1256 | 29.23 | 44172.1256 | 25.97
44171.1464 | 29.41 | 44172.1464 | 23.61
44171.1672 | 22.58 | 44172.1672 | 27.6
44171.1881 | 26.17 | 44172.1881 | 26.8
44171.2089 | 25.8 | 44172.2089 | 26.61
44171.2297 | 28.25 | 44172.2297 | 28.7
44171.2506 | 28.4 | 44172.2506 | 25.62
44171.2714 | 26.89 | 44172.2714 | 24.61
44171.2922 | 24.08 | 44172.2922 | 27.23
44171.3131 | 24.6 | 44172.3131 | 23.88
44171.3339 | 22.84 | 44172.3339 | 29.28
44171.3547 | 26.44 | 44172.3547 | 29.07
44171.3756 | 24.32 | 44172.3756 | 23.44
44171.3964 | 25.98 | 44172.3964 | 27.05
44171.4172 | 29.06 | 44172.4172 | 24.5
44171.4381 | 25.44 | 44172.4381 | 27.47
44171.4589 | 24.88 | 44172.4589 | 23.94
44171.4797 | 29.31 | 44172.4797 | 24.05
44171.5006 | 29.4 | 44172.5006 | 23.42
44171.5214 | 29.37 | 44172.5214 | 27.33
44171.5422 | 24.47 | 44172.5422 | 24.01
44171.5631 | 24.17 | 44172.5631 | 25.72
44171.5839 | 27.37 | 44172.5839 | 25.23
44171.6047 | 23.69 | 44172.6047 | 25
44171.6256 | 29.19 | 44172.6256 | 28.27
44171.6464 | 28.37 | 44172.6464 | 27.22
44171.6672 | 27.81 | 44172.6672 | 29.04
44171.6881 | 28.96 | 44172.6881 | 28.38
44171.7089 | 23.64 | 44172.7089 | 24.91
44171.7297 | 26.77 | 44172.7297 | 25.05
44171.7506 | 26.1 | 44172.7506 | 26.97
44171.7714 | 23.7 | 44172.7714 | 26.13
44171.7922 | 23.58 | 44172.7922 | 26.84
44171.8131 | 24.26 | 44172.8131 | 25.52
44171.8339 | 23.83 | 44172.8339 | 25.6
44171.8547 | 27.11 | 44172.8547 | 28.81
44171.8756 | 24.19 | 44172.8756 | 27.4
44171.8964 | 28.83 | 44172.8964 | 25.28
44171.9172 | 28.14 | 44172.9172 | 27.88
44171.9381 | 23.2 | 44172.9381 | 28.44
44171.9589 | 27.12 | 44172.9589 | 22.74
44171.9797 | 29.05 | 44172.9797 | 27.05
2020-12-23 | 24.76