## Sheet1
File is created on: 24/12/2020 08:30
REPORT POINT 2-120
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 17/12/2020 08:00:48
Temp Units:°C |  |  | Expected Stop Time: 23/12/2020 23:30:48
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-5
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 17/12/2020 08:00:48
Lower Limit(Temp): 15°C |  |  |  | Last Point: 23/12/2020 23:30:48
Max(Temp)_oC | 25.9811 | Min(Temp)_oC | 22.0141 | Avg(Temp)_oC | 23.8808
Time | oC | Time | oC | Time | oC
2020-12-17 08:00 | 24.7395 | 44166.8964 | 23.946 | 44167.4589 | 22.0141
44166.3547 | 22.725 | 44166.9172 | 25.3821 | 44167.4797 | 22.5677
44166.3756 | 25.6137 | 44166.9381 | 25.2055 | 44167.5006 | 22.7912
44166.3964 | 22.4844 | 44166.9589 | 24.788 | 44167.5214 | 23.2484
44166.4172 | 25.8143 | 44166.9797 | 24.0983 | 44167.5422 | 24.7216
44166.4381 | 25.8199 | 2020-12-18 | 25.5002 | 44167.5631 | 23.2241
44166.4589 | 24.3494 | 44167.0214 | 24.3593 | 44167.5839 | 22.2527
44166.4797 | 25.3712 | 44167.0422 | 22.3073 | 44167.6047 | 23.9476
44166.5006 | 25.0601 | 44167.0631 | 24.9243 | 44167.6256 | 23.0285
44166.5214 | 23.7782 | 44167.0839 | 22.6899 | 44167.6464 | 22.4842
44166.5422 | 23.1938 | 44167.1047 | 22.3573 | 44167.6672 | 23.9541
44166.5631 | 23.3078 | 44167.1256 | 22.7499 | 44167.6881 | 25.611
44166.5839 | 23.8 | 44167.1464 | 24.7852 | 44167.7089 | 23.6414
44166.6047 | 22.8379 | 44167.1672 | 22.9083 | 44167.7297 | 22.5747
44166.6256 | 24.7891 | 44167.1881 | 22.9013 | 44167.7506 | 25.1283
44166.6464 | 23.7226 | 44167.2089 | 22.251 | 44167.7714 | 25.8829
44166.6672 | 23.0913 | 44167.2297 | 23.8637 | 44167.7922 | 24.3386
44166.6881 | 24.4048 | 44167.2506 | 24.8891 | 44167.8131 | 23.6699
44166.7089 | 22.1183 | 44167.2714 | 22.2945 | 44167.8339 | 22.3563
44166.7297 | 23.2329 | 44167.2922 | 23.1031 | 44167.8547 | 22.7033
44166.7506 | 22.6058 | 44167.3131 | 23.4325 | 44167.8756 | 22.2366
44166.7714 | 24.6196 | 44167.3339 | 23.0322 | 44167.8964 | 24.8841
44166.7922 | 23.6167 | 44167.3547 | 22.0477 | 44167.9172 | 22.0412
44166.8131 | 25.7134 | 44167.3756 | 24.4894 | 44167.9381 | 24.4108
44166.8339 | 25.4741 | 44167.3964 | 23.9538 | 44167.9589 | 23.7011
44166.8547 | 24.2772 | 44167.4172 | 24.7522 | 44167.9797 | 25.1897
44166.8756 | 22.3942 | 44167.4381 | 24.3528 | 2020-12-19 | 22.0931
Time | oC | Time | oC | Time | oC
44168.0214 | 25.4221 | 44169.0214 | 25.7432 | 44170.0214 | 22.642
44168.0422 | 22.2427 | 44169.0422 | 25.1361 | 44170.0422 | 22.2026
44168.0631 | 24.7562 | 44169.0631 | 22.3894 | 44170.0631 | 25.0109
44168.0839 | 23.407 | 44169.0839 | 22.9628 | 44170.0839 | 23.0869
44168.1047 | 25.0384 | 44169.1047 | 23.1097 | 44170.1047 | 25.7603
44168.1256 | 23.4455 | 44169.1256 | 22.9041 | 44170.1256 | 22.916
44168.1464 | 23.5298 | 44169.1464 | 22.2937 | 44170.1464 | 23.9029
44168.1672 | 25.8367 | 44169.1672 | 25.7375 | 44170.1672 | 23.3576
44168.1881 | 22.675 | 44169.1881 | 23.1403 | 44170.1881 | 25.4319
44168.2089 | 24.0132 | 44169.2089 | 22.4202 | 44170.2089 | 23.7187
44168.2297 | 22.4348 | 44169.2297 | 24.2952 | 44170.2297 | 25.5392
44168.2506 | 23.3719 | 44169.2506 | 22.0592 | 44170.2506 | 23.7767
44168.2714 | 23.3748 | 44169.2714 | 23.447 | 44170.2714 | 22.4386
44168.2922 | 25.297 | 44169.2922 | 23.3764 | 44170.2922 | 24.8348
44168.3131 | 25.138 | 44169.3131 | 23.3894 | 44170.3131 | 25.4389
44168.3339 | 25.7726 | 44169.3339 | 24.7847 | 44170.3339 | 25.5073
44168.3547 | 23.9822 | 44169.3547 | 22.9496 | 44170.3547 | 25.7376
44168.3756 | 23.131 | 44169.3756 | 22.331 | 44170.3756 | 24.1639
44168.3964 | 24.0963 | 44169.3964 | 25.5237 | 44170.3964 | 22.9671
44168.4172 | 25.7172 | 44169.4172 | 23.3162 | 44170.4172 | 22.069
44168.4381 | 24.7495 | 44169.4381 | 24.9746 | 44170.4381 | 22.865
44168.4589 | 23.5855 | 44169.4589 | 24.003 | 44170.4589 | 22.0311
44168.4797 | 23.7922 | 44169.4797 | 22.8194 | 44170.4797 | 24.5594
44168.5006 | 22.9232 | 44169.5006 | 24.7189 | 44170.5006 | 24.3125
44168.5214 | 23.7355 | 44169.5214 | 23.7017 | 44170.5214 | 23.8336
44168.5422 | 22.5654 | 44169.5422 | 22.1379 | 44170.5422 | 23.8854
44168.5631 | 23.5466 | 44169.5631 | 24.7473 | 44170.5631 | 22.6094
44168.5839 | 23.0588 | 44169.5839 | 23.8708 | 44170.5839 | 24.5594
44168.6047 | 22.9506 | 44169.6047 | 22.6862 | 44170.6047 | 25.355
44168.6256 | 24.8857 | 44169.6256 | 23.5356 | 44170.6256 | 25.2243
44168.6464 | 23.2585 | 44169.6464 | 25.1376 | 44170.6464 | 24.3984
44168.6672 | 22.4493 | 44169.6672 | 22.8754 | 44170.6672 | 22.9296
44168.6881 | 25.2108 | 44169.6881 | 24.9181 | 44170.6881 | 22.8096
44168.7089 | 24.8005 | 44169.7089 | 24.537 | 44170.7089 | 24.6624
44168.7297 | 23.0296 | 44169.7297 | 25.8691 | 44170.7297 | 22.3395
44168.7506 | 25.6033 | 44169.7506 | 25.0409 | 44170.7506 | 24.946
44168.7714 | 23.8326 | 44169.7714 | 22.1509 | 44170.7714 | 24.4499
44168.7922 | 24.2833 | 44169.7922 | 24.7033 | 44170.7922 | 22.9272
44168.8131 | 25.3204 | 44169.8131 | 24.3305 | 44170.8131 | 24.3636
44168.8339 | 25.8747 | 44169.8339 | 22.4637 | 44170.8339 | 22.2343
44168.8547 | 22.3669 | 44169.8547 | 22.5661 | 44170.8547 | 23.4265
44168.8756 | 25.4446 | 44169.8756 | 24.2863 | 44170.8756 | 23.8637
44168.8964 | 22.756 | 44169.8964 | 23.3132 | 44170.8964 | 25.0306
44168.9172 | 22.2649 | 44169.9172 | 25.87 | 44170.9172 | 22.2734
44168.9381 | 23.5973 | 44169.9381 | 25.5646 | 44170.9381 | 25.3483
44168.9589 | 25.518 | 44169.9589 | 24.2246 | 44170.9589 | 25.3583
44168.9797 | 22.1993 | 44169.9797 | 24.1035 | 44170.9797 | 22.1196
2020-12-20 | 23.738 | 2020-12-21 | 22.6496 | 2020-12-22 | 24.2329
Time | oC | Time | oC | Time | oC
44171.0214 | 23.9318 | 44172.0214 | 25.4674
44171.0422 | 23.632 | 44172.0422 | 23.7845
44171.0631 | 23.6454 | 44172.0631 | 23.7083
44171.0839 | 25.9214 | 44172.0839 | 23.4183
44171.1047 | 22.1959 | 44172.1047 | 25.5746
44171.1256 | 22.4617 | 44172.1256 | 23.8397
44171.1464 | 23.0916 | 44172.1464 | 23.7483
44171.1672 | 24.0954 | 44172.1672 | 23.1458
44171.1881 | 24.3182 | 44172.1881 | 24.4931
44171.2089 | 25.6076 | 44172.2089 | 23.1815
44171.2297 | 22.3673 | 44172.2297 | 24.228
44171.2506 | 25.8899 | 44172.2506 | 24.3768
44171.2714 | 22.9746 | 44172.2714 | 23.6652
44171.2922 | 25.2191 | 44172.2922 | 23.996
44171.3131 | 23.1932 | 44172.3131 | 25.2724
44171.3339 | 22.1807 | 44172.3339 | 24.461
44171.3547 | 23.6022 | 44172.3547 | 25.4332
44171.3756 | 24.4591 | 44172.3756 | 22.5244
44171.3964 | 23.4834 | 44172.3964 | 22.1271
44171.4172 | 22.8599 | 44172.4172 | 22.8207
44171.4381 | 24.6141 | 44172.4381 | 22.943
44171.4589 | 22.5627 | 44172.4589 | 25.7008
44171.4797 | 22.9101 | 44172.4797 | 22.8007
44171.5006 | 24.4774 | 44172.5006 | 22.7749
44171.5214 | 24.2513 | 44172.5214 | 24.8726
44171.5422 | 23.9062 | 44172.5422 | 25.9545
44171.5631 | 25.5309 | 44172.5631 | 24.3621
44171.5839 | 22.164 | 44172.5839 | 23.8732
44171.6047 | 22.176 | 44172.6047 | 22.6585
44171.6256 | 25.7167 | 44172.6256 | 23.9338
44171.6464 | 25.4543 | 44172.6464 | 24.0071
44171.6672 | 25.5091 | 44172.6672 | 24.4443
44171.6881 | 22.9689 | 44172.6881 | 23.1689
44171.7089 | 25.7564 | 44172.7089 | 25.8231
44171.7297 | 22.3437 | 44172.7297 | 24.9921
44171.7506 | 25.2272 | 44172.7506 | 25.2875
44171.7714 | 24.7892 | 44172.7714 | 25.8619
44171.7922 | 23.5137 | 44172.7922 | 25.922
44171.8131 | 23.6857 | 44172.8131 | 23.8181
44171.8339 | 25.9811 | 44172.8339 | 23.353
44171.8547 | 23.7087 | 44172.8547 | 24.552
44171.8756 | 23.3648 | 44172.8756 | 22.4718
44171.8964 | 25.1281 | 44172.8964 | 23.2379
44171.9172 | 25.1108 | 44172.9172 | 22.1745
44171.9381 | 23.53 | 44172.9381 | 24.1999
44171.9589 | 22.2474 | 44172.9589 | 22.4245
44171.9797 | 22.9197 | 44172.9797 | 22.0156
2020-12-23 | 24.6712