## Sheet1
File is created on: 24/12/2020 08:30
REPORT POINT 2-210
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 17/12/2020 08:00:48
Temp Units:°C |  |  | Expected Stop Time: 23/12/2020 23:30:48
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-6
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 17/12/2020 08:00:48
Lower Limit(Temp): 15°C |  |  |  | Last Point: 23/12/2020 23:30:48
Max(Temp)_oC | 25.9873 | Min(Temp)_oC | 22.0521 | Avg(Temp)_oC | 24.0316
Time | oC | Time | oC | Time | oC
2020-12-17 08:00 | 25.3764 | 44166.8964 | 23.9322 | 44167.4589 | 23.4534
44166.3547 | 25.6371 | 44166.9172 | 22.3969 | 44167.4797 | 25.2759
44166.3756 | 24.7026 | 44166.9381 | 24.4062 | 44167.5006 | 25.0496
44166.3964 | 22.6537 | 44166.9589 | 25.0593 | 44167.5214 | 22.197
44166.4172 | 23.7745 | 44166.9797 | 24.9368 | 44167.5422 | 25.1423
44166.4381 | 25.1127 | 2020-12-18 | 23.2763 | 44167.5631 | 23.7843
44166.4589 | 25.1156 | 44167.0214 | 23.3324 | 44167.5839 | 22.0693
44166.4797 | 23.7852 | 44167.0422 | 25.9378 | 44167.6047 | 22.1716
44166.5006 | 24.2797 | 44167.0631 | 22.6204 | 44167.6256 | 25.1717
44166.5214 | 24.2405 | 44167.0839 | 24.9894 | 44167.6464 | 23.2716
44166.5422 | 22.3958 | 44167.1047 | 25.9197 | 44167.6672 | 24.3522
44166.5631 | 24.0111 | 44167.1256 | 24.4987 | 44167.6881 | 22.833
44166.5839 | 22.1066 | 44167.1464 | 24.9692 | 44167.7089 | 24.0551
44166.6047 | 22.9663 | 44167.1672 | 22.2039 | 44167.7297 | 24.752
44166.6256 | 24.1193 | 44167.1881 | 25.477 | 44167.7506 | 22.1825
44166.6464 | 25.1266 | 44167.2089 | 25.8346 | 44167.7714 | 23.3791
44166.6672 | 25.0034 | 44167.2297 | 24.2503 | 44167.7922 | 25.1105
44166.6881 | 23.7811 | 44167.2506 | 24.8607 | 44167.8131 | 23.0556
44166.7089 | 25.372 | 44167.2714 | 23.8217 | 44167.8339 | 23.7769
44166.7297 | 25.002 | 44167.2922 | 24.4308 | 44167.8547 | 25.7331
44166.7506 | 24.7068 | 44167.3131 | 24.6327 | 44167.8756 | 22.2516
44166.7714 | 23.4025 | 44167.3339 | 25.176 | 44167.8964 | 25.9873
44166.7922 | 24.5868 | 44167.3547 | 23.5827 | 44167.9172 | 22.7033
44166.8131 | 24.4896 | 44167.3756 | 22.821 | 44167.9381 | 25.3991
44166.8339 | 24.7611 | 44167.3964 | 25.3578 | 44167.9589 | 25.722
44166.8547 | 23.5348 | 44167.4172 | 24.044 | 44167.9797 | 23.3271
44166.8756 | 25.046 | 44167.4381 | 24.3226 | 2020-12-19 | 22.8824
Time | oC | Time | oC | Time | oC
44168.0214 | 24.3291 | 44169.0214 | 22.9482 | 44170.0214 | 23.6688
44168.0422 | 22.5601 | 44169.0422 | 22.1228 | 44170.0422 | 22.37
44168.0631 | 22.0521 | 44169.0631 | 24.8403 | 44170.0631 | 24.7182
44168.0839 | 25.4189 | 44169.0839 | 24.6817 | 44170.0839 | 23.4403
44168.1047 | 24.7903 | 44169.1047 | 25.0982 | 44170.1047 | 23.9524
44168.1256 | 24.9019 | 44169.1256 | 23.2346 | 44170.1256 | 22.9515
44168.1464 | 24.3536 | 44169.1464 | 24.494 | 44170.1464 | 23.9378
44168.1672 | 22.8196 | 44169.1672 | 22.9399 | 44170.1672 | 23.0572
44168.1881 | 25.1389 | 44169.1881 | 23.3945 | 44170.1881 | 22.2415
44168.2089 | 23.0843 | 44169.2089 | 23.8438 | 44170.2089 | 24.8162
44168.2297 | 24.0663 | 44169.2297 | 24.7863 | 44170.2297 | 22.7777
44168.2506 | 22.0708 | 44169.2506 | 24.9718 | 44170.2506 | 25.298
44168.2714 | 23.393 | 44169.2714 | 23.5242 | 44170.2714 | 22.6519
44168.2922 | 25.549 | 44169.2922 | 24.4816 | 44170.2922 | 25.9785
44168.3131 | 23.3523 | 44169.3131 | 25.2987 | 44170.3131 | 25.3132
44168.3339 | 24.1082 | 44169.3339 | 23.0131 | 44170.3339 | 22.4397
44168.3547 | 25.279 | 44169.3547 | 25.1508 | 44170.3547 | 25.2991
44168.3756 | 23.0481 | 44169.3756 | 24.49 | 44170.3756 | 22.2256
44168.3964 | 22.101 | 44169.3964 | 24.5155 | 44170.3964 | 25.213
44168.4172 | 23.4377 | 44169.4172 | 24.0377 | 44170.4172 | 24.9053
44168.4381 | 23.2618 | 44169.4381 | 22.1155 | 44170.4381 | 22.4078
44168.4589 | 23.3536 | 44169.4589 | 22.1909 | 44170.4589 | 25.1831
44168.4797 | 24.7762 | 44169.4797 | 23.4328 | 44170.4797 | 25.8888
44168.5006 | 24.7653 | 44169.5006 | 24.0214 | 44170.5006 | 24.6829
44168.5214 | 23.1898 | 44169.5214 | 24.2424 | 44170.5214 | 25.0194
44168.5422 | 22.7931 | 44169.5422 | 24.1813 | 44170.5422 | 24.3172
44168.5631 | 23.0517 | 44169.5631 | 25.7667 | 44170.5631 | 23.0314
44168.5839 | 25.1681 | 44169.5839 | 24.9618 | 44170.5839 | 25.3499
44168.6047 | 23.3163 | 44169.6047 | 23.3471 | 44170.6047 | 24.7369
44168.6256 | 24.6965 | 44169.6256 | 25.2732 | 44170.6256 | 25.1262
44168.6464 | 25.65 | 44169.6464 | 24.3039 | 44170.6464 | 25.7405
44168.6672 | 23.8959 | 44169.6672 | 23.0829 | 44170.6672 | 22.8399
44168.6881 | 24.7444 | 44169.6881 | 22.1023 | 44170.6881 | 22.7272
44168.7089 | 24.1611 | 44169.7089 | 23.5944 | 44170.7089 | 23.5203
44168.7297 | 22.5142 | 44169.7297 | 24.1634 | 44170.7297 | 23.6199
44168.7506 | 24.3135 | 44169.7506 | 22.1255 | 44170.7506 | 24.7379
44168.7714 | 23.3688 | 44169.7714 | 24.1588 | 44170.7714 | 24.1512
44168.7922 | 24.7922 | 44169.7922 | 22.0638 | 44170.7922 | 24.844
44168.8131 | 23.5189 | 44169.8131 | 25.6748 | 44170.8131 | 25.5561
44168.8339 | 22.9273 | 44169.8339 | 25.3635 | 44170.8339 | 22.4037
44168.8547 | 24.6661 | 44169.8547 | 24.7506 | 44170.8547 | 24.2546
44168.8756 | 25.4946 | 44169.8756 | 24.3655 | 44170.8756 | 24.3294
44168.8964 | 23.9978 | 44169.8964 | 22.8023 | 44170.8964 | 22.1775
44168.9172 | 22.4288 | 44169.9172 | 22.4861 | 44170.9172 | 25.4648
44168.9381 | 23.1684 | 44169.9381 | 24.9746 | 44170.9381 | 22.4865
44168.9589 | 25.2565 | 44169.9589 | 22.6275 | 44170.9589 | 24.7653
44168.9797 | 23.7455 | 44169.9797 | 24.7075 | 44170.9797 | 25.3777
2020-12-20 | 22.9623 | 2020-12-21 | 23.2428 | 2020-12-22 | 23.2978
Time | oC | Time | oC | Time | oC
44171.0214 | 25.7599 | 44172.0214 | 24.3415
44171.0422 | 23.0805 | 44172.0422 | 24.2357
44171.0631 | 24.144 | 44172.0631 | 25.855
44171.0839 | 22.5715 | 44172.0839 | 24.2577
44171.1047 | 24.2229 | 44172.1047 | 24.9651
44171.1256 | 24.1327 | 44172.1256 | 24.5307
44171.1464 | 24.9761 | 44172.1464 | 22.5756
44171.1672 | 24.7492 | 44172.1672 | 25.3375
44171.1881 | 24.8927 | 44172.1881 | 22.1026
44171.2089 | 23.4562 | 44172.2089 | 22.4154
44171.2297 | 22.3213 | 44172.2297 | 24.498
44171.2506 | 23.5032 | 44172.2506 | 23.8054
44171.2714 | 23.016 | 44172.2714 | 22.1862
44171.2922 | 25.5857 | 44172.2922 | 22.3495
44171.3131 | 22.1225 | 44172.3131 | 23.6758
44171.3339 | 23.4658 | 44172.3339 | 23.6673
44171.3547 | 24.2578 | 44172.3547 | 25.9826
44171.3756 | 22.3323 | 44172.3756 | 23.1235
44171.3964 | 22.309 | 44172.3964 | 25.0889
44171.4172 | 25.5635 | 44172.4172 | 25.8916
44171.4381 | 25.7296 | 44172.4381 | 25.9001
44171.4589 | 24.6655 | 44172.4589 | 22.5796
44171.4797 | 24.0142 | 44172.4797 | 22.0724
44171.5006 | 25.249 | 44172.5006 | 25.6779
44171.5214 | 24.4486 | 44172.5214 | 23.5791
44171.5422 | 22.2851 | 44172.5422 | 22.3353
44171.5631 | 25.7093 | 44172.5631 | 24.4706
44171.5839 | 24.513 | 44172.5839 | 24.6694
44171.6047 | 25.6886 | 44172.6047 | 24.9916
44171.6256 | 23.9327 | 44172.6256 | 25.7949
44171.6464 | 23.1224 | 44172.6464 | 25.1018
44171.6672 | 24.6404 | 44172.6672 | 25.7516
44171.6881 | 25.7573 | 44172.6881 | 24.3986
44171.7089 | 22.3055 | 44172.7089 | 22.8884
44171.7297 | 25.2491 | 44172.7297 | 24.6292
44171.7506 | 25.9831 | 44172.7506 | 22.3401
44171.7714 | 22.9469 | 44172.7714 | 24.7322
44171.7922 | 24.5695 | 44172.7922 | 23.0444
44171.8131 | 24.8359 | 44172.8131 | 24.8518
44171.8339 | 23.7526 | 44172.8339 | 23.6944
44171.8547 | 24.2278 | 44172.8547 | 22.3156
44171.8756 | 22.751 | 44172.8756 | 23.1671
44171.8964 | 25.629 | 44172.8964 | 22.516
44171.9172 | 22.5916 | 44172.9172 | 24.5866
44171.9381 | 22.4994 | 44172.9381 | 24.6538
44171.9589 | 22.7769 | 44172.9589 | 25.103
44171.9797 | 22.9847 | 44172.9797 | 24.2653
2020-12-23 | 23.4173