## Sheet1
File is created on: 24/12/2020 08:30
REPORT POINT 3-120
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 17/12/2020 08:00:48
Temp Units:°C |  |  | Expected Stop Time: 23/12/2020 23:30:48
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-8
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 17/12/2020 08:00:48
Lower Limit(Temp): 15°C |  |  |  | Last Point: 23/12/2020 23:30:48
Max(Temp)_oC | 26.9887 | Min(Temp)_oC | 22.0123 | Avg(Temp)_oC | 24.5069
Time | oC | Time | oC | Time | oC
2020-12-17 08:00 | 23.0856 | 44166.8964 | 26.2388 | 44167.4589 | 24.851
44166.3547 | 26.7111 | 44166.9172 | 26.628 | 44167.4797 | 26.39
44166.3756 | 24.591 | 44166.9381 | 26.1877 | 44167.5006 | 23.2561
44166.3964 | 23.5428 | 44166.9589 | 22.8663 | 44167.5214 | 23.4899
44166.4172 | 26.2356 | 44166.9797 | 24.6099 | 44167.5422 | 26.4423
44166.4381 | 26.797 | 2020-12-18 | 26.1092 | 44167.5631 | 26.6978
44166.4589 | 25.166 | 44167.0214 | 24.0307 | 44167.5839 | 24.9844
44166.4797 | 25.5946 | 44167.0422 | 26.4364 | 44167.6047 | 26.0648
44166.5006 | 25.646 | 44167.0631 | 25.8353 | 44167.6256 | 25.6859
44166.5214 | 23.2514 | 44167.0839 | 23.4231 | 44167.6464 | 26.3265
44166.5422 | 26.8287 | 44167.1047 | 24.2121 | 44167.6672 | 25.2827
44166.5631 | 23.5867 | 44167.1256 | 23.8046 | 44167.6881 | 23.8778
44166.5839 | 26.6445 | 44167.1464 | 25.2388 | 44167.7089 | 26.7372
44166.6047 | 25.6015 | 44167.1672 | 23.3318 | 44167.7297 | 26.4215
44166.6256 | 26.6542 | 44167.1881 | 22.7221 | 44167.7506 | 25.7882
44166.6464 | 26.8343 | 44167.2089 | 24.3398 | 44167.7714 | 26.1412
44166.6672 | 24.8687 | 44167.2297 | 25.2256 | 44167.7922 | 26.824
44166.6881 | 25.1757 | 44167.2506 | 26.9392 | 44167.8131 | 25.4061
44166.7089 | 22.0244 | 44167.2714 | 24.8191 | 44167.8339 | 24.0394
44166.7297 | 23.5237 | 44167.2922 | 24.6935 | 44167.8547 | 22.9133
44166.7506 | 23.942 | 44167.3131 | 22.8048 | 44167.8756 | 25.4409
44166.7714 | 24.3975 | 44167.3339 | 22.9604 | 44167.8964 | 24.3046
44166.7922 | 24.7633 | 44167.3547 | 25.0557 | 44167.9172 | 23.6577
44166.8131 | 26.4047 | 44167.3756 | 25.7663 | 44167.9381 | 23.4392
44166.8339 | 26.4407 | 44167.3964 | 22.8086 | 44167.9589 | 22.9992
44166.8547 | 22.6794 | 44167.4172 | 23.8544 | 44167.9797 | 22.9246
44166.8756 | 22.1152 | 44167.4381 | 23.3816 | 2020-12-19 | 25.6284
Time | oC | Time | oC | Time | oC
44168.0214 | 26.9697 | 44169.0214 | 23.3954 | 44170.0214 | 26.2435
44168.0422 | 26.2837 | 44169.0422 | 24.8905 | 44170.0422 | 24.1174
44168.0631 | 26.7293 | 44169.0631 | 22.4605 | 44170.0631 | 26.7659
44168.0839 | 25.245 | 44169.0839 | 24.9781 | 44170.0839 | 22.0929
44168.1047 | 24.0467 | 44169.1047 | 22.6714 | 44170.1047 | 24.2967
44168.1256 | 22.9351 | 44169.1256 | 26.0188 | 44170.1256 | 26.6232
44168.1464 | 24.9379 | 44169.1464 | 26.5506 | 44170.1464 | 24.5243
44168.1672 | 23.6167 | 44169.1672 | 23.1537 | 44170.1672 | 24.4752
44168.1881 | 25.047 | 44169.1881 | 26.5216 | 44170.1881 | 24.2225
44168.2089 | 22.2425 | 44169.2089 | 22.1661 | 44170.2089 | 23.1883
44168.2297 | 25.9089 | 44169.2297 | 25.1 | 44170.2297 | 26.7414
44168.2506 | 24.7776 | 44169.2506 | 24.6985 | 44170.2506 | 25.0296
44168.2714 | 24.1797 | 44169.2714 | 22.19 | 44170.2714 | 23.5153
44168.2922 | 22.5894 | 44169.2922 | 24.5068 | 44170.2922 | 23.8505
44168.3131 | 23.0958 | 44169.3131 | 25.1832 | 44170.3131 | 26.6731
44168.3339 | 23.0101 | 44169.3339 | 26.7398 | 44170.3339 | 24.9175
44168.3547 | 24.8182 | 44169.3547 | 23.7439 | 44170.3547 | 22.2797
44168.3756 | 24.7691 | 44169.3756 | 23.7149 | 44170.3756 | 24.5975
44168.3964 | 25.7934 | 44169.3964 | 24.5312 | 44170.3964 | 24.077
44168.4172 | 24.7428 | 44169.4172 | 23.8399 | 44170.4172 | 25.0488
44168.4381 | 24.994 | 44169.4381 | 22.1189 | 44170.4381 | 23.0097
44168.4589 | 22.1976 | 44169.4589 | 24.7715 | 44170.4589 | 26.4174
44168.4797 | 26.1681 | 44169.4797 | 26.7268 | 44170.4797 | 23.8314
44168.5006 | 26.139 | 44169.5006 | 22.4707 | 44170.5006 | 24.7467
44168.5214 | 25.7933 | 44169.5214 | 24.052 | 44170.5214 | 26.5053
44168.5422 | 23.4999 | 44169.5422 | 26.9102 | 44170.5422 | 22.3931
44168.5631 | 24.6032 | 44169.5631 | 22.9617 | 44170.5631 | 22.5059
44168.5839 | 25.3386 | 44169.5839 | 22.2081 | 44170.5839 | 26.8179
44168.6047 | 23.5528 | 44169.6047 | 23.6525 | 44170.6047 | 22.6496
44168.6256 | 23.7305 | 44169.6256 | 22.4411 | 44170.6256 | 25.0522
44168.6464 | 25.0748 | 44169.6464 | 24.3837 | 44170.6464 | 24.4623
44168.6672 | 26.9538 | 44169.6672 | 24.1503 | 44170.6672 | 25.5713
44168.6881 | 22.8382 | 44169.6881 | 22.4991 | 44170.6881 | 25.109
44168.7089 | 22.1771 | 44169.7089 | 22.2692 | 44170.7089 | 22.3952
44168.7297 | 26.1068 | 44169.7297 | 23.2578 | 44170.7297 | 25.1061
44168.7506 | 22.539 | 44169.7506 | 23.6908 | 44170.7506 | 25.3104
44168.7714 | 24.5653 | 44169.7714 | 24.4971 | 44170.7714 | 25.295
44168.7922 | 26.536 | 44169.7922 | 23.4745 | 44170.7922 | 23.4169
44168.8131 | 25.2127 | 44169.8131 | 23.4183 | 44170.8131 | 24.5761
44168.8339 | 22.9877 | 44169.8339 | 24.5978 | 44170.8339 | 25.3803
44168.8547 | 23.4202 | 44169.8547 | 26.8824 | 44170.8547 | 25.517
44168.8756 | 26.3516 | 44169.8756 | 24.556 | 44170.8756 | 26.3642
44168.8964 | 23.4776 | 44169.8964 | 22.7842 | 44170.8964 | 23.2605
44168.9172 | 22.6015 | 44169.9172 | 23.2802 | 44170.9172 | 26.4804
44168.9381 | 22.6569 | 44169.9381 | 22.3909 | 44170.9381 | 25.5696
44168.9589 | 23.9236 | 44169.9589 | 25.9457 | 44170.9589 | 23.1086
44168.9797 | 24.7501 | 44169.9797 | 25.1371 | 44170.9797 | 23.2987
2020-12-20 | 22.5113 | 2020-12-21 | 23.1754 | 2020-12-22 | 25.5984
Time | oC | Time | oC | Time | oC
44171.0214 | 22.6312 | 44172.0214 | 22.0574
44171.0422 | 26.1168 | 44172.0422 | 26.4365
44171.0631 | 22.4456 | 44172.0631 | 25.3175
44171.0839 | 23.8815 | 44172.0839 | 22.9244
44171.1047 | 23.4228 | 44172.1047 | 22.7262
44171.1256 | 22.8845 | 44172.1256 | 26.781
44171.1464 | 26.9716 | 44172.1464 | 26.8205
44171.1672 | 25.9622 | 44172.1672 | 23.3518
44171.1881 | 24.2874 | 44172.1881 | 22.5675
44171.2089 | 24.1554 | 44172.2089 | 25.8481
44171.2297 | 22.2331 | 44172.2297 | 22.2766
44171.2506 | 25.3381 | 44172.2506 | 22.0264
44171.2714 | 25.1978 | 44172.2714 | 22.8874
44171.2922 | 26.8493 | 44172.2922 | 23.7068
44171.3131 | 24.0228 | 44172.3131 | 26.4001
44171.3339 | 22.2358 | 44172.3339 | 25.4756
44171.3547 | 26.3324 | 44172.3547 | 22.2836
44171.3756 | 25.6718 | 44172.3756 | 26.969
44171.3964 | 22.6223 | 44172.3964 | 22.0123
44171.4172 | 26.5615 | 44172.4172 | 23.6356
44171.4381 | 23.285 | 44172.4381 | 22.9264
44171.4589 | 26.9887 | 44172.4589 | 25.6419
44171.4797 | 25.2038 | 44172.4797 | 23.6483
44171.5006 | 23.8585 | 44172.5006 | 26.6037
44171.5214 | 25.845 | 44172.5214 | 26.7224
44171.5422 | 26.1152 | 44172.5422 | 24.1383
44171.5631 | 24.3968 | 44172.5631 | 23.169
44171.5839 | 26.6934 | 44172.5839 | 24.7289
44171.6047 | 22.4835 | 44172.6047 | 25.1168
44171.6256 | 25.8272 | 44172.6256 | 24.4713
44171.6464 | 22.3321 | 44172.6464 | 22.4874
44171.6672 | 22.4885 | 44172.6672 | 25.2209
44171.6881 | 22.1154 | 44172.6881 | 22.6307
44171.7089 | 23.6645 | 44172.7089 | 22.9142
44171.7297 | 25.9022 | 44172.7297 | 26.8376
44171.7506 | 22.5397 | 44172.7506 | 26.5988
44171.7714 | 26.8274 | 44172.7714 | 25.374
44171.7922 | 24.9338 | 44172.7922 | 26.5149
44171.8131 | 22.3632 | 44172.8131 | 26.5013
44171.8339 | 24.3258 | 44172.8339 | 22.39
44171.8547 | 25.3077 | 44172.8547 | 23.0446
44171.8756 | 24.634 | 44172.8756 | 24.8898
44171.8964 | 25.904 | 44172.8964 | 24.9538
44171.9172 | 23.6577 | 44172.9172 | 25.4291
44171.9381 | 25.7156 | 44172.9381 | 25.4583
44171.9589 | 22.4528 | 44172.9589 | 22.4218
44171.9797 | 22.5702 | 44172.9797 | 23.4803
2020-12-23 | 22.4543