## Sheet1
File is created on: 24/12/2020 08:30
REPORT POINT 3-210
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 17/12/2020 08:00:48
Temp Units:°C |  |  | Expected Stop Time: 23/12/2020 23:30:48
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-9
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 17/12/2020 08:00:48
Lower Limit(Temp): 15°C |  |  |  | Last Point: 23/12/2020 23:30:48
Max(Temp)_oC | 25.9476 | Min(Temp)_oC | 21.0048 | Avg(Temp)_oC | 23.468
Time | oC | Time | oC | Time | oC
2020-12-17 08:00 | 24.654 | 44166.8964 | 25.9257 | 44167.4589 | 25.5302
44166.3547 | 25.3072 | 44166.9172 | 22.294 | 44167.4797 | 25.906
44166.3756 | 24.8591 | 44166.9381 | 24.782 | 44167.5006 | 24.1895
44166.3964 | 22.4316 | 44166.9589 | 23.6346 | 44167.5214 | 23.0853
44166.4172 | 24.3084 | 44166.9797 | 21.3041 | 44167.5422 | 24.1253
44166.4381 | 24.0033 | 2020-12-18 | 23.0912 | 44167.5631 | 23.2147
44166.4589 | 22.22 | 44167.0214 | 23.9428 | 44167.5839 | 23.835
44166.4797 | 22.3099 | 44167.0422 | 24.1233 | 44167.6047 | 21.2786
44166.5006 | 22.4811 | 44167.0631 | 23.3839 | 44167.6256 | 24.6545
44166.5214 | 21.2656 | 44167.0839 | 22.2864 | 44167.6464 | 22.5713
44166.5422 | 25.646 | 44167.1047 | 22.3387 | 44167.6672 | 23.1591
44166.5631 | 22.2164 | 44167.1256 | 23.8616 | 44167.6881 | 21.651
44166.5839 | 22.4424 | 44167.1464 | 24.2126 | 44167.7089 | 22.5407
44166.6047 | 25.803 | 44167.1672 | 22.9353 | 44167.7297 | 24.8035
44166.6256 | 21.0296 | 44167.1881 | 24.7576 | 44167.7506 | 23.6027
44166.6464 | 22.1838 | 44167.2089 | 22.8411 | 44167.7714 | 24.502
44166.6672 | 22.4611 | 44167.2297 | 23.9537 | 44167.7922 | 23.1232
44166.6881 | 23.8435 | 44167.2506 | 22.7796 | 44167.8131 | 21.187
44166.7089 | 21.9429 | 44167.2714 | 24.0654 | 44167.8339 | 25.9097
44166.7297 | 22.8283 | 44167.2922 | 21.4781 | 44167.8547 | 21.5048
44166.7506 | 24.7741 | 44167.3131 | 21.4864 | 44167.8756 | 22.3557
44166.7714 | 21.0725 | 44167.3339 | 22.6859 | 44167.8964 | 21.7616
44166.7922 | 24.0097 | 44167.3547 | 21.0845 | 44167.9172 | 22.3409
44166.8131 | 24.4808 | 44167.3756 | 24.7892 | 44167.9381 | 22.5031
44166.8339 | 21.2818 | 44167.3964 | 23.3137 | 44167.9589 | 25.7903
44166.8547 | 24.4145 | 44167.4172 | 25.3975 | 44167.9797 | 25.5261
44166.8756 | 25.1272 | 44167.4381 | 25.2563 | 2020-12-19 | 24.922
Time | oC | Time | oC | Time | oC
44168.0214 | 22.8493 | 44169.0214 | 24.7895 | 44170.0214 | 23.051
44168.0422 | 24.5548 | 44169.0422 | 22.1327 | 44170.0422 | 22.6003
44168.0631 | 24.4855 | 44169.0631 | 24.2743 | 44170.0631 | 22.0984
44168.0839 | 25.4021 | 44169.0839 | 24.5418 | 44170.0839 | 22.7321
44168.1047 | 24.8338 | 44169.1047 | 23.5921 | 44170.1047 | 23.1388
44168.1256 | 23.4715 | 44169.1256 | 22.9561 | 44170.1256 | 23.7361
44168.1464 | 23.6167 | 44169.1464 | 21.7371 | 44170.1464 | 21.933
44168.1672 | 22.8563 | 44169.1672 | 22.4491 | 44170.1672 | 25.0887
44168.1881 | 21.1235 | 44169.1881 | 24.4114 | 44170.1881 | 25.3158
44168.2089 | 22.5164 | 44169.2089 | 24.9829 | 44170.2089 | 22.0145
44168.2297 | 23.9395 | 44169.2297 | 24.5089 | 44170.2297 | 23.9229
44168.2506 | 25.9295 | 44169.2506 | 24.1539 | 44170.2506 | 22.8558
44168.2714 | 24.9841 | 44169.2714 | 22.5121 | 44170.2714 | 22.756
44168.2922 | 25.6744 | 44169.2922 | 23.4167 | 44170.2922 | 22.0829
44168.3131 | 24.0489 | 44169.3131 | 25.3651 | 44170.3131 | 23.9774
44168.3339 | 24.573 | 44169.3339 | 23.8793 | 44170.3339 | 23.9734
44168.3547 | 25.3144 | 44169.3547 | 25.9476 | 44170.3547 | 21.7767
44168.3756 | 23.8172 | 44169.3756 | 25.4263 | 44170.3756 | 21.34
44168.3964 | 24.0695 | 44169.3964 | 22.7708 | 44170.3964 | 22.3178
44168.4172 | 23.6841 | 44169.4172 | 24.8178 | 44170.4172 | 22.6507
44168.4381 | 21.1997 | 44169.4381 | 25.5651 | 44170.4381 | 24.0349
44168.4589 | 24.5906 | 44169.4589 | 23.7537 | 44170.4589 | 24.3556
44168.4797 | 23.4746 | 44169.4797 | 23.0998 | 44170.4797 | 24.9676
44168.5006 | 23.3931 | 44169.5006 | 21.211 | 44170.5006 | 24.5396
44168.5214 | 25.4402 | 44169.5214 | 23.7937 | 44170.5214 | 22.1787
44168.5422 | 22.4847 | 44169.5422 | 23.8116 | 44170.5422 | 25.2935
44168.5631 | 23.9779 | 44169.5631 | 23.7682 | 44170.5631 | 23.9421
44168.5839 | 22.0075 | 44169.5839 | 24.4427 | 44170.5839 | 23.1093
44168.6047 | 24.4934 | 44169.6047 | 24.8422 | 44170.6047 | 22.6908
44168.6256 | 25.076 | 44169.6256 | 24.81 | 44170.6256 | 23.2613
44168.6464 | 21.921 | 44169.6464 | 23.7067 | 44170.6464 | 22.041
44168.6672 | 23.745 | 44169.6672 | 24.5227 | 44170.6672 | 24.8212
44168.6881 | 23.7604 | 44169.6881 | 21.8961 | 44170.6881 | 24.5256
44168.7089 | 23.0973 | 44169.7089 | 22.5383 | 44170.7089 | 25.5726
44168.7297 | 23.5671 | 44169.7297 | 23.8361 | 44170.7297 | 21.2493
44168.7506 | 24.9953 | 44169.7506 | 21.586 | 44170.7506 | 24.1897
44168.7714 | 21.121 | 44169.7714 | 23.9663 | 44170.7714 | 24.9627
44168.7922 | 24.6875 | 44169.7922 | 23.5714 | 44170.7922 | 22.2058
44168.8131 | 25.0024 | 44169.8131 | 24.3022 | 44170.8131 | 23.1813
44168.8339 | 21.9888 | 44169.8339 | 22.3566 | 44170.8339 | 25.2365
44168.8547 | 21.564 | 44169.8547 | 22.705 | 44170.8547 | 24.4537
44168.8756 | 22.5361 | 44169.8756 | 24.8519 | 44170.8756 | 21.4435
44168.8964 | 25.9429 | 44169.8964 | 22.433 | 44170.8964 | 24.342
44168.9172 | 23.7053 | 44169.9172 | 24.1005 | 44170.9172 | 23.2005
44168.9381 | 21.3675 | 44169.9381 | 23.3105 | 44170.9381 | 21.0048
44168.9589 | 24.0025 | 44169.9589 | 25.1182 | 44170.9589 | 21.7026
44168.9797 | 22.0238 | 44169.9797 | 21.3788 | 44170.9797 | 24.097
2020-12-20 | 21.0574 | 2020-12-21 | 22.7526 | 2020-12-22 | 25.3536
Time | oC | Time | oC | Time | oC
44171.0214 | 21.8637 | 44172.0214 | 25.1043
44171.0422 | 21.4107 | 44172.0422 | 22.5923
44171.0631 | 23.8925 | 44172.0631 | 21.081
44171.0839 | 22.665 | 44172.0839 | 21.3576
44171.1047 | 25.9069 | 44172.1047 | 23.3941
44171.1256 | 21.9867 | 44172.1256 | 22.5091
44171.1464 | 23.1518 | 44172.1464 | 22.7271
44171.1672 | 22.1514 | 44172.1672 | 25.7237
44171.1881 | 21.4447 | 44172.1881 | 21.7167
44171.2089 | 23.5082 | 44172.2089 | 22.4514
44171.2297 | 23.1186 | 44172.2297 | 21.3708
44171.2506 | 23.3179 | 44172.2506 | 22.3933
44171.2714 | 22.8543 | 44172.2714 | 25.1665
44171.2922 | 25.638 | 44172.2922 | 25.6691
44171.3131 | 21.5125 | 44172.3131 | 23.7505
44171.3339 | 22.7247 | 44172.3339 | 22.5844
44171.3547 | 23.94 | 44172.3547 | 21.9503
44171.3756 | 23.5915 | 44172.3756 | 25.4617
44171.3964 | 22.8033 | 44172.3964 | 22.2402
44171.4172 | 24.303 | 44172.4172 | 22.0434
44171.4381 | 24.1512 | 44172.4381 | 25.5424
44171.4589 | 23.2754 | 44172.4589 | 21.6435
44171.4797 | 23.1816 | 44172.4797 | 21.4067
44171.5006 | 21.1831 | 44172.5006 | 23.8673
44171.5214 | 21.4013 | 44172.5214 | 25.5523
44171.5422 | 23.4715 | 44172.5422 | 25.7726
44171.5631 | 24.5835 | 44172.5631 | 22.4692
44171.5839 | 24.571 | 44172.5839 | 25.1769
44171.6047 | 25.3301 | 44172.6047 | 23.7582
44171.6256 | 21.5129 | 44172.6256 | 21.7328
44171.6464 | 23.3938 | 44172.6464 | 22.9004
44171.6672 | 21.1366 | 44172.6672 | 21.3358
44171.6881 | 21.4621 | 44172.6881 | 22.5307
44171.7089 | 22.1738 | 44172.7089 | 21.9365
44171.7297 | 24.7542 | 44172.7297 | 23.2486
44171.7506 | 24.2786 | 44172.7506 | 21.4482
44171.7714 | 21.7503 | 44172.7714 | 24.0185
44171.7922 | 23.6496 | 44172.7922 | 25.1078
44171.8131 | 21.4408 | 44172.8131 | 23.8086
44171.8339 | 25.5088 | 44172.8339 | 25.5355
44171.8547 | 21.0273 | 44172.8547 | 25.8987
44171.8756 | 25.1166 | 44172.8756 | 25.8263
44171.8964 | 21.0579 | 44172.8964 | 25.7795
44171.9172 | 23.0619 | 44172.9172 | 25.178
44171.9381 | 25.1144 | 44172.9381 | 24.3536
44171.9589 | 24.7808 | 44172.9589 | 25.6735
44171.9797 | 25.7814 | 44172.9797 | 24.7291
2020-12-23 | 23.3309