## Sheet1
File is created on: 24/12/2020 08:30
REPORT POINT 4-120
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 17/12/2020 08:00:48
Temp Units:°C |  |  | Expected Stop Time: 23/12/2020 23:30:48
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-11
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 17/12/2020 08:00:48
Lower Limit(Temp): 15°C |  |  |  | Last Point: 23/12/2020 23:30:48
Max(Temp)_oC | 24.9898 | Min(Temp)_oC | 20.0382 | Avg(Temp)_oC | 22.5163
Time | oC | Time | oC | Time | oC
2020-12-17 08:00 | 20.7599 | 44166.8964 | 24.7172 | 44167.4589 | 21.6001
44166.3547 | 23.9477 | 44166.9172 | 23.4642 | 44167.4797 | 24.4986
44166.3756 | 23.5134 | 44166.9381 | 20.4928 | 44167.5006 | 20.1957
44166.3964 | 22.9361 | 44166.9589 | 22.8471 | 44167.5214 | 20.6755
44166.4172 | 21.1249 | 44166.9797 | 20.0854 | 44167.5422 | 23.3076
44166.4381 | 24.5534 | 2020-12-18 | 20.2283 | 44167.5631 | 24.0528
44166.4589 | 24.2335 | 44167.0214 | 22.0739 | 44167.5839 | 22.8659
44166.4797 | 23.9164 | 44167.0422 | 22.6449 | 44167.6047 | 21.9755
44166.5006 | 21.7876 | 44167.0631 | 22.66 | 44167.6256 | 20.098
44166.5214 | 23.1241 | 44167.0839 | 21.8798 | 44167.6464 | 22.018
44166.5422 | 24.398 | 44167.1047 | 21.6747 | 44167.6672 | 21.0476
44166.5631 | 23.5403 | 44167.1256 | 23.5104 | 44167.6881 | 24.9078
44166.5839 | 24.8888 | 44167.1464 | 21.5352 | 44167.7089 | 20.7829
44166.6047 | 24.2718 | 44167.1672 | 22.9298 | 44167.7297 | 22.7595
44166.6256 | 20.9676 | 44167.1881 | 20.4841 | 44167.7506 | 21.2137
44166.6464 | 24.3554 | 44167.2089 | 22.2358 | 44167.7714 | 23.7226
44166.6672 | 21.0167 | 44167.2297 | 23.248 | 44167.7922 | 21.572
44166.6881 | 24.4808 | 44167.2506 | 23.5901 | 44167.8131 | 23.3456
44166.7089 | 24.5081 | 44167.2714 | 20.8556 | 44167.8339 | 23.6318
44166.7297 | 20.5933 | 44167.2922 | 20.0382 | 44167.8547 | 20.388
44166.7506 | 24.6804 | 44167.3131 | 24.9604 | 44167.8756 | 20.9929
44166.7714 | 23.8656 | 44167.3339 | 20.1599 | 44167.8964 | 23.0222
44166.7922 | 24.8784 | 44167.3547 | 20.4188 | 44167.9172 | 21.6431
44166.8131 | 20.0577 | 44167.3756 | 23.9839 | 44167.9381 | 21.1278
44166.8339 | 22.8469 | 44167.3964 | 22.3072 | 44167.9589 | 24.7167
44166.8547 | 20.9541 | 44167.4172 | 20.3245 | 44167.9797 | 23.4995
44166.8756 | 21.9319 | 44167.4381 | 24.2083 | 2020-12-19 | 22.762
Time | oC | Time | oC | Time | oC
44168.0214 | 20.2946 | 44169.0214 | 22.8682 | 44170.0214 | 21.256
44168.0422 | 24.1611 | 44169.0422 | 23.3332 | 44170.0422 | 22.6814
44168.0631 | 20.7788 | 44169.0631 | 23.8155 | 44170.0631 | 20.1928
44168.0839 | 20.7814 | 44169.0839 | 22.2031 | 44170.0839 | 24.2248
44168.1047 | 22.8541 | 44169.1047 | 22.2463 | 44170.1047 | 24.4866
44168.1256 | 21.5998 | 44169.1256 | 23.4293 | 44170.1256 | 21.1043
44168.1464 | 21.8938 | 44169.1464 | 24.9824 | 44170.1464 | 24.2635
44168.1672 | 23.1076 | 44169.1672 | 22.7168 | 44170.1672 | 24.7173
44168.1881 | 20.5157 | 44169.1881 | 20.9446 | 44170.1881 | 24.5139
44168.2089 | 24.6418 | 44169.2089 | 24.1972 | 44170.2089 | 21.1712
44168.2297 | 24.7833 | 44169.2297 | 20.2178 | 44170.2297 | 24.6671
44168.2506 | 23.0702 | 44169.2506 | 23.1259 | 44170.2506 | 21.3556
44168.2714 | 20.6967 | 44169.2714 | 23.7814 | 44170.2714 | 22.3625
44168.2922 | 23.8582 | 44169.2922 | 21.8734 | 44170.2922 | 24.2457
44168.3131 | 20.9038 | 44169.3131 | 23.8613 | 44170.3131 | 21.2477
44168.3339 | 24.6521 | 44169.3339 | 22.95 | 44170.3339 | 23.6539
44168.3547 | 22.5127 | 44169.3547 | 22.1331 | 44170.3547 | 20.5545
44168.3756 | 21.6797 | 44169.3756 | 24.0751 | 44170.3756 | 23.6666
44168.3964 | 20.7433 | 44169.3964 | 21.2523 | 44170.3964 | 22.8502
44168.4172 | 24.5437 | 44169.4172 | 22.0323 | 44170.4172 | 21.1333
44168.4381 | 21.2904 | 44169.4381 | 20.7391 | 44170.4381 | 20.9718
44168.4589 | 20.4333 | 44169.4589 | 21.2743 | 44170.4589 | 24.5538
44168.4797 | 24.9657 | 44169.4797 | 23.5985 | 44170.4797 | 23.0736
44168.5006 | 23.409 | 44169.5006 | 20.2893 | 44170.5006 | 21.7079
44168.5214 | 21.607 | 44169.5214 | 23.8066 | 44170.5214 | 24.4523
44168.5422 | 22.2623 | 44169.5422 | 21.0483 | 44170.5422 | 23.4849
44168.5631 | 22.6159 | 44169.5631 | 24.8417 | 44170.5631 | 23.0305
44168.5839 | 22.712 | 44169.5839 | 24.8165 | 44170.5839 | 23.8818
44168.6047 | 21.6094 | 44169.6047 | 23.2965 | 44170.6047 | 22.2076
44168.6256 | 20.8973 | 44169.6256 | 22.7664 | 44170.6256 | 20.2277
44168.6464 | 22.1915 | 44169.6464 | 20.1418 | 44170.6464 | 21.564
44168.6672 | 20.3716 | 44169.6672 | 22.8758 | 44170.6672 | 21.592
44168.6881 | 20.1853 | 44169.6881 | 21.167 | 44170.6881 | 20.8467
44168.7089 | 24.8377 | 44169.7089 | 23.022 | 44170.7089 | 20.2613
44168.7297 | 20.8459 | 44169.7297 | 23.4587 | 44170.7297 | 23.776
44168.7506 | 23.494 | 44169.7506 | 24.9858 | 44170.7506 | 22.7472
44168.7714 | 21.1211 | 44169.7714 | 23.6739 | 44170.7714 | 21.4308
44168.7922 | 24.2144 | 44169.7922 | 24.2321 | 44170.7922 | 21.3528
44168.8131 | 22.1106 | 44169.8131 | 23.9938 | 44170.8131 | 23.8385
44168.8339 | 20.4599 | 44169.8339 | 20.8357 | 44170.8339 | 21.9079
44168.8547 | 23.3843 | 44169.8547 | 24.6416 | 44170.8547 | 21.5473
44168.8756 | 24.1379 | 44169.8756 | 23.7845 | 44170.8756 | 20.8375
44168.8964 | 20.5525 | 44169.8964 | 22.1624 | 44170.8964 | 20.5399
44168.9172 | 21.3593 | 44169.9172 | 23.8854 | 44170.9172 | 20.1164
44168.9381 | 21.8481 | 44169.9381 | 24.0628 | 44170.9381 | 23.5253
44168.9589 | 24.9198 | 44169.9589 | 20.9656 | 44170.9589 | 24.6795
44168.9797 | 21.8235 | 44169.9797 | 20.3756 | 44170.9797 | 24.9898
2020-12-20 | 20.217 | 2020-12-21 | 23.584 | 2020-12-22 | 24.0993
Time | oC | Time | oC | Time | oC
44171.0214 | 21.6267 | 44172.0214 | 20.2267
44171.0422 | 21.7207 | 44172.0422 | 21.8426
44171.0631 | 24.0336 | 44172.0631 | 20.7455
44171.0839 | 21.1295 | 44172.0839 | 23.3838
44171.1047 | 22.0729 | 44172.1047 | 22.2813
44171.1256 | 21.1644 | 44172.1256 | 20.9644
44171.1464 | 23.3819 | 44172.1464 | 22.8971
44171.1672 | 20.2136 | 44172.1672 | 23.4129
44171.1881 | 21.6084 | 44172.1881 | 21.7004
44171.2089 | 23.4177 | 44172.2089 | 23.4124
44171.2297 | 21.1456 | 44172.2297 | 23.5769
44171.2506 | 23.3357 | 44172.2506 | 22.8982
44171.2714 | 20.7018 | 44172.2714 | 23.9978
44171.2922 | 21.1308 | 44172.2922 | 21.446
44171.3131 | 21.3599 | 44172.3131 | 24.0678
44171.3339 | 20.9233 | 44172.3339 | 24.927
44171.3547 | 21.7575 | 44172.3547 | 22.8977
44171.3756 | 21.141 | 44172.3756 | 24.2748
44171.3964 | 20.9847 | 44172.3964 | 24.0663
44171.4172 | 20.2518 | 44172.4172 | 22.7091
44171.4381 | 24.1026 | 44172.4381 | 22.0688
44171.4589 | 21.8375 | 44172.4589 | 20.9879
44171.4797 | 23.4239 | 44172.4797 | 24.8588
44171.5006 | 20.7039 | 44172.5006 | 22.1632
44171.5214 | 23.5265 | 44172.5214 | 23.0957
44171.5422 | 24.9314 | 44172.5422 | 23.2245
44171.5631 | 22.3991 | 44172.5631 | 21.2348
44171.5839 | 24.4993 | 44172.5839 | 20.4422
44171.6047 | 23.5725 | 44172.6047 | 20.7959
44171.6256 | 21.8187 | 44172.6256 | 24.2461
44171.6464 | 23.4173 | 44172.6464 | 22.4333
44171.6672 | 21.9803 | 44172.6672 | 24.3125
44171.6881 | 24.9519 | 44172.6881 | 21.7361
44171.7089 | 21.9146 | 44172.7089 | 22.2268
44171.7297 | 22.5566 | 44172.7297 | 20.8393
44171.7506 | 21.8702 | 44172.7506 | 24.681
44171.7714 | 20.4335 | 44172.7714 | 24.4006
44171.7922 | 23.3373 | 44172.7922 | 22.4915
44171.8131 | 24.5251 | 44172.8131 | 22.4741
44171.8339 | 22.7711 | 44172.8339 | 24.9499
44171.8547 | 20.8641 | 44172.8547 | 22.8094
44171.8756 | 21.8208 | 44172.8756 | 22.1846
44171.8964 | 21.7191 | 44172.8964 | 21.8439
44171.9172 | 23.12 | 44172.9172 | 20.8142
44171.9381 | 24.2053 | 44172.9381 | 24.6503
44171.9589 | 20.1469 | 44172.9589 | 23.196
44171.9797 | 23.924 | 44172.9797 | 24.6611
2020-12-23 | 22.1641