## Sheet1
File is created on: 24/12/2020 08:30
REPORT POINT 4-30
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 17/12/2020 08:00:48
Temp Units:°C |  |  | Expected Stop Time: 23/12/2020 23:30:48
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-10
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 17/12/2020 08:00:48
Lower Limit(Temp): 15°C |  |  |  | Last Point: 23/12/2020 23:30:48
Max(Temp)_oC | 24.9645 | Min(Temp)_oC | 20.0054 | Avg(Temp)_oC | 22.2659
Time | oC | Time | oC | Time | oC
2020-12-17 08:00 | 22.4151 | 44166.8964 | 24.041 | 44167.4589 | 23.5901
44166.3547 | 21.6064 | 44166.9172 | 22.0623 | 44167.4797 | 21.9714
44166.3756 | 24.1256 | 44166.9381 | 24.5992 | 44167.5006 | 23.6318
44166.3964 | 23.3916 | 44166.9589 | 23.3384 | 44167.5214 | 22.122
44166.4172 | 23.048 | 44166.9797 | 23.8857 | 44167.5422 | 21.4929
44166.4381 | 21.8174 | 2020-12-18 | 21.1658 | 44167.5631 | 24.7798
44166.4589 | 22.374 | 44167.0214 | 21.6336 | 44167.5839 | 24.8597
44166.4797 | 23.3515 | 44167.0422 | 24.063 | 44167.6047 | 24.2477
44166.5006 | 23.4951 | 44167.0631 | 22.1401 | 44167.6256 | 21.0133
44166.5214 | 21.2469 | 44167.0839 | 22.9661 | 44167.6464 | 24.719
44166.5422 | 24.9645 | 44167.1047 | 23.0463 | 44167.6672 | 24.5717
44166.5631 | 22.453 | 44167.1256 | 23.1365 | 44167.6881 | 23.3142
44166.5839 | 23.7327 | 44167.1464 | 23.8609 | 44167.7089 | 22.2366
44166.6047 | 21.507 | 44167.1672 | 22.7862 | 44167.7297 | 23.6115
44166.6256 | 22.7303 | 44167.1881 | 24.1984 | 44167.7506 | 23.9556
44166.6464 | 24.1887 | 44167.2089 | 24.6738 | 44167.7714 | 23.4344
44166.6672 | 22.5718 | 44167.2297 | 23.1346 | 44167.7922 | 22.6233
44166.6881 | 24.1765 | 44167.2506 | 24.8926 | 44167.8131 | 24.0439
44166.7089 | 22.657 | 44167.2714 | 24.9422 | 44167.8339 | 23.0602
44166.7297 | 23.8549 | 44167.2922 | 24.1425 | 44167.8547 | 24.1733
44166.7506 | 23.6769 | 44167.3131 | 23.257 | 44167.8756 | 23.6636
44166.7714 | 23.3719 | 44167.3339 | 23.8178 | 44167.8964 | 24.9439
44166.7922 | 21.325 | 44167.3547 | 24.3698 | 44167.9172 | 22.258
44166.8131 | 22.3638 | 44167.3756 | 23.9808 | 44167.9381 | 21.9914
44166.8339 | 21.6644 | 44167.3964 | 23.1999 | 44167.9589 | 24.8841
44166.8547 | 21.1234 | 44167.4172 | 24.8315 | 44167.9797 | 22.433
44166.8756 | 21.8474 | 44167.4381 | 21.4865 | 2020-12-19 | 24.9562
Time | oC | Time | oC | Time | oC
44168.0214 | 20.4028 | 44169.0214 | 20.3988 | 44170.0214 | 20.2697
44168.0422 | 23.2729 | 44169.0422 | 20.9741 | 44170.0422 | 21.2784
44168.0631 | 21.4347 | 44169.0631 | 22.6511 | 44170.0631 | 23.4518
44168.0839 | 23.3246 | 44169.0839 | 23.8134 | 44170.0839 | 22.889
44168.1047 | 21.6686 | 44169.1047 | 21.6322 | 44170.1047 | 21.6193
44168.1256 | 23.7418 | 44169.1256 | 21.5284 | 44170.1256 | 23.5151
44168.1464 | 20.135 | 44169.1464 | 20.1252 | 44170.1464 | 21.6744
44168.1672 | 23.8418 | 44169.1672 | 21.7302 | 44170.1672 | 21.1834
44168.1881 | 23.8983 | 44169.1881 | 21.4711 | 44170.1881 | 20.156
44168.2089 | 22.7217 | 44169.2089 | 21.4862 | 44170.2089 | 22.2729
44168.2297 | 22.8866 | 44169.2297 | 20.274 | 44170.2297 | 23.9735
44168.2506 | 21.3928 | 44169.2506 | 21.9449 | 44170.2506 | 21.4998
44168.2714 | 22.3393 | 44169.2714 | 22.7575 | 44170.2714 | 20.5203
44168.2922 | 23.4043 | 44169.2922 | 23.6127 | 44170.2922 | 20.8196
44168.3131 | 20.4557 | 44169.3131 | 20.6098 | 44170.3131 | 20.0504
44168.3339 | 23.3974 | 44169.3339 | 22.5096 | 44170.3339 | 20.6585
44168.3547 | 23.0927 | 44169.3547 | 21.0314 | 44170.3547 | 20.6802
44168.3756 | 20.3905 | 44169.3756 | 22.004 | 44170.3756 | 20.7942
44168.3964 | 20.4614 | 44169.3964 | 20.6845 | 44170.3964 | 22.956
44168.4172 | 21.1238 | 44169.4172 | 20.3073 | 44170.4172 | 20.9853
44168.4381 | 21.9287 | 44169.4381 | 20.859 | 44170.4381 | 22.9329
44168.4589 | 20.15 | 44169.4589 | 20.5811 | 44170.4589 | 21.883
44168.4797 | 20.528 | 44169.4797 | 21.4148 | 44170.4797 | 22.1282
44168.5006 | 21.8347 | 44169.5006 | 23.8917 | 44170.5006 | 20.6155
44168.5214 | 23.2363 | 44169.5214 | 21.7248 | 44170.5214 | 21.6597
44168.5422 | 22.4666 | 44169.5422 | 23.019 | 44170.5422 | 20.3704
44168.5631 | 23.6064 | 44169.5631 | 21.5216 | 44170.5631 | 23.5243
44168.5839 | 22.1977 | 44169.5839 | 22.4763 | 44170.5839 | 20.7433
44168.6047 | 21.1249 | 44169.6047 | 21.7182 | 44170.6047 | 23.9502
44168.6256 | 21.4435 | 44169.6256 | 23.893 | 44170.6256 | 21.5936
44168.6464 | 23.9009 | 44169.6464 | 23.44 | 44170.6464 | 20.533
44168.6672 | 22.2347 | 44169.6672 | 20.2626 | 44170.6672 | 23.4236
44168.6881 | 23.8822 | 44169.6881 | 22.0962 | 44170.6881 | 20.1498
44168.7089 | 22.1839 | 44169.7089 | 23.6629 | 44170.7089 | 23.5089
44168.7297 | 22.2414 | 44169.7297 | 23.9967 | 44170.7297 | 23.1381
44168.7506 | 21.5077 | 44169.7506 | 23.2805 | 44170.7506 | 20.4235
44168.7714 | 20.3767 | 44169.7714 | 23.3766 | 44170.7714 | 21.0965
44168.7922 | 22.046 | 44169.7922 | 20.7174 | 44170.7922 | 20.3468
44168.8131 | 23.071 | 44169.8131 | 22.7662 | 44170.8131 | 22.3071
44168.8339 | 23.0825 | 44169.8339 | 20.6106 | 44170.8339 | 23.6818
44168.8547 | 23.2628 | 44169.8547 | 23.545 | 44170.8547 | 23.9395
44168.8756 | 21.9897 | 44169.8756 | 23.7696 | 44170.8756 | 23.4731
44168.8964 | 22.8139 | 44169.8964 | 21.9063 | 44170.8964 | 23.5653
44168.9172 | 20.5062 | 44169.9172 | 23.997 | 44170.9172 | 23.5092
44168.9381 | 20.2254 | 44169.9381 | 21.2654 | 44170.9381 | 23.8294
44168.9589 | 21.8739 | 44169.9589 | 20.9848 | 44170.9589 | 21.4758
44168.9797 | 22.5962 | 44169.9797 | 21.5923 | 44170.9797 | 21.9718
2020-12-20 | 22.2924 | 2020-12-21 | 21.6456 | 2020-12-22 | 20.8109
Time | oC | Time | oC | Time | oC
44171.0214 | 21.6144 | 44172.0214 | 23.5395
44171.0422 | 21.8485 | 44172.0422 | 22.5734
44171.0631 | 23.5517 | 44172.0631 | 20.5071
44171.0839 | 21.5539 | 44172.0839 | 20.1448
44171.1047 | 20.0404 | 44172.1047 | 21.884
44171.1256 | 21.4618 | 44172.1256 | 23.1657
44171.1464 | 22.6157 | 44172.1464 | 20.0999
44171.1672 | 23.0432 | 44172.1672 | 21.1605
44171.1881 | 23.6678 | 44172.1881 | 22.2119
44171.2089 | 21.3613 | 44172.2089 | 22.5829
44171.2297 | 23.1836 | 44172.2297 | 23.6258
44171.2506 | 23.4581 | 44172.2506 | 22.0133
44171.2714 | 23.4219 | 44172.2714 | 20.0054
44171.2922 | 20.4744 | 44172.2922 | 20.1455
44171.3131 | 21.2744 | 44172.3131 | 21.4263
44171.3339 | 22.1955 | 44172.3339 | 21.6512
44171.3547 | 22.0596 | 44172.3547 | 20.2464
44171.3756 | 20.8506 | 44172.3756 | 20.7429
44171.3964 | 22.1942 | 44172.3964 | 20.3599
44171.4172 | 21.1732 | 44172.4172 | 21.7788
44171.4381 | 23.5509 | 44172.4381 | 21.9014
44171.4589 | 22.4246 | 44172.4589 | 23.3989
44171.4797 | 23.2805 | 44172.4797 | 23.1053
44171.5006 | 21.8875 | 44172.5006 | 21.5596
44171.5214 | 20.0977 | 44172.5214 | 22.6565
44171.5422 | 20.9989 | 44172.5422 | 22.3198
44171.5631 | 23.4539 | 44172.5631 | 20.328
44171.5839 | 20.9501 | 44172.5839 | 21.3328
44171.6047 | 23.2618 | 44172.6047 | 23.0003
44171.6256 | 21.7383 | 44172.6256 | 20.7531
44171.6464 | 20.4321 | 44172.6464 | 22.1046
44171.6672 | 22.4143 | 44172.6672 | 22.7084
44171.6881 | 22.797 | 44172.6881 | 21.5181
44171.7089 | 23.1613 | 44172.7089 | 20.9285
44171.7297 | 23.2111 | 44172.7297 | 20.4088
44171.7506 | 21.0163 | 44172.7506 | 22.0983
44171.7714 | 20.3574 | 44172.7714 | 20.8019
44171.7922 | 22.0753 | 44172.7922 | 20.6397
44171.8131 | 20.3766 | 44172.8131 | 20.6234
44171.8339 | 21.7145 | 44172.8339 | 20.7986
44171.8547 | 22.6264 | 44172.8547 | 23.6865
44171.8756 | 22.9502 | 44172.8756 | 20.9465
44171.8964 | 21.6677 | 44172.8964 | 22.4038
44171.9172 | 22.3366 | 44172.9172 | 23.4445
44171.9381 | 20.5563 | 44172.9381 | 22.4308
44171.9589 | 20.2655 | 44172.9589 | 21.8334
44171.9797 | 20.7174 | 44172.9797 | 22.7172
2020-12-23 | 22.6928