## Sheet1
File is created on: 24/12/2020 08:30
REPORT POINT 5-120
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 17/12/2020 08:00:48
Temp Units:°C |  |  | Expected Stop Time: 23/12/2020 23:30:48
Logger Information
No.: VIO.CN5.1394.20 - Channel 1-14
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 17/12/2020 08:00:48
Lower Limit(Temp): 15°C |  |  |  | Last Point: 23/12/2020 23:30:48
Max(Temp)_oC | 26.9324 | Min(Temp)_oC | 22.0199 | Avg(Temp)_oC | 24.2311
Time | oC | Time | oC | Time | oC
2020-12-17 08:00 | 22.9334 | 44166.8964 | 23.4917 | 44167.4589 | 26.1818
44166.3547 | 26.6217 | 44166.9172 | 26.7445 | 44167.4797 | 25.1425
44166.3756 | 26.3501 | 44166.9381 | 22.0199 | 44167.5006 | 25.4857
44166.3964 | 23.5721 | 44166.9589 | 26.8727 | 44167.5214 | 25.9516
44166.4172 | 22.2294 | 44166.9797 | 24 | 44167.5422 | 24.2744
44166.4381 | 25.0557 | 2020-12-18 | 24.6377 | 44167.5631 | 23.846
44166.4589 | 22.7368 | 44167.0214 | 22.1129 | 44167.5839 | 22.8889
44166.4797 | 26.7406 | 44167.0422 | 25.8424 | 44167.6047 | 25.919
44166.5006 | 22.3506 | 44167.0631 | 26.377 | 44167.6256 | 25.3049
44166.5214 | 25.225 | 44167.0839 | 24.6233 | 44167.6464 | 26.5159
44166.5422 | 24.7477 | 44167.1047 | 23.8149 | 44167.6672 | 26.0152
44166.5631 | 26.9192 | 44167.1256 | 24.8647 | 44167.6881 | 23.1342
44166.5839 | 26.2014 | 44167.1464 | 22.1422 | 44167.7089 | 24.8226
44166.6047 | 26.4499 | 44167.1672 | 23.1603 | 44167.7297 | 25.8638
44166.6256 | 24.5326 | 44167.1881 | 26.3767 | 44167.7506 | 25.8235
44166.6464 | 25.8339 | 44167.2089 | 23.5936 | 44167.7714 | 25.8844
44166.6672 | 24.7241 | 44167.2297 | 23.5283 | 44167.7922 | 24.8771
44166.6881 | 26.4281 | 44167.2506 | 22.181 | 44167.8131 | 24.3574
44166.7089 | 24.0087 | 44167.2714 | 26.7281 | 44167.8339 | 25.5303
44166.7297 | 22.5818 | 44167.2922 | 26.1866 | 44167.8547 | 23.0304
44166.7506 | 25.4153 | 44167.3131 | 22.6458 | 44167.8756 | 22.4883
44166.7714 | 24.2708 | 44167.3339 | 25.9212 | 44167.8964 | 23.0847
44166.7922 | 23.3641 | 44167.3547 | 23.8344 | 44167.9172 | 25.9122
44166.8131 | 26.3889 | 44167.3756 | 24.1534 | 44167.9381 | 23.4242
44166.8339 | 22.9667 | 44167.3964 | 26.2434 | 44167.9589 | 26.9324
44166.8547 | 26.7966 | 44167.4172 | 24.0118 | 44167.9797 | 22.0951
44166.8756 | 26.3921 | 44167.4381 | 22.7096 | 2020-12-19 | 23.7675
Time | oC | Time | oC | Time | oC
44168.0214 | 23.65 | 44169.0214 | 23.42 | 44170.0214 | 23.14
44168.0422 | 24.21 | 44169.0422 | 24.9 | 44170.0422 | 23.96
44168.0631 | 24.37 | 44169.0631 | 23.23 | 44170.0631 | 24.95
44168.0839 | 23.23 | 44169.0839 | 23.3 | 44170.0839 | 24.33
44168.1047 | 24.72 | 44169.1047 | 24.08 | 44170.1047 | 24.2
44168.1256 | 24.53 | 44169.1256 | 23.04 | 44170.1256 | 24.65
44168.1464 | 24.32 | 44169.1464 | 23.51 | 44170.1464 | 23.17
44168.1672 | 24.99 | 44169.1672 | 24.96 | 44170.1672 | 24.45
44168.1881 | 23.83 | 44169.1881 | 23.5 | 44170.1881 | 23.23
44168.2089 | 23.44 | 44169.2089 | 24.01 | 44170.2089 | 24.2
44168.2297 | 24.18 | 44169.2297 | 23.11 | 44170.2297 | 24
44168.2506 | 24.29 | 44169.2506 | 24.87 | 44170.2506 | 23.33
44168.2714 | 23.15 | 44169.2714 | 24.34 | 44170.2714 | 24.3
44168.2922 | 23.87 | 44169.2922 | 23.16 | 44170.2922 | 23.55
44168.3131 | 24.53 | 44169.3131 | 23.09 | 44170.3131 | 23.47
44168.3339 | 23.16 | 44169.3339 | 24.85 | 44170.3339 | 23.43
44168.3547 | 24.21 | 44169.3547 | 24.23 | 44170.3547 | 24.7
44168.3756 | 23.55 | 44169.3756 | 23.5 | 44170.3756 | 24.41
44168.3964 | 23.66 | 44169.3964 | 23.99 | 44170.3964 | 24.92
44168.4172 | 24.08 | 44169.4172 | 23.94 | 44170.4172 | 24.4
44168.4381 | 24.6 | 44169.4381 | 24.65 | 44170.4381 | 24.81
44168.4589 | 24.91 | 44169.4589 | 24.21 | 44170.4589 | 24.91
44168.4797 | 23.2 | 44169.4797 | 23.75 | 44170.4797 | 24.1
44168.5006 | 23.82 | 44169.5006 | 23.9 | 44170.5006 | 24.06
44168.5214 | 23.01 | 44169.5214 | 23.09 | 44170.5214 | 23.62
44168.5422 | 23.05 | 44169.5422 | 24.8 | 44170.5422 | 23.98
44168.5631 | 24.03 | 44169.5631 | 23.05 | 44170.5631 | 24.13
44168.5839 | 24.74 | 44169.5839 | 24.23 | 44170.5839 | 24.22
44168.6047 | 24.34 | 44169.6047 | 24.62 | 44170.6047 | 24.37
44168.6256 | 23.75 | 44169.6256 | 24.9 | 44170.6256 | 24.34
44168.6464 | 23.16 | 44169.6464 | 23.4 | 44170.6464 | 24.59
44168.6672 | 24.88 | 44169.6672 | 24.25 | 44170.6672 | 23.65
44168.6881 | 23.31 | 44169.6881 | 24.7 | 44170.6881 | 24.69
44168.7089 | 23.93 | 44169.7089 | 23.42 | 44170.7089 | 24.26
44168.7297 | 24.92 | 44169.7297 | 24.09 | 44170.7297 | 23.97
44168.7506 | 24.65 | 44169.7506 | 23.65 | 44170.7506 | 24.68
44168.7714 | 24.52 | 44169.7714 | 24.71 | 44170.7714 | 24.52
44168.7922 | 24.19 | 44169.7922 | 24.5 | 44170.7922 | 23.23
44168.8131 | 25 | 44169.8131 | 24.63 | 44170.8131 | 23.99
44168.8339 | 24.43 | 44169.8339 | 24.41 | 44170.8339 | 24.48
44168.8547 | 24.37 | 44169.8547 | 24.85 | 44170.8547 | 24.11
44168.8756 | 24.5 | 44169.8756 | 24.89 | 44170.8756 | 23.26
44168.8964 | 23.76 | 44169.8964 | 24.19 | 44170.8964 | 23.44
44168.9172 | 23.51 | 44169.9172 | 24.7 | 44170.9172 | 23.32
44168.9381 | 24.06 | 44169.9381 | 24.29 | 44170.9381 | 24.67
44168.9589 | 23.63 | 44169.9589 | 24.34 | 44170.9589 | 23.11
44168.9797 | 23.83 | 44169.9797 | 24.53 | 44170.9797 | 23.25
2020-12-20 | 24.15 | 2020-12-21 | 23.66 | 2020-12-22 | 23.93
Time | oC | Time | oC | Time | oC
44171.0214 | 24.22 | 44172.0214 | 24.62
44171.0422 | 23.44 | 44172.0422 | 24.63
44171.0631 | 24.71 | 44172.0631 | 24.1
44171.0839 | 23.81 | 44172.0839 | 24.69
44171.1047 | 23.11 | 44172.1047 | 23.09
44171.1256 | 24.87 | 44172.1256 | 23.1
44171.1464 | 24.68 | 44172.1464 | 23.62
44171.1672 | 23.98 | 44172.1672 | 24.37
44171.1881 | 23.21 | 44172.1881 | 24.84
44171.2089 | 24.68 | 44172.2089 | 24.61
44171.2297 | 24.95 | 44172.2297 | 24.6
44171.2506 | 23.68 | 44172.2506 | 24.7
44171.2714 | 23.73 | 44172.2714 | 23.33
44171.2922 | 24.53 | 44172.2922 | 23.09
44171.3131 | 24.79 | 44172.3131 | 24.1
44171.3339 | 24.97 | 44172.3339 | 23.06
44171.3547 | 23.34 | 44172.3547 | 24.68
44171.3756 | 23.68 | 44172.3756 | 24.47
44171.3964 | 23.26 | 44172.3964 | 24.89
44171.4172 | 24.18 | 44172.4172 | 23.64
44171.4381 | 24.84 | 44172.4381 | 23.65
44171.4589 | 24.8 | 44172.4589 | 23.73
44171.4797 | 23.81 | 44172.4797 | 24.71
44171.5006 | 23.04 | 44172.5006 | 24.84
44171.5214 | 24.95 | 44172.5214 | 24.55
44171.5422 | 24.19 | 44172.5422 | 24.46
44171.5631 | 23.53 | 44172.5631 | 23.51
44171.5839 | 24.31 | 44172.5839 | 23.08
44171.6047 | 24.94 | 44172.6047 | 24.16
44171.6256 | 23.81 | 44172.6256 | 23.11
44171.6464 | 24.08 | 44172.6464 | 24.8
44171.6672 | 23.44 | 44172.6672 | 24.99
44171.6881 | 24.7 | 44172.6881 | 23.56
44171.7089 | 24.91 | 44172.7089 | 23.95
44171.7297 | 24.19 | 44172.7297 | 24.32
44171.7506 | 24.69 | 44172.7506 | 24.7
44171.7714 | 23.62 | 44172.7714 | 23.38
44171.7922 | 23.01 | 44172.7922 | 24.97
44171.8131 | 23.86 | 44172.8131 | 23.4
44171.8339 | 23.18 | 44172.8339 | 24.22
44171.8547 | 24.02 | 44172.8547 | 23.89
44171.8756 | 24.3 | 44172.8756 | 24.74
44171.8964 | 23.51 | 44172.8964 | 24.24
44171.9172 | 23.21 | 44172.9172 | 24.99
44171.9381 | 23.97 | 44172.9381 | 23.27
44171.9589 | 24.81 | 44172.9589 | 24.93
44171.9797 | 24.97 | 44172.9797 | 24.42
2020-12-23 | 23.3