## Sheet1
File is created on: 24/12/2020 08:30
REPORT POINT 5-210
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 17/12/2020 08:00:48
Temp Units:°C |  |  | Expected Stop Time: 23/12/2020 23:30:48
Logger Information
No.: VIO.CN5.1394.20 - Channel 2-2
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 17/12/2020 08:00:48
Lower Limit(Temp): 15°C |  |  |  | Last Point: 23/12/2020 23:30:48
Max(Temp)_oC | 26.9882 | Min(Temp)_oC | 22.0095 | Avg(Temp)_oC | 24.0569
Time | oC | Time | oC | Time | oC
2020-12-17 08:00 | 25.3707 | 44166.8964 | 25.2256 | 44167.4589 | 23.612
44166.3547 | 25.9077 | 44166.9172 | 23.5186 | 44167.4797 | 25.6573
44166.3756 | 22.6922 | 44166.9381 | 22.3415 | 44167.5006 | 22.3172
44166.3964 | 24.2307 | 44166.9589 | 24.9127 | 44167.5214 | 22.3774
44166.4172 | 22.4669 | 44166.9797 | 22.4235 | 44167.5422 | 26.6085
44166.4381 | 22.4368 | 2020-12-18 | 23.3425 | 44167.5631 | 25.0666
44166.4589 | 24.1686 | 44167.0214 | 26.7521 | 44167.5839 | 24.7921
44166.4797 | 26.3857 | 44167.0422 | 26.8708 | 44167.6047 | 25.9608
44166.5006 | 22.0095 | 44167.0631 | 24.3468 | 44167.6256 | 25.6266
44166.5214 | 25.6963 | 44167.0839 | 24.0616 | 44167.6464 | 22.4303
44166.5422 | 24.087 | 44167.1047 | 22.6173 | 44167.6672 | 22.9215
44166.5631 | 23.8725 | 44167.1256 | 22.072 | 44167.6881 | 23.2183
44166.5839 | 24.1733 | 44167.1464 | 22.1531 | 44167.7089 | 24.3921
44166.6047 | 23.1084 | 44167.1672 | 25.8327 | 44167.7297 | 26.6369
44166.6256 | 22.8158 | 44167.1881 | 25.2963 | 44167.7506 | 26.9882
44166.6464 | 24.2149 | 44167.2089 | 25.8842 | 44167.7714 | 25.4313
44166.6672 | 22.0328 | 44167.2297 | 23.7664 | 44167.7922 | 23.5298
44166.6881 | 24.8088 | 44167.2506 | 24.0476 | 44167.8131 | 24.1007
44166.7089 | 22.1081 | 44167.2714 | 22.9572 | 44167.8339 | 22.7018
44166.7297 | 23.3801 | 44167.2922 | 26.3991 | 44167.8547 | 23.2643
44166.7506 | 23.5117 | 44167.3131 | 22.9408 | 44167.8756 | 25.3238
44166.7714 | 23.5868 | 44167.3339 | 22.7668 | 44167.8964 | 26.9257
44166.7922 | 26.3327 | 44167.3547 | 25.8718 | 44167.9172 | 24.4638
44166.8131 | 23.3542 | 44167.3756 | 23.225 | 44167.9381 | 23.6932
44166.8339 | 25.4583 | 44167.3964 | 23.2247 | 44167.9589 | 24.6779
44166.8547 | 23.4253 | 44167.4172 | 24.8259 | 44167.9797 | 22.8981
44166.8756 | 22.4117 | 44167.4381 | 25.6518 | 2020-12-19 | 24.1778
Time | oC | Time | oC | Time | oC
44168.0214 | 24.76 | 44169.0214 | 24.91 | 44170.0214 | 23.62
44168.0422 | 24.36 | 44169.0422 | 24.63 | 44170.0422 | 23.7
44168.0631 | 23.2 | 44169.0631 | 24.43 | 44170.0631 | 24.62
44168.0839 | 24.94 | 44169.0839 | 24.8 | 44170.0839 | 24.27
44168.1047 | 24.78 | 44169.1047 | 23.58 | 44170.1047 | 23.11
44168.1256 | 24.43 | 44169.1256 | 23.11 | 44170.1256 | 23.55
44168.1464 | 24.15 | 44169.1464 | 24.96 | 44170.1464 | 23.39
44168.1672 | 23.71 | 44169.1672 | 24.2 | 44170.1672 | 24.96
44168.1881 | 24.98 | 44169.1881 | 24 | 44170.1881 | 24.28
44168.2089 | 23.81 | 44169.2089 | 23.63 | 44170.2089 | 23.21
44168.2297 | 24.61 | 44169.2297 | 23.61 | 44170.2297 | 23.4
44168.2506 | 24.53 | 44169.2506 | 24.8 | 44170.2506 | 23.94
44168.2714 | 24.24 | 44169.2714 | 23.44 | 44170.2714 | 24.01
44168.2922 | 23.88 | 44169.2922 | 23.77 | 44170.2922 | 24.73
44168.3131 | 23.37 | 44169.3131 | 23 | 44170.3131 | 23.05
44168.3339 | 23.35 | 44169.3339 | 23.73 | 44170.3339 | 23.92
44168.3547 | 23.86 | 44169.3547 | 24.57 | 44170.3547 | 24.78
44168.3756 | 24.91 | 44169.3756 | 24.72 | 44170.3756 | 23.87
44168.3964 | 24.83 | 44169.3964 | 23.39 | 44170.3964 | 23.06
44168.4172 | 24.17 | 44169.4172 | 24.67 | 44170.4172 | 24.92
44168.4381 | 23.2 | 44169.4381 | 24.51 | 44170.4381 | 24.27
44168.4589 | 23.21 | 44169.4589 | 23.23 | 44170.4589 | 24.93
44168.4797 | 23.25 | 44169.4797 | 23.82 | 44170.4797 | 24.28
44168.5006 | 24.57 | 44169.5006 | 23.22 | 44170.5006 | 23.81
44168.5214 | 23.74 | 44169.5214 | 24.61 | 44170.5214 | 24.91
44168.5422 | 24.05 | 44169.5422 | 23.77 | 44170.5422 | 23.94
44168.5631 | 23.48 | 44169.5631 | 24.32 | 44170.5631 | 24.6
44168.5839 | 24.57 | 44169.5839 | 24.4 | 44170.5839 | 24.86
44168.6047 | 23.69 | 44169.6047 | 24.24 | 44170.6047 | 23.34
44168.6256 | 24.88 | 44169.6256 | 23.97 | 44170.6256 | 23.35
44168.6464 | 23.97 | 44169.6464 | 24.47 | 44170.6464 | 23.51
44168.6672 | 23.43 | 44169.6672 | 24.91 | 44170.6672 | 24.42
44168.6881 | 24.88 | 44169.6881 | 23.53 | 44170.6881 | 23.08
44168.7089 | 24.09 | 44169.7089 | 23.99 | 44170.7089 | 23.33
44168.7297 | 24.46 | 44169.7297 | 24.21 | 44170.7297 | 23.44
44168.7506 | 23.84 | 44169.7506 | 24.27 | 44170.7506 | 23.97
44168.7714 | 23.44 | 44169.7714 | 24.95 | 44170.7714 | 23.13
44168.7922 | 23.03 | 44169.7922 | 23.57 | 44170.7922 | 24.96
44168.8131 | 24.26 | 44169.8131 | 24.95 | 44170.8131 | 23.78
44168.8339 | 23.28 | 44169.8339 | 23.86 | 44170.8339 | 24.75
44168.8547 | 23.41 | 44169.8547 | 24.39 | 44170.8547 | 24.26
44168.8756 | 24.1 | 44169.8756 | 23.2 | 44170.8756 | 23.94
44168.8964 | 23.78 | 44169.8964 | 23.35 | 44170.8964 | 24.78
44168.9172 | 23.03 | 44169.9172 | 24.34 | 44170.9172 | 24.18
44168.9381 | 24.05 | 44169.9381 | 24.92 | 44170.9381 | 23.13
44168.9589 | 24 | 44169.9589 | 23.83 | 44170.9589 | 23.03
44168.9797 | 24.28 | 44169.9797 | 23.38 | 44170.9797 | 24.28
2020-12-20 | 23.23 | 2020-12-21 | 23.17 | 2020-12-22 | 24.71
Time | oC | Time | oC | Time | oC
44171.0214 | 23.07 | 44172.0214 | 24.14
44171.0422 | 23.67 | 44172.0422 | 24.74
44171.0631 | 24.88 | 44172.0631 | 23.79
44171.0839 | 24.49 | 44172.0839 | 24.25
44171.1047 | 23.54 | 44172.1047 | 23.37
44171.1256 | 24.63 | 44172.1256 | 24.28
44171.1464 | 23.72 | 44172.1464 | 24.93
44171.1672 | 23.73 | 44172.1672 | 24.49
44171.1881 | 23.45 | 44172.1881 | 24.61
44171.2089 | 23.09 | 44172.2089 | 23.23
44171.2297 | 24.61 | 44172.2297 | 24.43
44171.2506 | 23.41 | 44172.2506 | 24.04
44171.2714 | 24.35 | 44172.2714 | 23.67
44171.2922 | 23.51 | 44172.2922 | 24.55
44171.3131 | 24.48 | 44172.3131 | 23.03
44171.3339 | 23.3 | 44172.3339 | 24.04
44171.3547 | 23.92 | 44172.3547 | 23.38
44171.3756 | 24.24 | 44172.3756 | 24.55
44171.3964 | 24.6 | 44172.3964 | 24.54
44171.4172 | 23.95 | 44172.4172 | 24.79
44171.4381 | 23.9 | 44172.4381 | 24.02
44171.4589 | 24.06 | 44172.4589 | 23.55
44171.4797 | 24.25 | 44172.4797 | 23.93
44171.5006 | 23.53 | 44172.5006 | 23.47
44171.5214 | 24.9 | 44172.5214 | 23.94
44171.5422 | 24.84 | 44172.5422 | 23.49
44171.5631 | 23.82 | 44172.5631 | 23.39
44171.5839 | 24.55 | 44172.5839 | 24.31
44171.6047 | 23.5 | 44172.6047 | 24.59
44171.6256 | 23.01 | 44172.6256 | 23.14
44171.6464 | 24.65 | 44172.6464 | 24.78
44171.6672 | 24.3 | 44172.6672 | 24.98
44171.6881 | 23.47 | 44172.6881 | 24.27
44171.7089 | 24.02 | 44172.7089 | 23.43
44171.7297 | 24.4 | 44172.7297 | 23.61
44171.7506 | 24.17 | 44172.7506 | 23.42
44171.7714 | 24.15 | 44172.7714 | 24.66
44171.7922 | 23.95 | 44172.7922 | 24.79
44171.8131 | 23 | 44172.8131 | 23.74
44171.8339 | 24.3 | 44172.8339 | 23.8
44171.8547 | 24.35 | 44172.8547 | 24.75
44171.8756 | 24.04 | 44172.8756 | 24.87
44171.8964 | 23.24 | 44172.8964 | 24.72
44171.9172 | 23.72 | 44172.9172 | 23.27
44171.9381 | 24.12 | 44172.9381 | 23.04
44171.9589 | 24.01 | 44172.9589 | 23.2
44171.9797 | 23.95 | 44172.9797 | 24.57
2020-12-23 | 24.87