## Sheet1
File is created on: 24/12/2020 08:30
REPORT POINT 6-120
Device Information
Log Interval: 0H 30M 0S |  |  | Start Time: 17/12/2020 08:00:48
Temp Units:°C |  |  | Expected Stop Time: 23/12/2020 23:30:48
Logger Information
No.: VIO.CN5.1394.20 - Channel 2-4
Logger Description: Multichannel Thermometer |  |  | Type: LR-8401-20
Range: (-40 ~ 500) °C |  |  | Resolution: 0.05°C
Log Summary
Upper Limit(Temp): 25°C |  | Number of Points: 320 |  | First Point: 17/12/2020 08:00:48
Lower Limit(Temp): 15°C |  |  |  | Last Point: 23/12/2020 23:30:48
Max(Temp)_oC | 25.9694 | Min(Temp)_oC | 22.1029 | Avg(Temp)_oC | 24.0269
Time | oC | Time | oC | Time | oC
2020-12-17 08:00 | 25.1131 | 44166.8964 | 24.1581 | 44167.4589 | 23.7384
44166.3547 | 22.9378 | 44166.9172 | 24.8126 | 44167.4797 | 22.1383
44166.3756 | 22.7867 | 44166.9381 | 24.2376 | 44167.5006 | 25.1078
44166.3964 | 25.7632 | 44166.9589 | 25.7523 | 44167.5214 | 23.2406
44166.4172 | 24.14 | 44166.9797 | 25.8162 | 44167.5422 | 22.621
44166.4381 | 23.0052 | 2020-12-18 | 22.1029 | 44167.5631 | 24.003
44166.4589 | 22.5961 | 44167.0214 | 23.019 | 44167.5839 | 24.4393
44166.4797 | 25.2477 | 44167.0422 | 23.4026 | 44167.6047 | 25.6322
44166.5006 | 23.9396 | 44167.0631 | 22.9081 | 44167.6256 | 24.9155
44166.5214 | 23.9254 | 44167.0839 | 23.4252 | 44167.6464 | 24.384
44166.5422 | 25.9694 | 44167.1047 | 23.2493 | 44167.6672 | 24.8245
44166.5631 | 24.3306 | 44167.1256 | 24.5343 | 44167.6881 | 23.8647
44166.5839 | 22.8362 | 44167.1464 | 24.4808 | 44167.7089 | 25.4514
44166.6047 | 24.0124 | 44167.1672 | 22.3203 | 44167.7297 | 22.9045
44166.6256 | 23.8495 | 44167.1881 | 25.0595 | 44167.7506 | 24.7512
44166.6464 | 25.8216 | 44167.2089 | 22.7614 | 44167.7714 | 24.8347
44166.6672 | 22.4232 | 44167.2297 | 22.8776 | 44167.7922 | 22.3788
44166.6881 | 25.8013 | 44167.2506 | 24.7482 | 44167.8131 | 22.2756
44166.7089 | 23.754 | 44167.2714 | 24.2092 | 44167.8339 | 24.624
44166.7297 | 23.0034 | 44167.2922 | 24.9632 | 44167.8547 | 24.2292
44166.7506 | 25.9155 | 44167.3131 | 22.8299 | 44167.8756 | 23.7878
44166.7714 | 25.2986 | 44167.3339 | 23.9183 | 44167.8964 | 24.4161
44166.7922 | 23.0864 | 44167.3547 | 23.0332 | 44167.9172 | 25.5992
44166.8131 | 22.6411 | 44167.3756 | 23.2597 | 44167.9381 | 24.0257
44166.8339 | 23.559 | 44167.3964 | 22.7441 | 44167.9589 | 25.0614
44166.8547 | 24.0316 | 44167.4172 | 25.2455 | 44167.9797 | 23.9084
44166.8756 | 22.7155 | 44167.4381 | 24.7269 | 2020-12-19 | 25.3698
Time | oC | Time | oC | Time | oC
44168.0214 | 24.72 | 44169.0214 | 24.87 | 44170.0214 | 23.46
44168.0422 | 24.08 | 44169.0422 | 23.29 | 44170.0422 | 23.86
44168.0631 | 24.2 | 44169.0631 | 24.26 | 44170.0631 | 24.81
44168.0839 | 24.72 | 44169.0839 | 24.95 | 44170.0839 | 24.31
44168.1047 | 24.36 | 44169.1047 | 24.07 | 44170.1047 | 23.68
44168.1256 | 23.03 | 44169.1256 | 23.27 | 44170.1256 | 23.11
44168.1464 | 24.39 | 44169.1464 | 24.59 | 44170.1464 | 23.2
44168.1672 | 24.48 | 44169.1672 | 24.99 | 44170.1672 | 24.5
44168.1881 | 23.48 | 44169.1881 | 23.87 | 44170.1881 | 23.52
44168.2089 | 23.4 | 44169.2089 | 23.9 | 44170.2089 | 24.41
44168.2297 | 24.06 | 44169.2297 | 23.56 | 44170.2297 | 23.83
44168.2506 | 23.72 | 44169.2506 | 23.7 | 44170.2506 | 24.78
44168.2714 | 24.76 | 44169.2714 | 23.81 | 44170.2714 | 23.55
44168.2922 | 23.37 | 44169.2922 | 23.68 | 44170.2922 | 23.21
44168.3131 | 24.88 | 44169.3131 | 24.71 | 44170.3131 | 23.78
44168.3339 | 23.23 | 44169.3339 | 23.67 | 44170.3339 | 23.73
44168.3547 | 23.89 | 44169.3547 | 24.48 | 44170.3547 | 24.52
44168.3756 | 24.01 | 44169.3756 | 23.7 | 44170.3756 | 24.51
44168.3964 | 23.05 | 44169.3964 | 24.16 | 44170.3964 | 24.04
44168.4172 | 23.76 | 44169.4172 | 23.62 | 44170.4172 | 24.33
44168.4381 | 24.97 | 44169.4381 | 23.55 | 44170.4381 | 24.03
44168.4589 | 23.52 | 44169.4589 | 24.21 | 44170.4589 | 24
44168.4797 | 23.93 | 44169.4797 | 24.52 | 44170.4797 | 23.43
44168.5006 | 23 | 44169.5006 | 23.18 | 44170.5006 | 24.89
44168.5214 | 24.9 | 44169.5214 | 24.65 | 44170.5214 | 24.87
44168.5422 | 23.72 | 44169.5422 | 24.17 | 44170.5422 | 24.61
44168.5631 | 24.38 | 44169.5631 | 24.65 | 44170.5631 | 23.01
44168.5839 | 23.93 | 44169.5839 | 24.45 | 44170.5839 | 23.44
44168.6047 | 23.35 | 44169.6047 | 24.74 | 44170.6047 | 23.87
44168.6256 | 23.74 | 44169.6256 | 24.5 | 44170.6256 | 23.72
44168.6464 | 23.71 | 44169.6464 | 24.74 | 44170.6464 | 23.25
44168.6672 | 24.18 | 44169.6672 | 24.02 | 44170.6672 | 24.3
44168.6881 | 23.58 | 44169.6881 | 24.09 | 44170.6881 | 23.84
44168.7089 | 24.3 | 44169.7089 | 24.95 | 44170.7089 | 23.22
44168.7297 | 24.66 | 44169.7297 | 24.09 | 44170.7297 | 24.76
44168.7506 | 23.45 | 44169.7506 | 24.48 | 44170.7506 | 23.65
44168.7714 | 23.27 | 44169.7714 | 24.63 | 44170.7714 | 23.71
44168.7922 | 24.18 | 44169.7922 | 23.93 | 44170.7922 | 24.37
44168.8131 | 24.47 | 44169.8131 | 23.82 | 44170.8131 | 23.58
44168.8339 | 23.3 | 44169.8339 | 24.23 | 44170.8339 | 23.64
44168.8547 | 24.96 | 44169.8547 | 23.96 | 44170.8547 | 24.7
44168.8756 | 23.77 | 44169.8756 | 23.26 | 44170.8756 | 24.11
44168.8964 | 23.36 | 44169.8964 | 23.02 | 44170.8964 | 23.7
44168.9172 | 24.77 | 44169.9172 | 23.18 | 44170.9172 | 24.9
44168.9381 | 24.37 | 44169.9381 | 24.74 | 44170.9381 | 23.71
44168.9589 | 24.33 | 44169.9589 | 24.74 | 44170.9589 | 24.17
44168.9797 | 24.82 | 44169.9797 | 23.76 | 44170.9797 | 23.24
2020-12-20 | 23.97 | 2020-12-21 | 24.54 | 2020-12-22 | 23.9
Time | oC | Time | oC | Time | oC
44171.0214 | 24.02 | 44172.0214 | 24.9
44171.0422 | 24.75 | 44172.0422 | 24.38
44171.0631 | 23.04 | 44172.0631 | 23.06
44171.0839 | 24.27 | 44172.0839 | 24.92
44171.1047 | 23.3 | 44172.1047 | 23.2
44171.1256 | 23.25 | 44172.1256 | 24.28
44171.1464 | 24.49 | 44172.1464 | 24.9
44171.1672 | 24.05 | 44172.1672 | 24.82
44171.1881 | 24.2 | 44172.1881 | 23.51
44171.2089 | 24.61 | 44172.2089 | 24.9
44171.2297 | 24.08 | 44172.2297 | 23.54
44171.2506 | 23.84 | 44172.2506 | 24.8
44171.2714 | 23.56 | 44172.2714 | 24.87
44171.2922 | 23.1 | 44172.2922 | 24.58
44171.3131 | 23.9 | 44172.3131 | 24.29
44171.3339 | 23.99 | 44172.3339 | 24.16
44171.3547 | 23.47 | 44172.3547 | 24.79
44171.3756 | 23.18 | 44172.3756 | 24.1
44171.3964 | 23.21 | 44172.3964 | 24.84
44171.4172 | 23.54 | 44172.4172 | 24.93
44171.4381 | 24.1 | 44172.4381 | 24.63
44171.4589 | 24.61 | 44172.4589 | 23.13
44171.4797 | 24.34 | 44172.4797 | 24.28
44171.5006 | 24.95 | 44172.5006 | 24.37
44171.5214 | 24.15 | 44172.5214 | 24.71
44171.5422 | 23.76 | 44172.5422 | 24.49
44171.5631 | 24.56 | 44172.5631 | 24.11
44171.5839 | 24.05 | 44172.5839 | 24.01
44171.6047 | 23.85 | 44172.6047 | 24.44
44171.6256 | 23.2 | 44172.6256 | 23.49
44171.6464 | 23.57 | 44172.6464 | 24.42
44171.6672 | 23.53 | 44172.6672 | 23.16
44171.6881 | 23.48 | 44172.6881 | 24.17
44171.7089 | 23.32 | 44172.7089 | 23.47
44171.7297 | 24.18 | 44172.7297 | 24.23
44171.7506 | 24.35 | 44172.7506 | 23.8
44171.7714 | 24.71 | 44172.7714 | 23.75
44171.7922 | 23.62 | 44172.7922 | 23.6
44171.8131 | 24.21 | 44172.8131 | 24.42
44171.8339 | 23.95 | 44172.8339 | 23.33
44171.8547 | 24.38 | 44172.8547 | 24.96
44171.8756 | 24.61 | 44172.8756 | 23.31
44171.8964 | 24.96 | 44172.8964 | 23.01
44171.9172 | 24.46 | 44172.9172 | 23.33
44171.9381 | 23.71 | 44172.9381 | 23.04
44171.9589 | 24.67 | 44172.9589 | 23.36
44171.9797 | 23.44 | 44172.9797 | 23.16
2020-12-23 | 24.26